## Embedded Register on 26.04.2024
Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | HOST TO | Plant Type | Project ID | Project No
180/181 Clynelish Muir BESS | OPDE UK LIMITED | Brora GSP |  | 0 | 50 | 50 | 2030-10-31 | Scoping | SHET | Energy Storage System | a0l8e0000011zr5 | PRO-003597
Abbotshaugh Reserve Power Facility | SP Distribution plc | Bainsford 132kV Substation |  | 20 | 0 | 20 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iN1 | PRO-001213
Abercorn Street Gas | SP Distribution plc | Paisley GSP |  | 22.5 | 0 | 22.5 |  | Built | SPT | Gas Reciprocating | a0l4L0000005ifI | PRO-000706
Aberdour Solar Farm | SP Distribution plc | Inverkeithing 132/33kV |  | 0 | 25 | 25 | 2026-06-30 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iZT | PRO-001989
Abernethy GSP (DNO) (Industrial Estate Friarton Road) | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 0.14 | 0.14 | 2023-08-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPIl | PRO-003249
Abhainn Rath & Allt na Lairige Hydro | Scottish Hydro Electric Power Distribution Plc | Kinlochleven GSP |  | 4 | 0 | 4 |  | Built | SHET | Hydro | a0l4L0000005iqX | PRO-000617
Acharn Biomass Generating Station | Scottish Hydro Electric Power Distribution Plc | Killin GSP |  | 5.6 | 0 | 5.6 |  | Built | SHET | Biomass | a0l4L0000005iqZ | PRO-000615
Achlachan | ACHLACHAN WIND FARM LLP | Mybster 132/33kV Substation |  | 20 | 0 | 20 |  | Built | SHET | Wind Onshore | a0l4L0000005iSZ | PRO-000964
Adam Wilson and Sons - Troon CHP | SP Distribution plc | Kilmarnock Town GSP |  | 2.3 | 0 | 2.3 |  | Built | SPT | CHP (Combined Heat and Power) | a0l4L0000005iN2 | PRO-001212
AECC (Rowett) | Scottish Hydro Electric Power Distribution Plc | Dyce GSP |  | 4 | 0 | 4 |  | Built | SHET | Biomass | a0l4L0000005iT7 | PRO-001002
Aikengall | AIKENGALL COMMUNITY WIND COMPANY LIMITED | Dunbar GSP |  | 48 | 0 | 48 |  | Built | SPT | Wind Onshore | a0l4L0000005iWC | PRO-000289
Allt Cheanna Mhuir Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Fort William GSP |  | 1.75 | 0 | 1.75 |  | Built | SHET | Hydro | a0l4L0000005iqa | PRO-000614
Allt Ladaidh Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Fort Augustus GSP |  | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro | a0l4L0000005iqd | PRO-000611
Allt Na Moine Generating Station | Scottish Hydro Electric Power Distribution Plc | Broadford GSP |  | 0 | 1.99 | 1.99 | 2028-04-16 | Consents Approved | SHET | Hydro | a0l4L0000005iqp | PRO-000609
Annan Road BESS | SP Distribution plc | Dumfries GSP |  | 0 | 20 | 20 | 2028-04-28 | Scoping | SPT | Energy Storage System | a0l8e000001Ho38 | PRO-004059
Arbroath GSP (DNO) | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 0 | 0.14 | 0.14 | 2023-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000011xwM | PRO-003479
Ardoch and Over Enoch Wind Farm | SP Distribution plc | East Kilbride South GSP |  | 11.5 | 0 | 11.5 |  | Built | SPT | Wind Onshore | a0l4L0000005ifL | PRO-000762
Ardtalnaig Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Killin GSP |  | 1.5 | 0 | 1.5 |  | Built | SHET | Hydro | a0l4L0000005iqs | PRO-000606
Ardtrostan Hydro | Scottish Hydro Electric Power Distribution Plc | Killin GSP |  | 0 | 0.1 | 0.1 | 2024-11-30 | Awaiting Consents | SHET | Hydro | a0l8e000000f4iT | PRO-003863
Ardverikie and Corrour Estate Hydro | Scottish Hydro Electric Power Distribution Plc | Boat of Garten GSP |  | 8.6 | 0 | 8.6 |  | Built | SHET | Hydro | a0l4L0000005iqt | PRO-000605
Arkhill Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Coupar Angus GSP |  | 8.5 | 0 | 8.5 |  | Built | SHET | Wind Onshore | a0l4L0000005iqu | PRO-000604
Arran View Battery Storage | SP Distribution plc | Kilwinning GSP |  | 0 | 20 | 20 | 2022-03-31 | Awaiting Consents | SPT | Energy Storage System | a0l4L0000005ifN | PRO-000760
Attadale Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 3.5 | 0 | 3.5 |  | Built | SHET | Hydro | a0l4L0000005iqv | PRO-000603
Auchadaduie Wind Farm | Scottish Hydro Electric Power Distribution Plc | Carradale 1 GSP |  | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore | a0l4L0000005iSn | PRO-001340
Auchinderran | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005iqw | PRO-000602
Auchnasavil Battery Storage | Auchnasavil Battery Storage Ltd | Carradale 1 GSP |  | 0 | 49.9 | 49.9 | 2032-10-31 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005iWm | PRO-002127
Auchteraw Energy Storage | FIELD AUCHTERAW LTD. | Fort Augustus GSP |  | 0 | 49.9 | 49.9 | 2022-12-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iTr | PRO-001658
Aviva Project Progression | Scottish Hydro Electric Power Distribution Plc | Burghmuir GSP |  | 1.366 | 0 | 1.366 |  | Built | SHET | Energy Storage System | a0l4L0000005iar | PRO-001418
Ayrshire College Hydro | SP Distribution plc | Ayr GSP |  | 0.1 | 0 | 0.1 |  | Built | SPT | Hydro | a0l4L0000005ifP | PRO-000758
Badachro Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 1.4 | 0 | 1.4 |  | Built | SHET | Hydro | a0l4L0000005iqz | PRO-000599
Bairds Malt CHP | Scottish Hydro Electric Power Distribution Plc | Inverness GSP |  | 1.2 | 0 | 1.2 |  | Built | SHET | CHP (Combined Heat and Power) | a0l4L0000005iS6 | PRO-001296
Balbeggie Avenue BESS | RELAY BALBEGGIE LIMITED | Redhouse GSP |  | 0 | 49.9 | 49.9 | 2026-10-31 | Scoping | SPT | Energy Storage System | a0l8e0000010wge | PRO-002770
Baldovie EfW | Scottish Hydro Electric Power Distribution Plc | Milton of Craigie GSP |  | 9.999 | 0 | 9.999 |  | Built | SHET | Waste | a0l4L0000005ir0 | PRO-000598
Balgonie Farm | OPDE UK LIMITED | Aberthaw 132kV Substation |  | 0 | 50 | 50 | 2028-10-31 | Scoping | SHET | Energy Storage System | a0l8e000001HpdF | PRO-004123
Ballochy Solar Farm GSK | GLAXO OPERATIONS LTD | Bridge of Dun GSP |  | 0 | 18 | 18 | 2032-06-30 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000f8Pn | PRO-004033
Balmeanach Wind Farm | WIND 2 PROJECT 1 LIMITED | Edinbane GSP |  | 0 | 45 | 45 | 2027-07-31 | Scoping | SHET | Wind Onshore | a0l4L0000005iTh | PRO-001438
Balmore WTW | SP Distribution plc | Killermont 132/33kV |  | 0 | 5.145 | 5.145 | 2023-03-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005ib5 | PRO-002030
Balnacraig Battery Storage | BALNACRAIG BATTERY STORAGE LIMITED | Alness GSP |  | 0 | 49.9 | 49.9 | 2024-03-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iWn | PRO-002244
Balwyllo BESS | BALWYLLO BESS LIMITED | Bridge of Dun GSP |  | 0 | 49.9 | 49.9 | 2032-06-30 | Scoping | SHET | Energy Storage System | a0l4L0000005iXt | PRO-002352
Bankend Rig Extension Wind Farm | SP Distribution plc | Kilmarnock South GSP |  | 0 | 6.9 | 6.9 | 2022-10-31 | Scoping | SPT | Wind Onshore | a0l4L0000005igQ | PRO-000755
Bankend Rig Wind Farm | SP Distribution plc | Kilmarnock Town GSP |  | 14.3 | 0 | 14.3 |  | Built | SPT | Wind Onshore | a0l4L0000005igR | PRO-000754
Barr River Hydro | Scottish Hydro Electric Power Distribution Plc | Fort William GSP |  | 1.6 | 0 | 1.6 |  | Built | SHET | Hydro | a0l4L0000005iT8 | PRO-001001
Beinn an Tuirc | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Beinn an Tuirc Substation |  | 30 | 0 | 30 |  | Built | SHET | Wind Onshore | a0l4L0000005iPi | PRO-000848
Beinn Mheadhonach | Wind Harvest Limited | Dunvegan GSP |  | 0 | 21 | 21 | 2028-04-16 | Scoping | SHET | Wind Onshore | a0l4L0000005ifl | PRO-001506
Beinn Thulabaigh Wind | Scottish Hydro Electric Power Distribution Plc | Stornoway GSP |  | 0 | 6 | 6 | 2033-10-31 | Scoping | SHET | Wind Onshore | a0l4L0000005ir1 | PRO-000597
Ben Aketil Wind | BEN AKETIL WIND ENERGY LIMITED | Dunvegan GSP |  | 28 | 0 | 28 |  | Built | SHET | Wind Onshore | a0l4L0000005iPj | PRO-000877
Ben Sca | BEN SCA WIND FARM LIMITED | Edinbane GSP |  | 0 | 40.8 | 40.8 | 2026-10-31 | Consents Approved | SHET | Wind Onshore | a0l4L0000005iPv | PRO-000907
Berryhill Solar Farm | BERRYHILL SOLAR FARM LIMITED | Charleston GSP |  | 0 | 45 | 45 | 2024-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iTu | PRO-001679
Bettyhill Phase 2 Wind Farm | Bettyhill 2 Wind Ltd | Bettyhill 132/33kV Substation |  | 0 | 48 | 48 | 2027-11-01 | Scoping | SHET | Wind Onshore | a0l4L0000005iTc | PRO-002001
Bettyhill Wind Farm | Scottish Hydro Electric Power Distribution Plc | Dounreay GSP |  | 5 | 0 | 5 |  | Built | SHET | Wind Onshore | a0l4L0000005ir2 | PRO-000596
Bettyhill Wind Farm Add Cap | Scottish Hydro Electric Power Distribution Plc | Mybster 132/33kV Substation |  | 1 | 0 | 1 |  | Built | SHET | Wind Onshore | a0l4L0000005iP8 | PRO-001613
Beyside Portgordons Ltd Generation Station | Scottish Hydro Electric Power Distribution Plc | Keith 1 132/33kV GSP Substation |  | 0 | 1.065 | 1.065 | 2024-03-31 | Scoping | SHET | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iQT | PRO-001886
Binn Ecopark | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 9.9 | 9.9 | 2028-10-31 | Scoping | SHET | Waste | a0l8e000000TPbq | PRO-003442
Binn Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 9.4 | 0 | 9.4 |  | Built | SHET | Wind Onshore | a0l4L0000005ir4 | PRO-000594
Blackpark Battery Storage | BLACKPARK ENERGY STORAGE LIMITED | Nairn GSP |  | 0 | 49.9 | 49.9 | 2022-12-31 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005iRl | PRO-000935
BLINDWELLS FARM BESS | OPDE UK LIMITED | Arbroath GSP |  | 0 | 50 | 50 | 2032-06-30 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005jAM | PRO-002534
Boat of Garten BESS | BOAT OF GARTEN BESS LIMITED | Boat of Garten GSP |  | 0 | 49.9 | 49.9 | 2024-09-30 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iU4 | PRO-001739
Boat of Garten GSP (DNO) | Scottish Hydro Electric Power Distribution Plc | Boat of Garten GSP |  | 0 | 0.1 | 0.1 | 2023-12-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPOy | PRO-003295
Bowbeat Windfarm (Emly Bank) | SP Distribution plc | Kaimes GSP |  | 15 | 0 | 15 |  | Built | SPT | Wind Onshore | a0l4L0000005ihK | PRO-001543
Bowbeat Windfarm (Roughsidehill) | SP Distribution plc | Kaimes GSP |  | 15 | 0 | 15 |  | Built | SPT | Wind Onshore | a0l4L0000005ihL | PRO-001544
Boyndie Wind | BOYNDIE WIND ENERGY LIMITED | Keith GSP |  | 21 | 0 | 21 |  | Built | SHET | Wind Onshore | a0l4L0000005iPn | PRO-000873
Brackenhills Wind | Scottish Hydro Electric Power Distribution Plc | Macduff GSP |  | 0 | 2.3 | 2.3 | 2023-07-20 | Scoping | SHET | Wind Onshore | a0l4L0000005ir7 | PRO-000592
Braco Battery | BRACO ENERGY STORAGE LIMITED | Braco West GSP |  | 0 | 49.9 | 49.9 | 2022-06-30 | Scoping | SHET | Energy Storage System | a0l4L0000005iT3 | PRO-000943
Braco West BESS | Braco West BESS Limited | Braco West GSP |  | 0 | 49.9 | 49.9 | 2023-08-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iU9 | PRO-001552
Bridgend Wind | SP Distribution plc | Johnstone GSP |  | 0 | 2.5 | 2.5 | 2025-02-28 | Consents Approved | SPT | Wind Onshore | a0l4L0000005iTD | PRO-000996
Broomloan Road BESS | CHECKERS ENERGY LIMITED | Govan GSP |  | 0 | 49.9 | 49.9 | 2025-04-30 | Scoping | SPT | Energy Storage System | a0l4L0000005iXB | PRO-002298
Brotherton Wind Farm | Scottish Hydro Electric Power Distribution Plc | Fiddes GSP |  | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore | a0l4L0000005iSo | PRO-001341
Brownhill Farm Windfarm | SP Distribution plc | Newarthill GSP |  | 0 | 8.48 | 8.48 | 2024-12-31 | Scoping | SPT | Wind Onshore | a0l4L0000005iv4 | PRO-002249
Broxburn Electrical Energy Storage | SP Distribution plc | Broxburn GSP |  | 20 | 0 | 20 |  | Built | SPT | Energy Storage System | a0l4L0000005ige | PRO-000741
Bruach/Crioch Hydro | SP Distribution plc | Strathaven GSP |  | 1.5 | 0 | 1.5 |  | Built | SPT | Hydro | a0l4L0000005igf | PRO-000740
Bruar Hydro | Scottish Hydro Electric Power Distribution Plc | Tummel Bridge GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005irB | PRO-000588
Buckies Farm BESS | OPDE UK LIMITED | Thurso South GSP |  | 0 | 50 | 50 | 2030-10-30 | Scoping | SHET | Energy Storage System | a0l8e000001HxR3 | PRO-004252
Burghmuir Battery | GLENDEVON BESS LIMITED | Burghmuir GSP |  | 0 | 49.9 | 49.9 | 2022-12-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iTz | PRO-001486
Burghmuir GSP (DNO) Broxden Hub | Scottish Hydro Electric Power Distribution Plc | Burghmuir GSP |  | 0 | 0.148 | 0.148 | 2024-05-31 | Scoping | SHET | Energy Storage System; PV Array (Photo Voltaic/solar) | a0l8e0000010wj9 | PRO-002796
Burghmuir GSP (Solar) | Scottish Hydro Electric Power Distribution Plc | Burghmuir GSP |  | 0 | 1.24 | 1.24 | 2024-09-30 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPP3 | PRO-003290
Burnbank St Coatbridge BESS | SP Distribution plc | Coatbridge A & B & C GSP |  | 0 | 29.9 | 29.9 | 2025-10-31 | Scoping | SPT | Energy Storage System | a0l4L0000005iwc | PRO-002203
Burnfoot East | SP Distribution plc | Devonside GSP |  | 10.8 | 0 | 10.8 |  | Built | SPT | Wind Onshore | a0l4L0000005igg | PRO-000739
Burnhead Wind Farm | SP Distribution plc | Bathgate (SPD) GSP |  | 29.5 | 0 | 29.5 |  | Built | SPT | Wind Onshore | a0l4L0000005igi | PRO-000737
Burnside Battery Storage Park | EPSILON GENERATION LIMITED | Charleston GSP |  | 0 | 49.9 | 49.9 | 2025-06-30 | Awaiting Consents | SHET | Energy Storage System | a0l8e0000011yXl | PRO-003520
Bush Estate Edinburgh - Project Progression | SP Distribution plc | Kaimes GSP |  | 0 | 2.5 | 2.5 | 2023-05-05 | Scoping | SPT | CHP (Combined Heat and Power); PV Array (Photo Voltaic/solar) | a0l4L0000005ivX | PRO-002279
Byers Brae Battery Storage | SP Distribution plc | Drumcross GSP |  | 29.9 | 0 | 29.9 |  | Built | SPT | Energy Storage System | a0l4L0000005igj | PRO-000736
Caird Hills | EDP RENEWABLES UK LIMITED | Keith GSP |  | 0 | 16.8 | 16.8 | 2025-06-30 | Scoping | SHET | Wind Onshore | a0l4L0000005iTa | PRO-001382
Cairnbrogie Wind Farm | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 0 | 4.5 | 4.5 | 2025-01-01 | Scoping | SHET | Wind Onshore | a0l4L0000005irQ | PRO-000586
Cairnmore PH3 Wind Farm | Scottish Hydro Electric Power Distribution Plc | Tarland GSP |  | 2.55 | 0 | 2.55 |  | Built | SHET | Wind Onshore | a0l4L0000005irR | PRO-000585
Calachem RDF CHP Plant | SP Distribution plc | Grangemouth T3&T4 GSP |  | 0 | 28 | 28 | 2021-12-31 | Under Construction/Commissioning | SPT | CHP (Combined Heat and Power) | a0l4L0000005iY2 | PRO-001286
Calderwater | CALDER WATER COMMUNITY WIND CO LTD | East Kilbride GSP |  | 39 | 0 | 39 |  | Built | SPT | Wind Onshore | a0l4L0000005iWD | PRO-000290
Caledon Green Gas Generation | SP Distribution plc | Bainsford 132kV Substation |  | 0 | 22.5 | 22.5 | 2023-01-19 | Scoping | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iN3 | PRO-001211
Camieston Farm | SP Distribution plc | Galashiels 132kV Substation |  | 0.5 | 0 | 0.5 |  | Built | SPT | CHP (Combined Heat and Power) | a0l4L0000005iN5 | PRO-001209
Camilla Farm | NEXTPOWER EELPOWER CAMILLA LIMITED | Glenniston GSP |  | 0 | 49.95 | 49.95 | 2022-02-15 | Awaiting Consents | SPT | Energy Storage System | a0l4L0000005iQz | PRO-000886
Camilty Wind Farm | SP Distribution plc | Drumcross GSP |  | 0 | 21.6 | 21.6 | 2025-09-30 | Consents Approved | SPT | Wind Onshore | a0l4L0000005igm | PRO-000733
Camster 2 Wind Farm | RWE RENEWABLES UK ONSHORE WIND LIMITED | Mybster 132/33kV Substation |  | 0 | 38 | 38 | 2024-10-31 | Awaiting Consents | SHET | Wind Onshore | a0l4L0000005iSa | PRO-000963
Camster Wind Farm | RWE RENEWABLES UK ONSHORE WIND LIMITED | Mybster 132/33kV Substation |  | 50 | 0 | 50 |  | Built | SHET | Wind Onshore | a0l4L0000005iWG | PRO-000293
Carbrain Gas Reserve Power Facility | SP Distribution plc | Cumbernauld GSP |  | 19.9 | 0 | 19.9 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iN6 | PRO-001208
Carey Farm PV | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 9.9 | 9.9 | 2024-05-31 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iiT | PRO-001170
Carlincraig Wind | Scottish Hydro Electric Power Distribution Plc | Macduff GSP |  | 0 | 4.6 | 4.6 | 2023-09-30 | Consents Approved | SHET | Wind Onshore | a0l4L0000005irT | PRO-000583
Carmuirs | SP Distribution plc | Bonnybridge GSP |  | 19.9 | 0 | 19.9 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iho | PRO-000775
Carnbroe EfW | SP Distribution plc | Coatbridge A & B & C GSP |  | 0 | 29 | 29 | 2024-07-31 | Awaiting Consents | SPT | Waste | a0l4L0000005ihq | PRO-000773
Carron Valley Generating Facility | SP Distribution plc | Stirling GSP |  | 0 | 29.999 | 29.999 | 2027-04-30 | Scoping | SPT | Wind Onshore | a0l4L0000005iwE | PRO-002277
Carscreugh | SP Distribution plc | Glenluce GSP |  | 15.2 | 0 | 15.2 |  | Built | SPT | Wind Onshore | a0l4L0000005ihr | PRO-000772
Carsebank PV | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 5 | 5 | 2021-11-30 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iiU | PRO-001169
Carswell Hill Wind Turbine | SP Distribution plc | Crookston A & B GSP |  | 0.98 | 0 | 0.98 |  | Built | SPT | Wind Onshore | a0l4L0000005ihs | PRO-000771
Castle of Auchry | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005irU | PRO-000618
Cathkin Energy Storage | CATHKIN ENERGY STORAGE LIMITED | East Kilbride GSP |  | 0 | 49.9 | 49.9 | 2024-07-31 | Scoping | SPT | Energy Storage System | a0l4L0000005iRd | PRO-001925
Causeymire | CAUSEYMIRE WINDFARM LIMITED | Mybster 1 GSP |  | 48.3 | 0 | 48.3 |  | Built | SHET | Wind Onshore | a0l4L0000005iWH | PRO-000294
Ceannacroc Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Ceannacroc GSP |  | 1.75 | 0 | 1.75 |  | Built | SHET | Hydro | a0l4L0000005irV | PRO-000660
Challoch Solar Farm | SP Distribution plc | Newton Stewart GSP |  | 0 | 16 | 16 | 2028-08-01 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e0000010x0t | PRO-003041
Charleston GSP (James Hutton Institute PV) | Scottish Hydro Electric Power Distribution Plc | Charleston GSP |  | 0 | 0.75 | 0.75 | 2031-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010xfB | PRO-003074
Charleston Solar PV | Sonnedix Weston Limited | Charleston GSP |  | 0 | 20 | 20 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iUh | PRO-002333
Clachaig Glen Wind Farm | RWE RENEWABLES UK ONSHORE WIND LIMITED | Carradale 1 GSP |  | 0 | 47.6 | 47.6 | 2025-04-30 | Awaiting Consents | SHET | Wind Onshore | a0l4L0000005iPq | PRO-000878
Clachan | SSE GENERATION LIMITED | Clachan GSP |  | 40 | 0 | 40 |  | Built | SHET | Hydro | a0l4L0000005iV5 | PRO-000071
Claverhouse Gas Generation | CLAVERHOUSE GENERATION LIMITED | Milton of Craigie GSP |  | 0 | 22.5 | 22.5 | 2022-04-01 | Scoping | SHET | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iR5 | PRO-001319
Clayfords Energy Storage | Clayfords Energy Storage Ltd | Strichen GSP |  | 0 | 49.9 | 49.9 | 2024-10-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iQc | PRO-001895
Collace Solar Farm | SOLAR 2 PROJECT J LIMITED | Coupar Angus GSP |  | 0 | 49.9 | 49.9 | 2028-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iTm | PRO-002061
Colton Solar Farm | SP Distribution plc | Dunfermline GSP |  | 0 | 29.9 | 29.9 | 2023-12-31 | Scoping | SPT | Wind Onshore | a0l4L0000005iNi | PRO-001818
Cordon Farm PV | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 9.9 | 9.9 | 2024-05-31 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iiV | PRO-001168
Cornabo Wind | Scottish Hydro Electric Power Distribution Plc | Tarland GSP |  | 0 | 2.4 | 2.4 | 2026-10-31 | Scoping | SHET | Wind Onshore | a0l4L0000005irW | PRO-000659
Corrimony | CORRIMONY ENERGY LIMITED | Fasnakyle GSP |  | 11.5 | 0 | 11.5 |  | Built | SHET | Wind Onshore | a0l4L0000005iRH | PRO-001307
Corrour Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Rannoch GSP |  | 5.5 | 0 | 5.5 |  | Built | SHET | Hydro | a0l4L0000005irX | PRO-000658
Coulags Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 1.5 | 0 | 1.5 |  | Built | SHET | Hydro | a0l4L0000005irY | PRO-000657
Coulin Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 1.2 | 0 | 1.2 |  | Built | SHET | Hydro | a0l4L0000005irZ | PRO-000656
Coulterfanny PV | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 0 | 0.17 | 0.17 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010wbt | PRO-002716
Craigannet Wind Turbine | SP Distribution plc | Bonnybridge GSP |  | 1.5 | 0 | 1.5 |  | Built | SPT | Wind Onshore | a0l4L0000005ihv | PRO-000768
Craigend | Renewable Energy Systems Limited | Arbroath GSP |  | 0 | 49.9 | 49.9 | 2032-06-30 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010wNz | PRO-002567
Craigton and Spitalhill Wind Farm | SP Distribution plc | Strathleven (SPD) GSP |  | 0 | 21 | 21 | 2023-09-30 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005iTE | PRO-000995
Cruach Glenamachrie Wind Farm | VOLTALIA UK LTD | Taynuilt GSP |  | 0 | 50 | 50 | 2034-10-31 | Scoping | SHET | Wind Onshore | a0l4L0000005iXr | PRO-002369
Cruach Mhor Farm | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Cruach Mhor Farm Substation |  | 29 | 0 | 29 |  | Built | SPT | Wind Onshore | a0l4L0000005iQh | PRO-000903
Crystal Rig Wind Farm | CRYSTAL RIG WINDFARM LIMITED | Dunbar GSP |  | 62.5 | 0 | 62.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iWI | PRO-000295
Cullerlie Estate PV | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 0 | 8.75 | 8.75 | 2024-05-01 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iiW | PRO-001167
Culraven Solar Farm | SP Distribution plc | Tongland GSP |  | 0 | 29.9 | 29.9 | 2025-11-30 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iS8 | PRO-001294
Deucheran Hill | RWE RENEWABLES UK ONSHORE WIND LIMITED | Deucheran Hill GSP |  | 15 | 0 | 15 |  | Built | SHET | Wind Onshore | a0l4L0000005iQl | PRO-000899
Deuchries Extension | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 4.7 | 0 | 4.7 |  | Built | SHET | Wind Onshore | a0l4L0000005irb | PRO-000654
Deuchries Wind | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 7.05 | 0 | 7.05 |  | Built | SHET | Wind Onshore | a0l4L0000005iT9 | PRO-001000
Dewshill Windfarm | SP Distribution plc | Newarthill GSP |  | 0 | 10.6 | 10.6 | 2026-04-30 | Scoping | SPT | Wind Onshore | a0l8e000001HpDJ | PRO-004115
Diageo Leven | SP Distribution plc | Leven GSP |  | 0 | 0 | 0 | 2022-12-01 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iNt | PRO-001834
Dornich Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Clachan GSP |  | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro | a0l4L0000005irc | PRO-000653
Dounreay | Sun4net Ltd | Dounreay 132kV Converter |  | 0 | 34 | 34 | 2026-07-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iWu | PRO-002318
Doveryard Energy Centre | SP Distribution plc | Kilmarnock South GSP |  | 0 | 25 | 25 | 2025-05-19 | Consents Approved | SPT | Waste | a0l4L0000005ihy | PRO-000765
Dragonhall Farm PV | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 5 | 0 | 5 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ibj | PRO-001432
Drumcross ESS | SP Distribution plc | Drumcross GSP |  | 0 | 29.9 | 29.9 | 2021-10-31 | Awaiting Consents | SPT | Energy Storage System | a0l4L0000005ihz | PRO-000764
Drumderg Wind Farm | SSE GENERATION LIMITED | Coupar Angus GSP |  | 32 | 0 | 32 |  | Built | SHET | Wind Onshore | a0l4L0000005iST | PRO-000970
Drumduff Wind Farm | SP Distribution plc | Bathgate (SPD) GSP |  | 6 | 0 | 6 |  | Built | SPT | Wind Onshore | a0l4L0000005ii0 | PRO-000763
Dummuies Wind Farm | DUMMUIES WINDFARM HUNTLY LIMITED | Keith GSP |  | 12.25 | 0 | 12.25 |  | Built | SHET | Wind Onshore | a0l4L0000005iSV | PRO-000968
Dunbar ERF | VIRIDOR ENVIROSCOT LIMITED | Dunbar GSP |  | 36 | 0 | 36 |  | Built | SPT | Waste | a0l4L0000005iPs | PRO-000910
Duniface Farm (Leven Gas) | SP Distribution plc | Leven GSP |  | 19.9 | 0 | 19.9 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iN9 | PRO-001205
Dunmill Energy Storage | Renewable Energy Systems Limited | Bridge of Dun GSP |  | 0 | 49.9 | 49.9 | 2032-06-30 | Scoping | SHET | Energy Storage System | a0l8e0000011xZW | PRO-003470
Dunns Farm | SP Distribution plc | East Kilbride South GSP |  | 0 | 22.8 | 22.8 | 2027-10-29 | Scoping | SPT | Energy Storage System | a0l8e0000011yBb | PRO-003504
Dunoon Energy Storage | FLEXION ENERGY UK STORAGE LTD | Dunoon GSP |  | 0 | 45 | 45 | 2024-08-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iWp | PRO-002263
Dunoon GSP (DNO) | Scottish Hydro Electric Power Distribution Plc | Dunoon GSP |  | 0 | 0.48 | 0.48 | 2025-03-25 | Scoping | SHET | Energy Storage System | a0l4L0000005iY4 | PRO-002317
Dunsinane Battery (formerly Lyndhurst) | SUSI EELPOWER DUNSINANE LIMITED | Lyndhurst GSP |  | 0 | 49.9 | 49.9 | 2021-12-01 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iTg | PRO-001052
Dyce Battery Storage | Dyce Battery Storage Limited | Dyce GSP |  | 0 | 49.9 | 49.9 | 2025-10-30 | Scoping | SHET | Energy Storage System | a0l4L0000005iME | PRO-002332
Dyce Energy Storage Facility | CBS ENERGY STORAGE ASSETS UK LIMITED | Dyce GSP |  | 0 | 30 | 30 | 2024-05-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iNl | PRO-001822
Earlsburn | EARLSBURN WIND ENERGY LIMITED | Bonnybridge GSP |  | 35 | 0 | 35 |  | Built | SPT | Wind Onshore | a0l4L0000005iSz | PRO-000947
Easter Drumclair Generator | SP Distribution plc | Bathgate (SPD) GSP |  | 0 | 6 | 6 | 2022-11-30 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005ii3 | PRO-000809
Easter Melrose Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Macduff GSP |  | 2.7 | 0 | 2.7 |  | Built | SHET | Wind Onshore | a0l4L0000005irg | PRO-000649
Easter Tolmauds | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005irh | PRO-000648
East Mains Generating Plant | SP Distribution plc | Broxburn GSP |  | 0 | 10 | 10 | 2022-12-31 | Consents Approved | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iNA | PRO-001204
Edintore Wind Farm | EDINTORE WIND FARM LIMITED | Keith GSP |  | 20.4 | 0 | 20.4 |  | Built | SHET | Wind Onshore | a0l4L0000005iRh | PRO-000939
Edradynate Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Tummel Bridge GSP |  | 1.3 | 0 | 1.3 |  | Built | SHET | Hydro | a0l4L0000005irj | PRO-000646
Elderslie Estate PV | ELGIN ENERGY ES CO LIMITED | Johnstone GSP |  | 0 | 49.9 | 49.9 | 2025-10-01 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iX6 | PRO-002281
Energy Park Fife Wind Farm | SP Distribution plc | Leven GSP |  | 0 | 14 | 14 | 2023-03-01 | Scoping | SPT | Wind Onshore | a0l4L0000005iTG | PRO-000993
Errol PV Generating Station | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 9.9 | 0 | 9.9 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ija | PRO-001160
Erskine Gas Generation | SP Distribution plc | Erskine GSP |  | 19.9 | 0 | 19.9 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iNB | PRO-001203
Eskart Hydro | Scottish Hydro Electric Power Distribution Plc | Fort Augustus GSP |  | 1.99 | 0 | 1.99 |  | Built | SHET | Hydro | a0l4L0000005irl | PRO-000644
Ewe Hill | SP Distribution plc | Chapelcross GSP |  | 12 | 0 | 12 |  | Built | SPT | Wind Onshore | a0l4L0000005imZ | PRO-000062
Exhibit U Gleneagles Hotel | Scottish Hydro Electric Power Distribution Plc | Braco GSP |  | 0.125 | 0 | 0.125 |  | Built | SHET | CHP (Combined Heat and Power); Demand | a0l8e0000010wSV | PRO-002611
Exhibit U Marywell Works | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 0.19 | 0.19 | 2025-10-31 | Scoping | SHET | CCGT (Combined Cycle Gas Turbine) | a0l8e000000f7p8 | PRO-004015
Fairburn Wind Farm | SSE GENERATION LIMITED | Orrin (Fairburn) GSP |  | 40 | 0 | 40 |  | Built | SHET | Wind Onshore | a0l4L0000005iRp | PRO-000931
Fairways Battery Storage | Fairways Battery Storage Ltd | Inverness GSP |  | 0 | 49.9 | 49.9 | 2025-12-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iMW | PRO-002286
Fasnakyle Battery Storage | FASNAKYLE BATTERY STORAGE LIMITED | Fasnakyle GSP |  | 0 | 49.9 | 49.9 | 2024-05-31 | Scoping | SHET | Energy Storage System | a0l4L0000005j1j | PRO-002481
Fassfern Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Fort William GSP |  | 2.5 | 0 | 2.5 |  | Built | SHET | Hydro | a0l4L0000005irm | PRO-000643
Feddal Estate | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 0 | 9.99 | 9.99 | 2024-01-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005irn | PRO-000642
Ferneylea Wind Farm | SP Distribution plc | Dunbar GSP |  | 1.6 | 0 | 1.6 |  | Built | SPT | Wind Onshore | a0l4L0000005ii5 | PRO-000807
Fernishaw Farm PV | ELGIN ENERGY ES CO LIMITED | Newarthill GSP |  | 0 | 49.9 | 49.9 | 2026-10-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000001HxQZ | PRO-004246
Ferrymuir Energy Storage | FERRYMUIR ENERGY STORAGE LIMITED | Cupar GSP |  | 0 | 49.9 | 49.9 | 2022-10-31 | Awaiting Consents | SPT | Energy Storage System | a0l4L0000005iSq | PRO-001352
Fetteresso Wind Farm | FETTERESSO WIND LIMITED | Mid Hill GSP |  | 0 | 37 | 37 | 2026-09-30 | Awaiting Consents | SHET | Wind Onshore | a0l4L0000005iRt | PRO-000927
Fordtown Battery Storage | SUSI EELPOWER FORDTOWN LIMITED | Kintore GSP |  | 0 | 49.9 | 49.9 | 2022-07-01 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iQx | PRO-000888
Forfar Solar - DNO | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 27.8 | 27.8 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iUc | PRO-002444
Forfar WWTW | Scottish Hydro Electric Power Distribution Plc | Burghmuir GSP |  | 0 | 0.2 | 0.2 | 2025-10-31 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l8e000001I31V | PRO-004329
Forrestfield Wind Farm | SP Distribution plc | Bathgate (SPD) GSP |  | 0 | 9 | 9 | 2026-11-29 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005ii9 | PRO-000803
Forss Abbey Energy Storage | THE ABBEY GROUP CAMBRIDGESHIRE LIMITED | Dounreay GSP |  | 0 | 49.9 | 49.9 | 2031-06-30 | Scoping | SHET | Energy Storage System | a0l8e000001HrmZ | PRO-004222
Forss BP Wind Turbine | Scottish Hydro Electric Power Distribution Plc | Dounreay GSP |  | 0 | 9.8 | 9.8 | 2025-08-31 | Scoping | SHET | Wind Onshore | a0l4L0000005irv | PRO-000639
Fraserburgh Energy Plant | FRASERBURGH ENERGY LTD | Fraserburgh GSP |  | 0 | 45 | 45 | 2024-09-20 | Consents Approved | SHET | Energy Storage System | a0l4L0000005j1X | PRO-001820
Fraserburgh Energy Storage | FLEXION ENERGY UK STORAGE LTD | Fraserburgh GSP |  | 0 | 40 | 40 | 2027-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iXY | PRO-002258
Garbhaig Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005irx | PRO-000637
Gartly Moore | Huntly Development Trust Limited | Gartly Moore GSP |  | 0 | 16 | 16 | 2031-10-31 | Awaiting Consents | SHET | Wind onshore; Demand; PV Array (Photo Voltaic/solar) | a0l8e0000010wjs | PRO-002805
Gawnsmoss Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Macduff GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005iry | PRO-000636
Gevens Wind Farm | SP Distribution plc | Glenniston GSP |  | 6.9 | 0 | 6.9 |  | Built | SPT | Wind Onshore | a0l4L0000005iiB | PRO-000801
Gilliesfaulds | SP Distribution plc | Cupar GSP |  | 0 | 12.5 | 12.5 | 2031-10-31 | Scoping | SPT | Energy Storage System | a0l8e000000TP7O | PRO-003112
Girvan Mains AD Plant | SP Distribution plc | Maybole GSP |  | 0.25 | 0 | 0.25 |  | Built | SPT | Biomass | a0l4L0000005ijB | PRO-000799
Glasgow Airport | SP Distribution plc | Braehead Park GSP |  | 0 | 5 | 5 | 2026-10-30 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000000ewix | PRO-003680
Glen Affric Generation Station | Scottish Hydro Electric Power Distribution Plc | Fasnakyle GSP |  | 4.28 | 0 | 4.28 |  | Built | SHET | Wind Onshore | a0l4L0000005is1 | PRO-000633
Glen Buck Hydro | Scottish Hydro Electric Power Distribution Plc | Fort Augustus GSP |  | 2.05 | 0 | 2.05 |  | Built | SHET | Hydro | a0l4L0000005is2 | PRO-000632
Glendale Battery Energy Storage | GIGABOX NO 5 LIMITED | Kintore GSP |  | 0 | 49.9 | 49.9 | 2024-01-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iPJ | PRO-001853
Glendoick Garden Centre | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 0.15 | 0.15 | 2024-01-17 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPOs | PRO-003301
Glen Etive Hydro | Scottish Hydro Electric Power Distribution Plc | Kinlochleven GSP |  | 4.82 | 0 | 4.82 |  | Built | SHET | Hydro | a0l4L0000005is4 | PRO-000630
Glenniston solar | Glenniston Solar Project Ltd | Glenniston 132/33kV |  | 0 | 39 | 39 | 2027-04-30 | Scoping | SPT | Energy Storage System | a0l4L0000005iTK | PRO-001982
Glen Noe Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Taynuilt GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005is5 | PRO-000629
Golspie Business Park | Scottish Hydro Electric Power Distribution Plc | Brora GSP |  | 0 | 0.06 | 0.06 | 2024-03-08 | Scoping | SHET | Energy Storage System; PV Array (Photo Voltaic/solar) | a0l8e0000011yBq | PRO-003507
Golticlay Wind Farm | RWE RENEWABLES UK ONSHORE WIND LIMITED | Mybster 132/33kV Substation | 1 | 0 | 50.07 | 50.07 | 2025-04-30 | Awaiting Consents | SHET | Wind Onshore | a0l4L0000005iUn | PRO-000370-1
Golticlay Wind Farm | RWE RENEWABLES UK ONSHORE WIND LIMITED | Mybster 132/33kV Substation | 2 | 0 | 7.93 | 58 | 2025-08-31 | Scoping | SHET | Wind Onshore | a0l4L0000005iUn | PRO-000370-2
Gowanfold Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Fraserburgh GSP |  | 1.6 | 0 | 1.6 |  | Built | SHET | Wind Onshore | a0l4L0000005is8 | PRO-000626
Greenscares Wind | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 0 | 8 | 8 | 2024-11-30 | Under Construction/Commissioning | SHET | Wind Onshore | a0l4L0000005isC | PRO-000622
Greenside | Scottish Hydro Electric Power Distribution Plc | St Fergus Gas GSP |  | 9.2 | 0 | 9.2 |  | Built | SHET | Wind Onshore | a0l4L0000005isD | PRO-000621
Greenside Farm PP | SP Distribution plc | Newarthill GSP |  | 0 | 28.8 | 28.8 | 2026-06-30 | Scoping | SPT | Energy Storage System | a0l8e000000TP7T | PRO-003113
Grudie Bridge | SSE GENERATION LIMITED | Grudie Bridge GSP |  | 18.7 | 0 | 18.7 |  | Built | SHET | Hydro | a0l4L0000005iQn | PRO-000879
GSK Irvine | SP Distribution plc | Kilwinning GSP |  | 23.7 | 0 | 23.7 |  | Built | SPT | PV Array (Photo Voltaic/solar); Wind Onshore | a0l4L0000005iTH | PRO-000992
Halkshill Hydro | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 1.34 | 0 | 1.34 |  | Built | SPT | Hydro | a0l4L0000005ijG | PRO-000794
Hallyburton BESS | Balance Power Projects Limited | Coupar Angus 2 GSP |  | 0 | 49.9 | 49.9 | 2029-10-31 | Scoping | SHET | Energy Storage System | a0l8e0000010wlZ | PRO-002824
Hammars Hill B | Scottish Hydro Electric Power Distribution Plc | Finstown (Orkney) GSP |  | 0 | 8.4 | 8.4 | 2028-06-30 | Consents Approved | SHET | Demand; Wind Onshore | a0l8e000001I31f | PRO-004331
Harelaw Gas Generation | SP Distribution plc | Devol Moor (SPD) GSP |  | 20 | 0 | 20 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iND | PRO-001201
Harris Academy | Scottish Hydro Electric Power Distribution Plc | Charleston GSP |  | 0 | 0.13 | 0.13 | 2031-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000ewin | PRO-003679
Hartwood Wind Farm | SP Distribution plc | Newarthill GSP |  | 0 | 18.7 | 18.7 | 2022-05-31 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005iTI | PRO-000991
Hazelside Wind farm | SP Distribution plc | Linmill GSP |  | 1.5 | 0 | 1.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iUJ | PRO-000777
Heights Wind Farm | SP Distribution plc | Bathgate (SPD) GSP |  | 0 | 9.8 | 9.8 | 2026-09-30 | Scoping | SPT | Wind Onshore | a0l4L0000005ijI | PRO-000792
High Holm Farm BESS | SP Distribution plc | Dunfermline GSP |  | 0 | 29.9 | 29.9 | 2031-10-30 | Scoping | SPT | Energy Storage System | a0l8e0000010wcS | PRO-002722
Highland Meats CHP | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 0.13 | 0 | 0.13 |  | Built | SPT | CHP (Combined Heat and Power) | a0l4L0000005iNG | PRO-001198
Hillhead Of Auquhirrie Wind Generating station | Scottish Hydro Electric Power Distribution Plc | Fiddes GSP |  | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore | a0l4L0000005isZ | PRO-000666
Hillhead of Gask | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 0 | 9.5 | 9.5 | 2023-11-30 | Consents Approved | SHET | Wind Onshore | a0l4L0000005idN | PRO-001664
Hill of Easterton | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 2.3 | 0 | 2.3 |  | Built | SHET | Wind Onshore | a0l4L0000005isX | PRO-000668
Hill of Lybster Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Dounreay GSP |  | 0 | 1.5 | 1.5 | 2023-04-30 | Consents Approved | SHET | Wind Onshore | a0l4L0000005isY | PRO-000667
Hopetoun Newton Solar Farm (dno) | SP Distribution plc | Broxburn GSP |  | 0 | 29.9 | 29.9 | 2024-10-29 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005idn | PRO-002090
Hoprigshiels | SP Distribution plc | Dunbar GSP |  | 7.5 | 0 | 7.5 |  | Built | SPT | Wind Onshore | a0l4L0000005ijJ | PRO-000791
Househill BESS | HOUSEHILL BESS LIMITED | Nairn GSP |  | 0 | 49.9 | 49.9 | 2027-10-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iej | PRO-001499
Houstry (Boulfruich) Wind Farm | BOULFRUICH WIND FARM LIMITED | Dunbeath GSP |  | 14 | 0 | 14 |  | Built | SHET | Wind Onshore | a0l4L0000005iPt | PRO-000909
Howmuir PV | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 5 | 5 | 2021-11-30 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijd | PRO-001234
Howpark Wind Farm | SP Distribution plc | Berwick GSP |  | 0 | 16 | 16 | 2024-04-19 | Scoping | SPT | Wind Onshore | a0l4L0000005j1T | PRO-001567
Hunterston Offshore Wind Turbine Testing Facility | SP Distribution plc | Hunterston Farm GSP |  | 25 | 0 | 25 |  | Built | SPT | Wind Onshore | a0l4L0000005ijK | PRO-000790
Inchinnan Solar Park North | SP Distribution plc | Erskine GSP |  | 0 | 5 | 5 | 2025-10-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000000f3zS | PRO-003803
Inchinnan Solar Park South | SP Distribution plc | Paisley 132/33kV Substation |  | 0 | 4.3 | 4.3 | 2026-05-29 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000000f8JE | PRO-004025
Inverawe | SSE GENERATION LIMITED | Taynuilt GSP |  | 25 | 0 | 25 |  | Built | SHET | Hydro | a0l4L0000005iRe | PRO-000882
Inverclyde | SP Distribution plc | Devol Moor (SPD) GSP |  | 24 | 0 | 24 |  | Built | SPT | Wind Onshore | a0l4L0000005ijM | PRO-000788
Inverkeithing Gas Generation | SP Distribution plc | Inverkeithing GSP |  | 0 | 20 | 20 | 2024-01-01 | Scoping | SPT | Gas Reciprocating | a0l4L0000005ijN | PRO-000787
Inverurie Paper Mills | SYLVAMO UK LIMITED | Kintore GSP |  | 7.5 | 0 | 7.5 |  | Built | SHET | Thermal | a0l4L0000005iRf | PRO-000881
Keith Energy Management | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 0 | 9.9 | 9.9 | 2024-10-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005icG | PRO-000661
Keltie Hydro | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 1 | 0 | 1 |  | Built | SHET | Hydro | a0l4L0000005icI | PRO-000701
Kempstone Hill Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Fiddes GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005icJ | PRO-000700
Kiachnish Hydro | Scottish Hydro Electric Power Distribution Plc | Fort William GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005icL | PRO-000698
Kildrummy Wind Farm | KILDRUMMY WIND FARM LIMITED | Tarland GSP |  | 18.4 | 0 | 18.4 |  | Built | SHET | Wind Onshore | a0l4L0000005iSl | PRO-000952
Kilmux Farm | SP Distribution plc | Leven GSP |  | 0 | 20 | 20 | 2032-05-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iNJ | PRO-001195
Kinegar WF | SP Distribution plc | Dunbar GSP |  | 5 | 0 | 5 |  | Built | SPT | Wind Onshore | a0l4L0000005ijP | PRO-000785
Kinlochleven | KINLOCHLEVEN POWER LTD | Kinlochleven GSP |  | 26 | 0 | 26 |  | Built | SHET | Hydro | a0l4L0000005iQw | PRO-000889
Kintore BESS | Conrad Energy (Developments) II Limited | Kintore GSP |  | 0 | 49.9 | 49.9 | 2031-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005j6t | PRO-002518
Kintore GSP (DNO) | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 0 | 0.15 | 0.15 | 2023-11-30 | Scoping | SHET | Energy Storage System | a0l8e0000010wRm | PRO-002603
Kintore South Fordtown (Leylodge) | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 0 | 50 | 50 | 2027-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iWo | PRO-002248
Kintore South Fordtown Energy Storage | Xrenewable Ltd | Kintore GSP |  | 0 | 50 | 50 | 2027-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iY1 | PRO-002154
Kirkton Solar PV | EEB 19 LIMITED | Peterhead Grange GSP |  | 0 | 35 | 35 | 2024-03-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iQI | PRO-001262
Kirkton Wind Farm | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore | a0l4L0000005icM | PRO-000697
Lairg - Achany Wind Farm | SSE GENERATION LIMITED | Lairg GSP |  | 38 | 0 | 38 |  | Built | SHET | Wind Onshore | a0l4L0000005iR0 | PRO-000885
Lairg Phase 2 | Scottish Hydro Electric Power Distribution Plc | Lairg GSP |  | 2.5 | 0 | 2.5 |  | Built | SHET | Wind Onshore | a0l4L0000005icQ | PRO-000693
Land at Kinnell Solar Farm | Scottish Hydro Electric Power Distribution Plc | Bridge of Dun GSP |  | 0 | 9.45 | 9.45 | 2032-06-30 | Scoping | SHET | Energy Storage System; PV Array (Photo Voltaic/solar) | a0l8e000000f4mg | PRO-003864
Land at Nether Farm | SP Distribution plc | Crookston A & B GSP |  | 0 | 4 | 4 | 2021-11-30 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005iTL | PRO-000990
Land at Rothienorman | ANESCO LIMITED | Rothienorman GSP |  | 0 | 49.9 | 49.9 | 2024-10-31 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005iTq | PRO-002073
Langlands Business Park | SP Distribution plc | East Kilbride South GSP |  | 0 | 20 | 20 | 2027-10-30 | Scoping | SPT | Energy Storage System | a0l8e0000011xqr | PRO-003476
Larbrax Wind Farm | SP Distribution plc | Glenluce GSP |  | 0 | 20 | 20 | 2029-11-02 | Scoping | SPT | Wind Onshore | a0l4L0000005ijT | PRO-000781
Leithenwater Wind Farm | LEITHENWATER WIND ENERGY HUB LIMITED | Galashiels GSP |  | 0 | 72.6 | 72.6 | 2027-10-29 | Scoping | SPT | Energy Storage System; Wind Onshore | a0l4L0000005iRW | PRO-001914
Lerwick A | SSE GENERATION LIMITED | Shetland GSP (132kV) |  | 28 | 0 | 28 |  | Built | SHET | Thermal | a0l4L0000005iRm | PRO-000934
Lerwick B | SSE GENERATION LIMITED | Shetland GSP (132kV) |  | 37 | 0 | 37 |  | Built | SHET | Thermal | a0l4L0000005iRn | PRO-000933
Lesmahagow Wind Farm | SP Distribution plc | Linmill GSP |  | 2.25 | 0 | 2.25 |  | Built | SPT | Wind Onshore | a0l4L0000005ijU | PRO-000780
Levenseat Quarry | SP Distribution plc | Newarthill GSP |  | 11 | 0 | 11 |  | Built | SPT | Wind Onshore | a0l4L0000005ijW | PRO-000778
Little Gala Wind Farm | SP Distribution plc | Lesmahagow GSP |  | 0 | 29.9 | 29.9 | 2027-10-31 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005ieX | PRO-001478
Little Hilton | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 2.3 | 0 | 2.3 |  | Built | SHET | Wind Onshore | a0l4L0000005icU | PRO-000689
Lochaber Smelter | SIMEC LOCHABER HYDROPOWER 2 LIMITED | Fort William GSP | 1 | 28.1 | 0 | 28.1 |  | Built | SHET | Hydro | a0l4L0000005iQ6 | PRO-001274-1
Lochaber Smelter | SIMEC LOCHABER HYDROPOWER 2 LIMITED | Fort William GSP | 2 | 0 | 51.9 | 80 | 2019-10-31 | Under Construction/Commissioning | SHET | Hydro | a0l4L0000005iQ6 | PRO-001274-2
Loch A Bhraoin | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005icV | PRO-000688
Locharmoss Solar & Battery | SP Distribution plc | Dumfries GSP |  | 0 | 9.96 | 9.96 | 2036-10-30 | Scoping | SPT | Energy Storage System; PV Array (Photo Voltaic/solar) | a0l8e0000011xvs | PRO-003477
Lochcraigs Farm PV Farm | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 4.75 | 0 | 4.75 |  | Built | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iNM | PRO-001192
Loch Eilde Mor | Scottish Hydro Electric Power Distribution Plc | Kinlochleven GSP |  | 5 | 0 | 5 |  | Built | SHET | Hydro | a0l4L0000005icW | PRO-000687
Lochend Wind Farm | Scottish Hydro Electric Power Distribution Plc | Thurso South GSP |  | 9.2 | 0 | 9.2 |  | Built | SHET | Wind Onshore | a0l4L0000005icb | PRO-000682
Loch Etive Hydro | Scottish Hydro Electric Power Distribution Plc | Taynuilt GSP |  | 6.8 | 0 | 6.8 |  | Built | SHET | Hydro | a0l4L0000005icX | PRO-000686
Lochfauld Solar Park | SP Distribution plc | Killermont 132/33kV |  | 0 | 18.4 | 18.4 | 2023-03-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iv7 | PRO-002141
Loch Fergus Solar | Lochfergus Solar LTD | Lochfergus Solar Substation 33kV |  | 0 | 45 | 45 | 2026-04-30 | Scoping | SPT | Energy Storage System; PV Array (Photo Voltaic/solar) | a0l8e000000f3zr | PRO-003808
Loch Leacann | Scottish Hydro Electric Power Distribution Plc | Port Ann GSP |  | 1.1 | 0 | 1.1 |  | Built | SHET | Hydro | a0l4L0000005icZ | PRO-000684
Lochluichart Battery Storage | SSE GENERATION LIMITED | Grudie Bridge GSP |  | 0 | 49.9 | 49.9 | 2025-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iUT | PRO-002288
Longhill Burn Wind Farm | LONGHILL WIND FARM LLP | Livingston East GSP |  | 0 | 50 | 50 | 2022-10-31 | Consents Approved | SPT | Wind Onshore | a0l4L0000005iPr | PRO-000911
Longpark | LONGPARK WINDFARM LIMITED | Longpark 132kV Substation |  | 38 | 0 | 38 |  | Built | SPT | Wind Onshore | a0l4L0000005iRq | PRO-000930
Lunanhead Battery | LUNANHEAD ENERGY STORAGE LIMITED | Lunanhead GSP |  | 0 | 49.9 | 49.9 | 2022-08-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iWd | PRO-000883
Lunanhead Solar Park | RELAY SUTTIESIDE LIMITED | Lunanhead GSP |  | 0 | 30 | 30 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iNS | PRO-001623
Lurg Hill | EDP RENEWABLES UK LIMITED | Keith GSP |  | 0 | 15 | 15 | 2024-05-01 | Consents Approved | SHET | Wind Onshore | a0l4L0000005iQG | PRO-001264
Lurghill Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005idr | PRO-000679
Macduff Battery Storage | Macduff Battery Storage Ltd | Macduff GSP |  | 0 | 49.9 | 49.9 | 2024-04-30 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005iWz | PRO-002250
Malcolmwood Farm BESS | Bluestone Energy Ltd | Westburn Road GSP |  | 0 | 60 | 60 | 2026-07-03 | Scoping | SPT | Energy Storage System | a0l8e000000TPCi | PRO-003195
Marine Energy Test Centre | THE EUROPEAN MARINE ENERGY CENTRE LIMITED | Marine Energy Test Centre |  | 7 | 0 | 7 |  | Built | SHET | Wave | a0l4L0000005iRs | PRO-000928
McQuittiston Farm | SP Distribution plc | Coylton GSP |  | 0 | 29.9 | 29.9 | 2026-05-29 | Scoping | SPT | Energy Storage System | a0l8e000001Hny5 | PRO-004049
Meadaple Wind Farm | Scottish Hydro Electric Power Distribution Plc | Rothienorman GSP |  | 0 | 4.3 | 4.3 | 2021-06-01 | Consents Approved | SHET | Wind Onshore | a0l4L0000005idt | PRO-000677
Meikleton of Ardonald Generating Station | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 0 | 4.3 | 4.3 | 2023-06-30 | Consents Approved | SHET | Wind Onshore | a0l4L0000005idu | PRO-000676
Merkland Burn Hydro (DNO) | Scottish Hydro Electric Power Distribution Plc | Carradale 1 GSP |  | 0 | 0.18 | 0.18 | 2029-10-31 | Scoping | SHET | Demand | a0l8e0000010wSL | PRO-002610
Mid Backhill Wind Farm | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 2.35 | 0 | 2.35 |  | Built | SHET | Wind Onshore | a0l4L0000005idv | PRO-000675
Mid Craigie BESS | WHIRLWIND ENERGY STORAGE LIMITED | Milton of Craigie GSP |  | 0 | 49.9 | 49.9 | 2026-12-31 | Awaiting Consents | SHET | Energy Storage System | a0l8e0000010wbF | PRO-002709
Middle Balbeggie 2 | SP Distribution plc | Redhouse GSP |  | 3.75 | 0 | 3.75 |  | Built | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iOS | PRO-001190
Middle Balbegie Wind Farm | SP Distribution plc | Redhouse GSP |  | 6.4 | 0 | 6.4 |  | Built | SPT | Wind Onshore | a0l4L0000005iMb | PRO-000846
Mid Hill Wind | MID HILL WIND LIMITED | Mid Hill GSP |  | 75 | 0 | 75 |  | Built | SHET | Wind Onshore | a0l4L0000005iWJ | PRO-000296
Mid Whitestones Farm PV | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 0 | 9.9 | 9.9 | 2027-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iwt | PRO-002260
Millerhill Energy from Waste Plant | SP Distribution plc | Portobello (SPD) GSP |  | 15 | 0 | 15 |  | Built | SPT | Waste | a0l4L0000005iMc | PRO-000845
Millour Hill Wind Farm | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 24 | 0 | 24 |  | Built | SPT | Wind Onshore | a0l4L0000005iMd | PRO-000844
Mill Rig Wind Farm | Mill Rig Wind Farm LLP | Kilmarnock South GSP |  | 0 | 36 | 36 | 2024-07-31 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005iQt | PRO-000892
Milltown Airfield Solar Farm | MILLTOWN AIRFIELD SOLAR PV LIMITED | Elgin GSP |  | 0 | 49.9 | 49.9 | 2025-02-28 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iQ3 | PRO-001277
Milton of Craigie GSP | Scottish Hydro Electric Power Distribution Plc | Milton of Craigie GSP |  | 0 | 0.25 | 0.25 | 2025-06-30 | Scoping | SHET | Demand; PV Array (Photo Voltaic/solar) | a0l8e000000TPPk | PRO-003351
Milton of Fisherie Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Macduff GSP |  | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore | a0l4L0000005idw | PRO-000674
Monan Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Harris GSP |  | 1.5 | 0 | 1.5 |  | Built | SHET | Wind Onshore | a0l4L0000005idx | PRO-000673
Monashee Farm Windfarm | SP Distribution plc | Berwick GSP |  | 0 | 24 | 24 | 2026-10-01 | Scoping | SPT | Wind Onshore | a0l4L0000005ivR | PRO-002364
Moor House Wind Farm | SP Distribution plc | Berwick GSP |  | 0.5 | 0 | 0.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iMe | PRO-000843
Moorshield Wind Farm | SP Distribution plc | Giffnock GSP |  | 0 | 18 | 18 | 2024-10-31 | Scoping | SPT | Wind Onshore | a0l4L0000005ibr | PRO-001443
Mossmorran Wind Farm | SP Distribution plc | Westfield GSP |  | 4.6 | 0 | 4.6 |  | Built | SPT | Wind Onshore | a0l4L0000005iMf | PRO-000842
Mount Blairy | GREENTECH PROJECTS HOLDING UK LIMITED | Macduff GSP |  | 0 | 35.2 | 35.2 | 2027-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iXT | PRO-002284
Mount Farm | SP Distribution plc | Coylton GSP |  | 0 | 2.5 | 2.5 | 2021-10-31 | Consents Approved | SPT | Wind Onshore | a0l4L0000005iTM | PRO-000989
Muirake Wind Farm | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore | a0l4L0000005iTy | PRO-001485
Muirhall Extension II Wind Farm | SP Distribution plc | Livingston East GSP |  | 9.6 | 0 | 9.6 |  | Built | SPT | Wind Onshore | a0l4L0000005iMi | PRO-000839
Muirhall Wind Farm Extension | SP Distribution plc | Livingston East GSP |  | 7 | 0 | 7 |  | Built | SPT | Wind Onshore | a0l4L0000005iMj | PRO-000838
Nairn BESS | ANESCO LIMITED | Nairn GSP |  | 0 | 29.36 | 29.36 | 2026-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005jAH | PRO-002533
Nairn Road Alpha | SP Distribution plc | Drumcross GSP |  | 4 | 0 | 4 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iOT | PRO-001189
Nairn Road Bravo | SP Distribution plc | Drumcross GSP |  | 4 | 0 | 4 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iOU | PRO-001188
Nairn Road Generation | SP Distribution plc | Drumcross GSP |  | 0 | 20 | 20 | 2024-01-31 | Awaiting Consents | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iOW | PRO-001255
Nathrach Hydro | Scottish Hydro Electric Power Distribution Plc | Kinlochleven GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005idy | PRO-000672
Neilston Community Wind Farm | SP Distribution plc | Crookston A & B GSP |  | 10 | 0 | 10 |  | Built | SPT | Wind Onshore | a0l4L0000005iMl | PRO-000836
NESS Energy Project | EFW NESS LIMITED | Redmoss GSP |  | 0 | 16 | 16 | 2022-11-19 | Consents Approved | SHET | Waste | a0l4L0000005iR4 | PRO-001320
Ness of Quoys | MEYGEN PLC | Ness of Quoys 33kv Substation |  | 14.9 | 0 | 14.9 |  | Built | SHET | Tidal | a0l4L0000005iXg | PRO-000913
Nethermains | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 0 | 7.48 | 7.48 | 2023-05-30 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005ibJ | PRO-002045
Netherton Gas Reserve Power Facility | SP Distribution plc | Wishaw (SPD) GSP |  | 19.9 | 0 | 19.9 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iOX | PRO-001254
Nevis Range Hydro | Scottish Hydro Electric Power Distribution Plc | Fort William GSP |  | 1.1 | 0 | 1.1 |  | Built | SHET | Hydro | a0l4L0000005idz | PRO-000671
Newhouse Energy Storage | NEWHOUSE ENERGY STORAGE LIMITED | Burghmuir GSP |  | 0 | 49.9 | 49.9 | 2026-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iNh | PRO-001817
New Mains of Guynd PV | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 9.5 | 0 | 9.5 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijh | PRO-001230
New Mains of Kinblethmont PV | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 5 | 0 | 5 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iji | PRO-001229
Newton Farm BESS | GPC 363 Ltd | Westburn Road GSP |  | 0 | 40 | 40 | 2028-10-31 | Scoping | SPT | Energy Storage System | a0l8e000001HnyA | PRO-004050
Newton of Fortrie Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore | a0l4L0000005ie0 | PRO-000670
Norrieston Farm - Braco West (Formerly Braco) GSP | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 0 | 0.12 | 0.12 | 2024-12-30 | Awaiting Consents | SHET | Hydro | a0l8e000000TPOz | PRO-003294
North Mains Battery Storage Park | RELAY SUTTIESIDE LIMITED | Lunanhead GSP |  | 0 | 22 | 22 | 2025-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iTs | PRO-001659
Novar | BEAUFORT WIND LIMITED | Alness GSP |  | 18.5 | 0 | 18.5 |  | Built | SHET | Wind Onshore | a0l4L0000005iPg | PRO-000850
Novar 2 Wind Farm | RWE RENEWABLES UK SWINDON LIMITED | Alness GSP |  | 36.8 | 0 | 36.8 |  | Built | SHET | Wind Onshore | a0l4L0000005iSh | PRO-000956
Old Greenock Road | SP Distribution plc | Erskine GSP |  | 0 | 29.9 | 29.9 | 2023-10-31 | Consents Approved | SPT | Energy Storage System | a0l4L0000005iMn | PRO-000834
Orchardbank Battery Storage | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 9.99 | 9.99 | 2024-04-20 | Consents Approved | SHET | Energy Storage System | a0l4L0000005ie2 | PRO-000730
Orkney Finstown Embedded Generation | Scottish Hydro Electric Power Distribution Plc | Finstown (Orkney) GSP | 1 | 0 | 50 | 50 | 2023-04-30 | Scoping | SHET | Wind Onshore | a0l4L0000005ie3 | PRO-000729-1
Orkney Finstown Embedded Generation | Scottish Hydro Electric Power Distribution Plc | Finstown (Orkney) GSP | 2 | 0 | 60 | 110 | 2024-10-31 | Scoping | SHET | Wind Onshore | a0l4L0000005ie3 | PRO-000729-2
Over Rankeilour Farms PV Park | SP Distribution plc | Cupar GSP |  | 0 | 29.9 | 29.9 | 2026-10-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000000ewYG | PRO-003670
Overton Farm | SP Distribution plc | Devonside GSP |  | 2.35 | 0 | 2.35 |  | Built | SPT | Wind Onshore | a0l4L0000005iMp | PRO-000832
Packhouse Solar | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 0 | 0.18 | 0.18 | 2023-02-28 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000f4mq | PRO-003866
Parkhill Farm PV | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 4.99 | 0 | 4.99 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijj | PRO-001228
Parkhill South Solar Farm | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 0 | 9.9 | 9.9 | 2024-09-30 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ibL | PRO-002047
Patrickston Farm | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 0 | 9.99 | 9.99 | 2021-11-30 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijk | PRO-001227
Paul's Hill II Wind Farm | PAUL'S HILL II LIMITED | Glenfarclas GSP |  | 0 | 21 | 21 | 2023-04-05 | Scoping | SHET | Wind Onshore | a0l4L0000005iQv | PRO-000890
Paul's Hill Wind Farm | PAUL'S HILL WIND LIMITED | Glenfarclas GSP |  | 70 | -5.5 | 64.5 | 2022-10-31 | Built | SHET | Wind Onshore | a0l4L0000005iQi | PRO-000902
Pearie Law Wind Farm | SP Distribution plc | Livingston East GSP |  | 19.2 | 0 | 19.2 |  | Built | SPT | Wind Onshore | a0l4L0000005iTN | PRO-000988
Peattie Farm - Coupar Angus | GREENTECH PROJECTS HOLDING UK LIMITED | Peattie Farm 33kV |  | 0 | 22 | 22 | 2029-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010wwc | PRO-002989
Penmanshiel Wind Farm | SP Distribution plc | Berwick GSP |  | 28.7 | 0 | 28.7 |  | Built | SPT | Wind Onshore | a0l4L0000005iMr | PRO-000830
Pentland Road | PENTLAND ROAD WINDFARM LIMITED | Stornoway GSP | 1 | 13.8 | 0 | 13.8 |  | Built | SHET | Wind Onshore | a0l4L0000005iUk | PRO-000361-1
Pentland Road | PENTLAND ROAD WINDFARM LIMITED | Stornoway GSP | 2 | 0 | 4.2 | 18 | 2027-03-31 | Under Construction/Commissioning | SHET | Wind Onshore | a0l4L0000005iUk | PRO-000361-2
Persley BESS | ANESCO LIMITED | Persley GSP |  | 0 | 63.3 | 63.3 | 2026-04-30 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005iWh | PRO-002445
Pitkevy Battery Storage | PITKEVEY BATTERY STORAGE LIMITED | Glenrothes GSP |  | 0 | 49.9 | 49.9 | 2024-07-31 | Scoping | SPT | Energy Storage System | a0l4L0000005iUO | PRO-001799
Pitscandly Farm PV | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 4.13 | 0 | 4.13 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijl | PRO-001226
PM AB2 Energy Storage | P&M Energy Ltd | Abernethy GSP |  | 0 | 15 | 15 | 2028-10-31 | Scoping | SHET | Energy Storage System | a0l8e0000010xgy | PRO-003082
PM AB Energy Storage | P&M Energy Ltd | Abernethy GSP |  | 0 | 49.9 | 49.9 | 2026-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iXH | PRO-002140
Port Ann GSP | Scottish Hydro Electric Power Distribution Plc | Port Ann GSP |  | 0 | 1.5 | 1.5 | 2027-04-30 | Scoping | SHET | Demand; Tidal | a0l8e000000TPPr | PRO-003344
Pressock Farm PV | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 5 | 0 | 5 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijm | PRO-001225
Pundeavon Farm | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 0.9 | 0 | 0.9 |  | Built | SPT | Wind Onshore | a0l4L0000005iMt | PRO-000828
Quixwood Wind Farm | SP Distribution plc | Berwick GSP |  | 24 | 0 | 24 |  | Built | SPT | Wind Onshore | a0l4L0000005iMu | PRO-000827
Rankeilour PV BESS Park | ELGIN ENERGY ES CO LIMITED | Cupar GSP |  | 0 | 49.9 | 49.9 | 2026-10-31 | Scoping | SPT | Energy Storage System; PV Array (Photo Voltaic/solar) | a0l8e0000010wbo | PRO-002715
Rannoch | SSE GENERATION LIMITED | Rannoch GSP |  | 44 | 0 | 44 |  | Built | SHET | Hydro | a0l4L0000005iRr | PRO-000929
Redbog | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 1.6 | 0 | 1.6 |  | Built | SHET | Wind Onshore | a0l4L0000005ie5 | PRO-000727
Redhouse Electrical Energy Storage | SP Distribution plc | Redhouse GSP |  | 16 | 0 | 16 |  | Built | SPT | Energy Storage System | a0l4L0000005iMv | PRO-000826
Redmoss GSP | Scottish Hydro Electric Power Distribution Plc | Redmoss GSP |  | 0 | 8 | 8 | 2026-07-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPPt | PRO-003342
Rhodders Wind Farm | SP Distribution plc | Devonside GSP |  | 12.3 | 0 | 12.3 |  | Built | SPT | Wind Onshore | a0l4L0000005iMw | PRO-000825
Rigmuir Windfarm | SP Distribution plc | East Kilbride South GSP |  | 0 | 13.5 | 13.5 | 2024-03-31 | Scoping | SPT | Wind Onshore | a0l8e000000exTR | PRO-003729
River Muick Hydro | Scottish Hydro Electric Power Distribution Plc | Tarland GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005ie6 | PRO-000726
Rosehall | RWE RENEWABLES UK ONSHORE WIND LIMITED | Shin GSP |  | 24.7 | 0 | 24.7 |  | Built | SHET | Wind Onshore | a0l4L0000005iSN | PRO-000917
Rothes (Cairn Uish) Wind Farm | ROTHES WIND LIMITED | Dallas GSP |  | 50.6 | 0 | 50.6 |  | Built | SHET | Wind Onshore | a0l4L0000005iPp | PRO-000871
Rothes II (Cairn Uish II) Wind Farm | ROTHES II LIMITED | Dallas GSP |  | 41.4 | 0 | 41.4 |  | Built | SHET | Wind Onshore | a0l4L0000005iPo | PRO-000872
Rothes III Wind Farm | ROTHES III LIMITED | Dallas GSP |  | 0 | 23 | 23 | 2025-06-30 | Scoping | SHET | Wind Onshore | a0l4L0000005iQk | PRO-000900
Rutherglen Battery | SP Distribution plc | Dalmarnock GSP |  | 0 | 29 | 29 | 2024-10-31 | Scoping | SPT | Energy Storage System | a0l4L0000005ivV | PRO-002240
Selms Muir Solar & Battery Storage | SP Distribution plc | Livingston East GSP |  | 0 | 6 | 6 | 2026-07-31 | Scoping | SPT | Energy Storage System; PV Array (Photo Voltaic/solar) | a0l4L0000005ixS | PRO-001885
Shewalton Rd Solar Farm | SP Distribution plc | Kilmarnock South GSP |  | 0 | 5.027 | 5.027 | 2024-10-25 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iwn | PRO-002178
Shilton Lane Energy Storage Facility | GreenGridPower1 Ltd | Erskine GSP |  | 0 | 40 | 40 | 2024-04-26 | Scoping | SPT | Energy Storage System | a0l4L0000005iSI | PRO-001930
Shin | SSE GENERATION LIMITED | Shin GSP |  | 18.6 | 0 | 18.6 |  | Built | SHET | Hydro | a0l4L0000005iTQ | PRO-000985
Sneddon Law Wind | SNEDDON LAW COMMUNITY WIND COMPANY LTD | Kilmarnock Town 275/33kV Substation |  | 30 | 0 | 30 |  | Built | SPT | Wind Onshore | a0l4L0000005iXb | PRO-000324
Sorbie Windfarm | SP Distribution plc | Saltcoats A & B (SPD) GSP | 1 | 7.5 | 0 | 7.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iO5 | PRO-000820-1
Sorbie Windfarm | SP Distribution plc | Saltcoats A & B (SPD) GSP | 2 | 0 | 5.1 | 12.6 | 2023-04-30 | Consents Approved | SPT | Wind Onshore | a0l4L0000005iO5 | PRO-000820-2
South Clyde Energy Centre | FORTUM GLASGOW LIMITED | Braehead Park GSP |  | 0 | 45 | 45 | 2025-08-29 | Consents Approved | SPT | Waste | a0l4L0000005iPd | PRO-000853
South Esk Solar Farm | Scottish Hydro Electric Power Distribution Plc | Bridge of Dun GSP |  | 0 | 9.9 | 9.9 | 2026-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijp | PRO-001222
Speyside CHP | SPEYSIDE RENEWABLE ENERGY PARTNERSHIP LIMITED | Keith GSP |  | 15 | 0 | 15 |  | Built | SHET | CHP (Combined Heat and Power) | a0l4L0000005iQF | PRO-001265
Speyslaw Solar | SPEYSLAW SOLAR LIMITED | Elgin GSP |  | 0 | 20 | 20 | 2025-06-30 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iQ2 | PRO-001278
Srondoire | Scottish Hydro Electric Power Distribution Plc | Port Ann GSP |  | 5.9 | 0 | 5.9 |  | Built | SHET | Wind Onshore | a0l4L0000005ieB | PRO-000721
Standingfauld Farm PV | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 0 | 9.9 | 9.9 | 2022-09-30 | Under Construction/Commissioning | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iZH | PRO-001379
Stemster Wind Farm | RWE RENEWABLES UK SWINDON LIMITED | Mybster 132/33kV Substation |  | 0 | 55 | 55 | 2026-09-30 | Scoping | SHET | Wind Onshore | a0l4L0000005iRu | PRO-000926
Steven's Croft | E.ON UK STEVEN'S CROFT LIMITED | Chapelcross GSP |  | 45 | 0 | 45 |  | Built | SPT | Biomass | a0l4L0000005iSW | PRO-000967
St Fergus Energy Park | Scottish Hydro Electric Power Distribution Plc | St Fergus Gas GSP |  | 0 | 9.7 | 9.7 | 2023-09-08 | Consents Approved | SHET | PV Array (Photo Voltaic/solar); Wind Onshore | a0l4L0000005ibv | PRO-001449
St Fergus Moss | Scottish Hydro Electric Power Distribution Plc | St Fergus Gas GSP |  | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore | a0l4L0000005iU8 | PRO-001549
St Fillans | SSE GENERATION LIMITED | St Fillans GSP |  | 16.8 | 0 | 16.8 |  | Built | SHET | Hydro | a0l4L0000005iRx | PRO-000923
Stirches Solar PV | SP Distribution plc | Hawick GSP |  | 0 | 29.97 | 29.97 | 2026-12-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iQZ | PRO-001892
Stoneywood Mills (Wiggins Teape Stoneywood) | ARJO WIGGINS FINE PAPERS LIMITED | Dyce 132/33kV Substation |  | 12 | 0 | 12 |  | Built | SHET | CHP (Combined Heat and Power) | a0l4L0000005iRD | PRO-001311
Stornoway (Battery Point) | Scottish Hydro Electric Power Distribution Plc | Stornoway GSP |  | 22.3 | 0 | 22.3 |  | Built | SHET | Thermal | a0l4L0000005iTB | PRO-000998
Strathaven South Wind Farm | SP Distribution plc | Linmill GSP | 1 | 1.8 | 0 | 1.8 |  | Built | SPT | Wind Onshore | a0l4L0000005iOA | PRO-000815-1
Strathaven South Wind Farm | SP Distribution plc | Linmill GSP | 2 | 0 | 3 | 4.8 | 2020-10-30 | Scoping | SPT | Wind Onshore | a0l4L0000005iOA | PRO-000815-2
Strathaven West | Clean Earth Energy Limited | Strathaven GSP |  | 0 | 85.27 | 85.27 | 2028-10-30 | Scoping | SPT | Wind Onshore | a0l8e000000TPSh | PRO-003432
Strathruddie Farm Solar & Storage | SP Distribution plc | Westfield GSP |  | 0 | 20 | 20 | 2025-04-25 | Scoping | SPT | Energy Storage System; PV Array (Photo Voltaic/solar) | a0l4L0000005iwh | PRO-002310
Stroupster Wind Farm | STROUPSTER CAITHNESS WIND FARM LIMITED | Thurso GSP |  | 30 | 0 | 30 |  | Built | SHET | Wind Onshore | a0l4L0000005iRK | PRO-001305
Tacher Wind | Clean Earth Energy Limited | Mybster 132/33kV Substation | 1 | 0 | 9.99 | 9.99 | 2025-08-31 | Scoping | SHET | Wind Onshore | a0l8e0000010wgZ | PRO-002769-1
Tacher Wind | Clean Earth Energy Limited | Mybster 132/33kV Substation | 2 | 0 | 2.91 | 12.9 | 2030-08-31 | Scoping | SHET | Wind Onshore | a0l8e0000010wgZ | PRO-002769-2
Tacher Wind (DNO) | Scottish Hydro Electric Power Distribution Plc | Mybster 132/33kV Substation |  | 0 | 9.99 | 9.99 | 2025-08-31 | Scoping | SHET | Wind Onshore | a0l4L0000005iTC | PRO-000997
Tailors Wynd | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 0.968 | 0.968 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000011xUO | PRO-003459
Tangy Wind Argyll | SSE GENERATION LIMITED | Tangy (1) Wind Argyll Substation |  | 19 | 0 | 19 |  | Built | SHET | Wind Onshore | a0l4L0000005iSj | PRO-000954
Taodail Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro | a0l4L0000005if4 | PRO-000717
Three Lochs Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 0 | 2 | 2 | 2024-06-30 | Consents Approved | SHET | Hydro | a0l4L0000005if5 | PRO-000716
Threemiletown Solar Farm (dno) | SP Distribution plc | Broxburn GSP |  | 0 | 29.9 | 29.9 | 2024-10-29 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005ikp | PRO-002185
Thurso BESS | Stainland BESS Limited | Thurso South GSP |  | 0 | 49.9 | 49.9 | 2027-06-30 | Scoping | SHET | Energy Storage System | a0l4L0000005iXK | PRO-001967
Tod Hill | SP Distribution plc | Bonnybridge GSP |  | 12 | 0 | 12 |  | Built | SPT | Wind Onshore | a0l4L0000005iOD | PRO-000812
Toftinghall Windfarm | SETT WIND DEVELOPMENT LIMITED | Mybster 1 GSP |  | 0 | 25.2 | 25.2 | 2025-08-31 | Awaiting Consents | SHET | Wind Onshore | a0l4L0000005iSd | PRO-000960
Tom Nan Clach | NANCLACH LIMITED | Boat of Garten GSP |  | 41 | 0 | 41 |  | Built | SHET | Wind Onshore | a0l4L0000005iPy | PRO-001235
Tongland | Drax River Hydro Limited | Tongland GSP |  | 33 | 0 | 33 |  | Built | SPT | Hydro | a0l4L0000005iRz | PRO-000921
Tormywheel | TORMYWHEEL WIND FARM LIMITED | Bathgate 132/33kV Substation |  | 37.45 | 0 | 37.45 |  | Built | SPT | Wind Onshore | a0l4L0000005iWF | PRO-000292
Tormywheel Extension WF | SP Distribution plc | Bathgate 132/33kV Substation |  | 0 | 9.5 | 9.5 | 2026-10-29 | Scoping | SPT | Wind Onshore | a0l4L0000005iML | PRO-002355
Torrance Farm Extension 2 | SP Distribution plc | Bathgate (SPD) GSP |  | 0 | 21.6 | 21.6 | 2025-09-30 | Scoping | SPT | Wind Onshore | a0l4L0000005iNu | PRO-001835
Torrance Warm Wind Farm | SP Distribution plc | Bathgate (SPD) GSP |  | 9 | 0 | 9 |  | Built | SPT | Wind Onshore | a0l4L0000005iOE | PRO-000869
Torrance Wind Farm Extension | SP Distribution plc | Bathgate (SPD) GSP |  | 6 | 0 | 6 |  | Built | SPT | Wind Onshore | a0l4L0000005iOF | PRO-000868
Tummel Bridge | SSE GENERATION LIMITED | Tummel Bridge GSP | 1 | 34 | 0 | 34 |  | Built | SHET | Hydro | a0l4L0000005iSx | PRO-000949-1
Tummel Bridge | SSE GENERATION LIMITED | Tummel Bridge GSP | 2 | 0 | 6.46 | 40.46 | 2024-10-31 | Scoping | SHET | Hydro | a0l4L0000005iSx | PRO-000949-2
Tyrie Mains PV | Scottish Hydro Electric Power Distribution Plc | Fraserburgh GSP |  | 0 | 0.17 | 0.17 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010wc3 | PRO-002717
Warburtons Bellshill | SP Distribution plc | Coatbridge GSP |  | 0 | 1 | 1 | 2023-12-31 | Scoping | SPT | CHP (Combined Heat and Power) | a0l8e000000f4xM | PRO-003895
Wardpark Alpha Generating Station | SP Distribution plc | Cumbernauld GSP |  | 4 | 0 | 4 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iXl | PRO-001287
Wardpark Bravo Generating Station | SP Distribution plc | Glenglass 132/33kV Substation |  | 4 | 0 | 4 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iS9 | PRO-001293
Water Treatment Works - Glendevon | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 0.19 | 0.19 | 2024-09-30 | Scoping | SHET | Hydro; PV Array (Photo Voltaic/solar) | a0l8e000000ewP7 | PRO-003663
Wathegar 2 Windfarm | WATHEGAR 2 LIMITED | Mybster 1 GSP |  | 22.5 | 0 | 22.5 |  | Built | SHET | Wind Onshore | a0l4L0000005iSe | PRO-000959
Watson Autos Wind Turbine | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 0.5 | 0 | 0.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iOG | PRO-000867
Watson Head Wind Farm | SP Distribution plc | Wishaw (SPD) GSP |  | 0 | 8.4 | 8.4 | 2023-12-31 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005iOH | PRO-000866
Wellbank Solar Farm | GREENTECH PROJECTS HOLDING UK LIMITED | Milton of Craigie GSP |  | 0 | 25 | 25 | 2024-03-01 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iXa | PRO-002101
Welton of Creuchies Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Coupar Angus GSP |  | 9.2 | 0 | 9.2 |  | Built | SHET | Wind Onshore | a0l4L0000005if9 | PRO-000712
Wemyss PV Farm | EEB15 LIMITED | Redhouse GSP |  | 0 | 49.9 | 49.9 | 2023-10-01 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iR3 | PRO-001258
West Balgersho Farm | Scottish Hydro Electric Power Distribution Plc | Coupar Angus GSP |  | 0 | 9.9 | 9.9 | 2029-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010waq | PRO-002705
West Benhar Wind Farm | SP Distribution plc | Drumcross GSP |  | 28.8 | 0 | 28.8 |  | Built | SPT | Wind Onshore | a0l4L0000005iOK | PRO-000863
Westfield ERF | SP Distribution plc | Westfield GSP |  | 0 | 25.1 | 25.1 | 2023-04-28 | Consents Approved | SPT | Energy Storage System | a0l4L0000005iTe | PRO-001417
Westfield PV Park | SP Distribution plc | Westfield GSP |  | 0 | 29.9 | 29.9 | 2023-04-28 | Consents Approved | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iZq | PRO-001390
Westfield Wind Farm | SP Distribution plc | Westfield GSP |  | 12.5 | 0 | 12.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iON | PRO-000860
West Gourdie Battery | FS WEST GOURDIE LIMITED | Charleston GSP |  | 49.9 | 0 | 49.9 |  | Built | SHET | Energy Storage System | a0l4L0000005iTJ | PRO-001376
Wheedlemont | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 1.7 | 0 | 1.7 |  | Built | SHET | Wind Onshore | a0l4L0000005ifB | PRO-000710
Woodbank Wind Farm | SP Distribution plc | Leven GSP |  | 1.5 | 0 | 1.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iOP | PRO-000858
Wormit PV Park | SP Distribution plc | Cupar GSP |  | 4 | 0 | 4 |  | Built | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iOc | PRO-001249
Wyvis Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 3.9 | 0 | 3.9 |  | Built | SHET | Hydro | a0l4L0000005ifC | PRO-000709
Yonderton Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore | a0l4L0000005ifD | PRO-000708
Zebec Biogas | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 2.5 | 0 | 2.5 |  | Built | SPT | Biomass | a0l4L0000005iOQ | PRO-000857