## Menu
Electricity Ten Year Statement (ETYS) 2012
Chapter 4 - Charts & Data Tables
Figure
4.1.1 | Slow Progression Wind Production
4.1.2 | Gone Green Wind Production
4.1.3 | Accelerated Growth Wind Production
4.3.2 | System Inertia Changes for Slow Progression
4.3.3 | System Inertia Changes for Gone Green
4.3.4 | System Inertia Changes for Accelerated Growth
4.3.5 | Fault Level Variation for Slow Progression
4.3.6 | Fault Level Variation for Gone Green
4.3.7 | Fault Level Variation for Accelerated Growth
4.3.8 | Average Active and Reactive Power Demand
4.3.9 | Q/P Ratio

## Fig4.1.1
Slow Progression Wind Production |  |  | Back To Menu
| 2017/18 | 2020/21 | 2023/24 | 2027/28 | 2030/31
Wind Output (MW) | 6352 | 9358 | 13405 | 18081 | 19145
Min Demand (MW) | 23178 | 23101 | 22940 | 22842 | 22660

## Fig4.1.2
Gone Green Wind Production |  |  | Back To Menu
| 2017/18 | 2020/21 | 2023/24 | 2027/28 | 2030/31
Wind Output (MW) | 9794 | 17938 | 23223 | 23734 | 25484
Min Demand (MW) | 22993 | 23053 | 23278 | 23661 | 24275

## Fig4.1.3
Accelerated Growth Wind Production |  |  | Back To Menu
| 2017/18 | 2020/21 | 2023/24 | 2027/28 | 2030/31
Wind Output (MW) | 11689 | 23065 | 25894 | 28450 | 31218
Min Demand (MW) | 23612 | 23404 | 23509 | 24943 | 26281

## Fig4.3.2
System Inertia Changes for Slow Progression |  |  |  | Back To Menu
SP | 2012-2013 | 2013-2014 | 2014-2015 | 2015-2016 | 2016-2017 | 2017-2018 | 2018-2019 | 2019-2020 | 2020-2021 | 2021-2022 | 2022-2023 | 2023-2024 | 2024-2025 | 2025-2026 | 2026-2027 | 2027-2028 | 2028-2029 | 2029-2030 | 2030-2031
20 | 162.9875 | 162.9875 | 155.4875 | 155.4875 | 147.9459 | 147.9459 | 136.9554 | 131.3244 | 119.5387 | 111.322 | 105.5807 | 92.3977 | 84.0803 | 77.6937 | 71.8211 | 69.3534 | 66.4167 | 63.48 | 63.48
22 | 188.7188 | 183.2188 | 180.4688 | 177.7188 | 174.9688 | 167.3855 | 159.8855 | 152.3438 | 144.1688 | 138.5379 | 123.9367 | 111.3093 | 104.5813 | 96.7957 | 88.4783 | 85.4967 | 82.0917 | 78.6868 | 78.6868
24 | 211.3394 | 205.6823 | 198.6823 | 198.6823 | 193.1168 | 193.1168 | 184.8668 | 179.3668 | 171.7835 | 164.2835 | 148.5668 | 140.1204 | 120.118 | 115.7073 | 108.2969 | 101.1937 | 98.5258 | 95.8579 | 95.8579
26 | 233.0464 | 221.3946 | 221.3946 | 218.566 | 215.7374 | 212.9089 | 203.0803 | 200.2975 | 192.0148 | 186.5148 | 176.1815 | 161.1398 | 150.1493 | 132.7327 | 124.516 | 124.516 | 118.7747 | 115.5608 | 115.5608
28 | 251.3556 | 248.4146 | 241.7063 | 241.7063 | 237.4443 | 237.4443 | 225.7926 | 220.1354 | 214.4783 | 207.4783 | 196.4128 | 180.5795 | 173.0795 | 165.5378 | 154.5473 | 148.9164 | 137.1307 | 137.1307 | 137.1307
30 | 275.0855 | 272.1445 | 269.0294 | 266.6286 | 255.7536 | 255.7536 | 246.1042 | 244.9197 | 230.1905 | 227.362 | 218.8763 | 206.3108 | 195.3108 | 184.9775 | 177.4775 | 169.9358 | 161.7608 | 161.7608 | 161.7608

## Fig4.3.3
System Inertia Changes for Gone Green |  |  |  | Back To Menu
GG | 2012-2013 | 2013-2014 | 2014-2015 | 2015-2016 | 2016-2017 | 2017-2018 | 2018-2019 | 2019-2020 | 2020-2021 | 2021-2022 | 2022-2023 | 2023-2024 | 2024-2025 | 2025-2026 | 2026-2027 | 2027-2028 | 2028-2029 | 2029-2030 | 2030-2031
20 | 162.9875 | 155.4875 | 155.4875 | 147.9459 | 139.7709 | 119.5387 | 97.4607 | 81.0987 | 69.3534 | 60.7873 | 53.2058 | 46.2299 | 46.2299 | 46.2299 | 46.2299 | 44.9263 | 43.9799 | 43.9799 | 43.9799
22 | 188.7188 | 183.2188 | 177.7188 | 167.3855 | 159.8855 | 141.3534 | 115.72 | 96.7957 | 85.4967 | 76.2191 | 67.878 | 60.0481 | 50.6279 | 50.6279 | 50.6279 | 50.6279 | 50.6279 | 50.6279 | 50.6279
24 | 211.3394 | 198.6823 | 198.6823 | 193.1168 | 187.6168 | 164.2835 | 142.9359 | 120.118 | 101.1937 | 92.8763 | 83.0847 | 75.2127 | 64.4461 | 55.862 | 55.0259 | 55.0259 | 55.0259 | 55.0259 | 55.0259
26 | 233.0464 | 221.3946 | 218.566 | 215.7374 | 203.0803 | 189.2648 | 161.1398 | 144.5184 | 124.516 | 112.6949 | 100.2559 | 87.4827 | 79.6107 | 71.2885 | 60.5332 | 59.4239 | 59.4239 | 59.4239 | 59.4239
28 | 251.3556 | 248.4146 | 241.7063 | 237.4443 | 225.7926 | 207.4783 | 188.1628 | 165.5378 | 148.9164 | 128.914 | 117.7753 | 107.3218 | 95.2857 | 86.9454 | 75.6865 | 70.7977 | 67.8644 | 64.1135 | 63.8218
30 | 275.0855 | 271.4302 | 266.6286 | 255.7536 | 252.8126 | 230.1905 | 209.0935 | 192.5608 | 169.9358 | 158.9453 | 141.5286 | 127.2158 | 111.7198 | 99.6837 | 91.3433 | 85.4699 | 82.7772 | 77.6401 | 77.6401

## Fig4.3.4
System Inertia Changes for Accelerated Grwoth |  |  |  | Back To Menu
AG | 2012-2013 | 2013-2014 | 2014-2015 | 2015-2016 | 2016-2017 | 2017-2018 | 2018-2019 | 2019-2020 | 2020-2021 | 2021-2022 | 2022-2023 | 2023-2024 | 2024-2025 | 2025-2026 | 2026-2027 | 2027-2028 | 2028-2029 | 2029-2030 | 2030-2031
20 | 162.9875 | 155.4875 | 147.9459 | 139.7709 | 134.1399 | 105.5807 | 81.0987 | 63.48 | 47.3392 | 46.2299 | 45.6757 | 43.9799 | 43.9799 | 43.9799 | 43.9799 | 43.9799 | 43.9799 | 43.9799 | 43.9799
22 | 188.7188 | 183.2188 | 177.7188 | 167.3855 | 152.3438 | 123.9367 | 96.7957 | 78.6868 | 62.4925 | 50.6279 | 50.6279 | 50.2359 | 48.3778 | 48.3778 | 48.3778 | 48.3778 | 48.3778 | 48.3778 | 48.3778
24 | 211.3394 | 198.6823 | 195.8996 | 190.3668 | 179.3668 | 148.5668 | 115.7073 | 95.8579 | 78.1494 | 59.0685 | 55.0259 | 55.0259 | 54.9022 | 52.7758 | 52.7758 | 52.7758 | 52.7758 | 52.7758 | 52.7758
26 | 233.0464 | 221.3946 | 218.566 | 212.9089 | 200.2975 | 176.1815 | 144.5184 | 115.5608 | 94.2926 | 73.9812 | 60.5332 | 59.4239 | 59.4239 | 59.4239 | 57.1738 | 57.1738 | 57.1738 | 57.1738 | 57.1738
28 | 251.3556 | 248.4146 | 241.7063 | 225.7926 | 220.1354 | 196.4128 | 165.5378 | 137.1307 | 109.9896 | 89.413 | 75.6865 | 64.658 | 63.8218 | 63.8218 | 63.8218 | 63.8218 | 63.8218 | 63.8218 | 63.8218
30 | 275.0855 | 271.4302 | 255.7536 | 255.7536 | 246.0328 | 218.8763 | 184.9775 | 161.7608 | 128.9013 | 106.0702 | 91.3433 | 80.0845 | 68.5115 | 68.2198 | 68.2198 | 68.2198 | 68.2198 | 68.2198 | 68.2198

## Fig4.3.5
Fault Level Variation for Slow Progression |  |  |  | Back To Menu
| 2012 | 2017 | 2022
| 0% | -2.347% | 8.359%
South Scotland | 0% | -3.416% | 0.9023%
| 0% | -1.348% | 7.676%
North Scotland | 0% | -1.775% | 3.538%
| 0% | -6.089% | -8.078%
North East England | 0% | -11.94% | -12.57%
| 0% | -9.934% | -26.07%
Northern England | 0% | -25.15% | -46.89%
| 0% | -1.048% | -23.39%
Wales SW England | 0% | -2.171% | -38.72%
| 0% | 1.507% | 3.067%
London SE England | 0% | 5.123% | 5.357%
| 0% | -2.003% | -14.22%
Midlands | 0% | 47.35% | 43.7%
| 0% | -1.817% | 9.939%

## Fig4.3.6
Fault Level Variation for Gone Green |  |  |  | Back To Menu
| 2012 | 2017 | 2022
| 0% | 6.055% | -64.69%
South Scotland | 0% | 0.5383% | -75.92%
| 0% | 7.107% | -10.45%
North Scotland | 0% | 2.965% | -12.07%
| 0% | -2.322% | -21.67%
North East England | 0% | 17.44% | -6.12%
| 0% | -31.49% | -52.56%
Northern England | 0% | -49.8% | -64.93%
| 0% | 1.294% | -38.73%
Wales SW England | 0% | -2.427% | -50.11%
| 0% | -2.257% | -48.36%
London SE England | 0% | 0.4345% | -59.26%
| 0% | -23.53% | -48.37%
Midlands | 0% | -12.8% | -24.01%
| 0% | 8.301% | -54.55%

## Fig4.3.7
Fault Level Variation for Accelerated Growth |  |  |  | Back To Menu
| 2012 | 2017 | 2022
| 0% | 8.501% | -69.15%
South Scotland | 0% | 0.9936% | -76.78%
| 0% | 8.427% | -43.45%
North Scotland | 0% | 3.728% | -45.08%
| 0% | -0.7326% | -33.97%
North East England | 0% | 17.87% | -45.04%
| 0% | -27.98% | -60.58%
Northern England | 0% | -49.11% | -74.34%
| 0% | -22.73% | -4.105%
Wales SW England | 0% | -30.64% | -23.33%
| 0% | -2.924% | -40.65%
London SE England | 0% | 0.3168% | -55.63%
| 0% | -18.71% | -51.89%
Midlands | 0% | 11.16% | -15.07%
| 0% | 10.15% | -62.82%

## Fig4.3.8
Average Active and Reactive Power Demand |  |  |  | Back To Menu
| Average Min MW | Average Min MVAR | Q/P ratio
2005/06 | 21895 | 7599 | 0.34707
2006/07 | 22186 | 7659 | 0.34522
2007/08 | 21901 | 6657 | 0.30396
2008/09 | 21220 | 6193 | 0.29185
2009/10 | 19732 | 5062 | 0.25654
2010/11 | 19465 | 4885 | 0.25096
2011/12 | 19210 | 3766 | 0.19604

## Fig4.3.9
Q/P Ratio |  | Back To Menu
| 2008 | 2009 | 2010 | 2011
0:00 | 0.312 | 0.266 | 0.264 | 0.212 | 0.212
0:30 | 0.3147 | 0.2739 | 0.2667 | 0.2147 | 0.2147
1:00 | 0.3135 | 0.2765 | 0.2655 | 0.2135 | 0.2135
1:30 | 0.317 | 0.271 | 0.269 | 0.217 | 0.217
2:00 | 0.3147 | 0.2687 | 0.2667 | 0.2147 | 0.2147
2:30 | 0.3089 | 0.2629 | 0.2609 | 0.2089 | 0.2089
3:00 | 0.3009 | 0.2609 | 0.2529 | 0.2009 | 0.2009
3:30 | 0.2957 | 0.2538 | 0.2477 | 0.1957 | 0.1957
4:00 | 0.2894 | 0.2467 | 0.2499 | 0.1894 | 0.1894
4:30 | 0.288 | 0.2467 | 0.24 | 0.188 | 0.188
5:00 | 0.288 | 0.244 | 0.24 | 0.188 | 0.188
5:30 | 0.2928 | 0.2468 | 0.2448 | 0.1928 | 0.1928
6:00 | 0.302 | 0.2499 | 0.254 | 0.202 | 0.202
6:30 | 0.3095 | 0.26 | 0.2571 | 0.2095 | 0.2095
7:00 | 0.3147 | 0.2739 | 0.2667 | 0.2147 | 0.2147
7:30 | 0.316 | 0.2726 | 0.268 | 0.216 | 0.216
8:00 | 0.321 | 0.275 | 0.2791 | 0.221 | 0.221
8:30 | 0.3227 | 0.272 | 0.2791 | 0.2227 | 0.2227
9:00 | 0.3256 | 0.276 | 0.2776 | 0.2256 | 0.2256
9:30 | 0.3268 | 0.2849 | 0.2788 | 0.2268 | 0.2268
10:00 | 0.328 | 0.28 | 0.28 | 0.228 | 0.228
10:30 | 0.3325 | 0.2836 | 0.2845 | 0.2325 | 0.2325
11:00 | 0.3393 | 0.2901 | 0.2913 | 0.2393 | 0.2393
11:30 | 0.3425 | 0.2953 | 0.2945 | 0.2425 | 0.2425
12:00 | 0.3425 | 0.2965 | 0.2907 | 0.2425 | 0.2425
12:30 | 0.3432 | 0.2972 | 0.294 | 0.2432 | 0.2432
13:00 | 0.344 | 0.298 | 0.296 | 0.244 | 0.244
13:30 | 0.3419 | 0.2959 | 0.2914 | 0.2419 | 0.2419
14:00 | 0.3412 | 0.2952 | 0.2932 | 0.2412 | 0.2412
14:30 | 0.34 | 0.294 | 0.292 | 0.24 | 0.24
15:00 | 0.3367 | 0.2907 | 0.2887 | 0.2367 | 0.2367
15:30 | 0.3302 | 0.2842 | 0.2822 | 0.2302 | 0.2302
16:00 | 0.327 | 0.281 | 0.279 | 0.227 | 0.227
16:30 | 0.3257 | 0.2797 | 0.2777 | 0.2257 | 0.2257
17:00 | 0.3231 | 0.2771 | 0.2751 | 0.2231 | 0.2231
17:30 | 0.32 | 0.2771 | 0.272 | 0.22 | 0.22
18:00 | 0.3173 | 0.2752 | 0.2693 | 0.2173 | 0.2173
18:30 | 0.3153 | 0.2739 | 0.2673 | 0.2153 | 0.2153
19:00 | 0.3114 | 0.27 | 0.2634 | 0.2114 | 0.2114
19:30 | 0.3063 | 0.2603 | 0.268 | 0.213 | 0.2063
20:00 | 0.3088 | 0.2628 | 0.2583 | 0.213 | 0.2088
20:30 | 0.3147 | 0.2668 | 0.2667 | 0.2147 | 0.2147
21:00 | 0.3127 | 0.2667 | 0.2647 | 0.2127 | 0.2127
21:30 | 0.314 | 0.268 | 0.266 | 0.214 | 0.214
22:00 | 0.3108 | 0.2713 | 0.2628 | 0.216 | 0.2108
22:30 | 0.3114 | 0.272 | 0.2634 | 0.2195 | 0.2114
23:00 | 0.3166 | 0.2706 | 0.2686 | 0.22 | 0.2166
23:30 | 0.3134 | 0.272 | 0.2654 | 0.2221 | 0.2134