## Interconnector Register
Interconnector Register Report as on 22/05/2020
|  |  | MW Current |  | MW Rate Increase/Decrease |  | MW Total
Company | Station Name | Connection Site | *MW Import | *MW Export | *MW Import | *MW Export | *MW Import | *MW Export | Completion Date | Project Status | Host TO | Plant Type
Aminth Energy Limited | Aminth | Norwich Main Substation | 0.00 | 0.00 | 1,400.00 | 1,400.00 | 1,400.00 | 1400 | 31/10/2028 | Scoping | NGET | Interconnector
Aquind Limited | Aquind Interconnector | Lovedean 400kV Substation | 0.00 | 0.00 | 2,000.00 | 2,000.00 | 2,000.00 | 2000 | 30/11/2022 | Awaiting Consents | NGET | Interconnector
Moyle Interconnector Limited* | Auchencrosh (interconnector CCT) | Auchencrosh 275KV | 80.00 | 450.00 | 0.00 | 0.00 | 80.00 | 450 | 30/11/2020 | Built | SPT | Interconnector
Moyle Interconnector Limited* | Auchencrosh (interconnector CCT) | Auchencrosh 275KV | 80.00 | 450.00 | 170.00 | 0.00 | 250.00 | 450 | 01/12/2020 | Built | SPT | Interconnector
Moyle Interconnector Limited* | Auchencrosh (interconnector CCT) | Auchencrosh 275KV | 250.00 | 450.00 | -90.00 | 0.00 | 160.00 | 450 | 01/11/2021 | Built | SPT | Interconnector
Moyle Interconnector Limited* | Auchencrosh (interconnector CCT) | Auchencrosh 275KV | 160.00 | 450.00 | 340.00 | 0.00 | 500.00 | 450 | 01/04/2022 | Built | SPT | Interconnector
BritNed Development Limited | Britned | Grain 400kV Substation | 1,200.00 | 1,200.00 | 0.00 | 0.00 | 1,200.00 | 1200 |  | Built | NGET | Interconnector
National Grid Interconnector Holdings Ltd | Continental Link | Creyke Beck 400kV Substation | 0.00 | 0.00 | 1,800.00 | 1,800.00 | 1,800.00 | 1800 | 01/09/2027 | Scoping | NGET | Interconnector
Cronos Energy Ltd | Cronos | Kemsley Substation | 0.00 | 0.00 | 1,400.00 | 1,400.00 | 1,400.00 | 1400 | 31/10/2025 | Scoping | NGET | Interconnector
EirGrid Interconnector Limited | East West Interconnector | Deeside 400kV Substation | 505.00 | 500.00 | 0.00 | 0.00 | 505.00 | 500 |  | Built | NGET | Interconnector
ElecLink Ltd | ElecLink | Sellindge 400KV Substation | 0.00 | 0.00 | 1,000.00 | 1,050.00 | 1,000.00 | 1050 | 30/06/2019 | Under Construction/Commissioning | NGET | Interconnector
National Grid Interconnector Holdings Ltd | EuroLink | Leiston 400kV Substation | 0.00 | 0.00 | 1,600.00 | 1,600.00 | 1,600.00 | 1600 | 30/10/2024 | Scoping | NGET | Interconnector
FABLink Ltd | FAB Link Interconnector | Exeter 400KV Substation | 0.00 | 0.00 | 1,400.00 | 1,460.00 | 1,400.00 | 1460 | 01/04/2025 | Awaiting Consents | NGET | Interconnector
Greenlink Interconnector Ltd | Greenlink | Pembroke 400kV Substation | 0.00 | 0.00 | 500.00 | 500.00 | 500.00 | 500 | 31/10/2022 | Scoping | NGET | Interconnector
Gridlink Interconnector Ltd | Gridlink Interconnector | Kingsnorth | 0.00 | 0.00 | 1,500.00 | 1,500.00 | 1,500.00 | 1500 | 18/06/2024 | Scoping | NGET | Interconnector
National Grid International Ltd | IFA Interconnector | Sellindge 400KV Substation | 2,000.00 | 2,000.00 | 0.00 | 0.00 | 2,000.00 | 2000 |  | Built | NGET | Interconnector
National Grid International Ltd | IFA2 Interconnector | Chilling 400KV Substation | 0.00 | 0.00 | 1,100.00 | 1,150.00 | 1,100.00 | 1150 | 31/10/2019 | Under Construction/Commissioning | NGET | Interconnector
Manx Utilities Authority | Isle of Man Interconnector | Bispham 132KV Substation | 74.00 | 74.00 | 0.00 | 0.00 | 74.00 | 74 |  | Built | NGET | Interconnector
Kulizumboo Limited | Kulizumboo Interconnector | Canterbury 400kV GIS Substation | 0.00 | 0.00 | 700.00 | 700.00 | 700.00 | 700 | 31/10/2027 | Scoping | NGET | Interconnector
OPIC Energy Limited | MARES | Bodelwyddan 400kV | 0.00 | 0.00 | 750.00 | 750.00 | 750.00 | 750 | 01/04/2025 | Awaiting Consents | NGET | Interconnector
National Grid Interconnector Holdings Ltd | Nautilus | Leiston 400kV Substation | 0.00 | 0.00 | 1,500.00 | 1,500.00 | 1,500.00 | 1500 | 30/09/2027 | Scoping | NGET | Interconnector
Nemo Link Limited | Nemo Link | Richborough 400KV Substation | 1,020.00 | 1,046.00 | 1,020.00 | 1,046.00 | 1,020.00 | 1046 | 15/11/2018 | Built | NGET | Interconnector
NeuConnect Britain Limited | NeuConnect Interconnector | Grain West 400kV Substation | 0.00 | 0.00 | 1,470.00 | 1,400.00 | 1,470.00 | 1400 | 31/12/2023 | Awaiting Consents | NGET | Interconnector
NorthConnect KS | NorthConnect | Peterhead 400KV | 0.00 | 0.00 | 1,400.00 | 1,400.00 | 1,400.00 | 1400 | 31/10/2024 | Scoping | SHET | Interconnector
National Grid North Sea Link Limited | NS Link | Blyth | 0.00 | 0.00 | 1,400.00 | 1,400.00 | 1,400.00 | 1400 | 30/09/2020 | Under Construction/Commissioning | NGET | Interconnector
National Grid Interconnector Holdings Ltd | Southernlink | Grain 400KV Substation | 0.00 | 0.00 | 1,500.00 | 1,500.00 | 1,500.00 | 1500 | 01/09/2027 |  | NGET | Interconnector
Tarchon Energy Limited | Tarchon | Corringham 400kV Substation | 0.00 | 0.00 | 1,400.00 | 1,400.00 | 1,400.00 | 1400 | 31/10/2026 | Scoping | NGET | Interconnector
Atlantic Superconnection LLP | The Superconnection | Blyth 400kV Substation | 0.00 | 0.00 | 1,000.00 | 1,000.00 | 1,000.00 | 1000 | 01/09/2027 | Scoping | NGET | Interconnector
National Grid Interconnector Holdings Ltd | Viking Link Denmark Interconnector | Bicker Fen 400KV Substation | 0.00 | 0.00 | 1,500.00 | 1,500.00 | 1,500.00 | 1500 | 31/10/2022 | Consents Approved | NGET | Interconnector
*Note: The MW Total MW Import figures represent firm TEC. Moyle holds a total of 500MW TEC which is subject to operational restrictions.
CUSC Definition paragraph 9.4
9.4 EXPORT OF POWER FROM THE INTERCONNECTOR CONNECTION SITE
* MW Import | Subject to the other provisions of the CUSC, the relevant Bilateral Connection Agreement and the Grid Code and any Operating Agreement, The Company shall accept into the National Electricity Transmission System at the Connection Site of an Interconnector power up to the Transmission Entry Capacity and (if any) STTEC and\or LDTEC and\or any Temporary Received TEC less any Temporary Donated TEC for the relevant Period as specified in Appendix C to the relevant Bilateral Connection Agreement except to the extent (if any) that The Company is prevented from doing so by transmission constraints which could not be avoided by the exercise of Good Industry Practice.
CUSC Definition paragraph 9.5
9.5 IMPORT OF POWER TO THE INTERCONNECTOR CONNECTION SITE
* MW Export | Subject to the other provisions of the CUSC, the relevant Bilateral Connection Agreement, the Grid Code and any Operating Agreement, The Company shall transport a supply of power to a Connection Site of an Interconnector through the National Electricity Transmission System up to the amount specified in the Bilateral Connection Agreement except to the extent (if any) that The Company is prevented from doing so by transmission constraints which could not be avoided by the exercise of Good Industry Practice by The Company.