## Embedded Register
Embedded Register Report as on 28/05/2020
Customer Name | Project Name | Connection Site | MW Connected | MW Increase / Decrease | MW Total | MW Effective From | Project Status | Host TO | Plant Type
SP Distribution plc | Abercorn Street Gas | Paisley | 0 | 22.5 | 22.5 | 30/06/2021 | Awaiting Consents | SPT | Gas Reciprocating
Scottish Hydro Electric Power Distribution plc | Abhainn Rath & Allt na Lairige Hydro | Kinlochleven | 4 | 0 | 4 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Acharn Biomass Generating Station | Killin | 5.6 | 0 | 5.6 |  | Built | SHET | Biomass
Achlachan Wind Farm LLP | Achlachan | Mybster 132/33kV substation | 20 | 0 | 20 |  | Built | SHET | Wind Onshore
SP Distribution plc | Adam Wilson and Sons, Troon CHP | Kilmarnock Town | 2.3 | 0 | 2.3 |  | Built | SPT | CHP
Scottish Hydro Electric Power Distribution plc | AECC (Rowett) | Dyce | 4 | 0 | 4 |  | Built | SHET | Biomass
Community Windpower Ltd | Aikengall | Dunbar 132kV | 48 | 0 | 48 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Allt Cheanna Mhuir Hydro Generating Station | Fort William | 1.75 | 0 | 1.75 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Allt Ladaidh Hydro Generating Station | Fort Augustus | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Allt Na Moine Generating Station | Broadford | 0 | 1.99 | 1.99 | 31/10/2024 | Awaiting Consents | SHET | Hydro
SP Distribution plc | Ardoch and Over Enoch Wind Farm | East Kilbride South | 11.5 | 0 | 11.5 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Ardtalnaig Hydro Generating Station | Killin | 1.5 | 0 | 1.5 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Ardverikie and Corrour Estate Hydro | Boat of Garten | 8.6 | 0 | 8.6 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Arkhill Wind Generating Station | Coupar Angus | 6.4 | 0 | 6.4 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Attadale Hydro | Grudie Bridge | 3.5 | 0 | 3.5 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Auchadaduie Wind Farm | Carradale | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore
SP Distribution plc | Auchenskeith Wind Farm | Saltcoats A, B (SPD) | 0 | 0.5 | 0.5 | 30/06/2016 | Consents Approved | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Auchinderran | Keith | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore
SP Distribution plc | Ayrshire College Hydro | Ayr | 0 | 0.1 | 0.1 | 01/09/2019 | Awaiting Consents | SPT | Hydro
Scottish Hydro Electric Power Distribution plc | Badachro Hydro | Grudie Bridge | 1.4 | 0 | 1.4 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Bairds Malt CHP | Inverness | 0 | 1.2 | 1.2 | 31/10/2017 | Under Construction/Commissioning | SHET | CHP
Scottish Hydro Electric Power Distribution plc | Baldovie EfW | Milton of Craigie | 0 | 10 | 10 | 31/05/2020 | Under Construction/Commissioning | SHET | Waste
SP Distribution plc | Bankend Rig Extension Wind Farm | Kilmarnock South | 0 | 6.9 | 6.9 | 30/06/2018 | Scoping | SPT | Wind Onshore
SP Distribution plc | Bankend Rig Wind Farm | Kilmarnock Town | 14.3 | 0 | 14.3 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Barr River Hydro | Fort William | 0 | 1.1 | 1.1 | 31/10/2020 | Scoping | SHET | Hydro
ScottishPower Renewables (UK) Limited | Beinn an Tuirc | Beinn an Tuirc | 30 | 0 | 30 |  | Built | SHET | Wind Onshore
Ben Aketil Wind Energy Ltd | Ben Aketil Wind | Ben Aketil | 28 | 0 | 28 |  | Built | SHET | Wind Onshore
Ben Sca Wind Farm Ltd | Ben Sca | Dunvegan | 0 | 40.8 | 40.8 | 01/05/2026 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Bettyhill Wind Farm | Mybster 1 | 5 | 1 | 6 | 31/10/2020 | Consents Approved | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Binn Wind Generating Station | Abernethy | 0 | 7.05 | 7.05 | 31/08/2019 | Built | SHET | Wind Onshore
E.ON UK plc | Bowbeat | Kaimes | 33 | 0 | 33 |  | Built | SPT | Wind Onshore
Boyndie Wind Energy Ltd | Boyndie Wind | Boyndie | 21 | 0 | 21 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Brackenhills Wind | Macduff | 0 | 2.3 | 2.3 | 31/10/2020 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Brotherton Wind Farm | Fiddes | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore
SP Distribution plc | Broxburn Electrical Energy Storage | Broxburn | 20 | 0 | 20 |  | Built | SPT | Battery Storage
SP Distribution plc | Bruach/Crioch Hydro | Strathaven | 1.5 | 0 | 1.5 |  | Built | SPT | Hydro
Scottish Hydro Electric Power Distribution plc | Bruar Hydro | Tummel Bridge | 2 | 0 | 2 |  | Built | SHET | Hydro
SP Distribution plc | Burnfoot East | Devonside | 0 | 10.8 | 10.8 | 31/10/2019 | Awaiting Consents | SPT | Wind Onshore
SP Distribution plc | Burnhead Wind Farm | Bathgate (SPD) | 29.5 | 0 | 29.5 |  | Built | SPT | Wind Onshore
SP Distribution plc | Byres Brae Battery Storage | Drumcross | 0 | 29.9 | 29.9 | 30/03/2019 | Consents Approved | SPT | Battery Storage
Scottish Hydro Electric Power Distribution plc | Cairnbrogie Wind Farm | Kintore | 0 | 1.5 | 1.5 | 31/10/2019 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Cairnmore PH3 Wind Farm | Tarland | 2.55 | 0 | 2.55 |  | Built | SHET | Wind Onshore
SP Distribution plc | Calachem RDF CHP Plant | Grangemouth T3&T4 | 0 | 28 | 28 | 26/08/2019 | Under Construction/Commissioning | SPT | CHP
Calder Water Community Wind Co Ltd | Calderwater | East Kilbride | 39 | 0 | 39 |  | Built | SPT | Wind Onshore
SP Distribution plc | Caledon Green Gas Generation | Bainsford | 0 | 22.5 | 22.5 | 31/08/2020 | Scoping | SPT | CCGT
SP Distribution plc | Camieston Farm | Galashiels | 0.5 | 0 | 0.5 |  | Built | SPT | CHP
Camilla Battery Storage Ltd | Camilla Farm | Glenniston GSP | 0 | 49.95 | 49.95 | 15/02/2022 | Awaiting Consents | SPT | Battery Storage
SP Distribution plc | Camilty Wind Farm | Drumcross | 0 | 21.6 | 21.6 | 31/10/2021 | Consents Approved | SPT | Wind Onshore
RWE Renewables UK Developments Limited | Camster 2 Wind Farm | Mybster 132/33kV Substation | 0 | 38 | 38 | 31/10/2024 | Awaiting Consents | SHET | Wind Onshore
RWE Renewables UK Developments Limited | Camster Wind Farm | Mybster 132/33kV Substation | 50 | 0 | 50 |  | Built | SHET | Wind Onshore
SP Distribution plc | Carbrain Gas Reserve Power Facility | Cumbernauld | 0 | 19.9 | 19.9 | 28/02/2019 | Consents Approved | SPT | CCGT
Scottish Hydro Electric Power Distribution plc | Carey Farm PV | Abernethy | 0 | 9.9 | 9.9 | 31/03/2021 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Carlincraig Wind | Macduff | 0 | 4.6 | 4.6 | 31/10/2020 | Scoping | SHET | Wind Onshore
SP Distribution plc | Carmuirs | Bonnybridge | 0 | 29.9 | 29.9 | 01/07/2019 | Consents Approved | SPT | Battery Storage
SP Distribution plc | Carnbroe EfW | Coatbridge A, B, C | 0 | 29 | 29 | 31/03/2020 | Awaiting Consents | SPT | Waste
SP Distribution plc | Carscreugh | Glenluce | 15.2 | 0 | 15.2 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Carsebank PV | Lunanhead | 0 | 5 | 5 | 31/10/2019 | Scoping | SHET | PV Array
SP Distribution plc | Carswell Hill Wind Turbine | Crookston A, B | 0.98 | 0 | 0.98 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Castle of Auchry | Strichen | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore
Causeymire Windfarm Ltd | Causeymire | Mybster 132/33kV Substation | 48.3 | 0 | 48.3 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Ceannacroc Hydro Generating Station | Ceannacroc | 1.75 | 0 | 1.75 |  | Built | SHET | Hydro
RWE Renewables UK Developments Limited | Clachaig Glen Wind Farm | Carradale 132/33kV GSP | 0 | 47.6 | 47.6 | 01/04/2024 | Awaiting Consents | SHET | Wind Onshore
SSE Generation Ltd | Clachan | Clachan | 40 | 0 | 40 |  | Built | SHET | Hydro
Claverhouse Generation Limited | Claverhouse Gas Generation | Milton of Craigie 132/33kV GSP Substation | 0 | 22.5 | 22.5 | 01/04/2022 | Scoping | SHET | CCGT
Scottish Hydro Electric Power Distribution plc | Cordon Farm PV | Abernethy | 0 | 9.9 | 9.9 | 31/03/2021 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Cornabo Wind | Kintore | 0 | 2.4 | 2.4 | 31/10/2018 | Scoping | SHET | Wind Onshore
Corrimony Energy Limited | Corrimony | Fasnakyle | 11.5 | 0 | 11.5 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Corrour Hydro Generating Station | Rannoch | 5.5 | 0 | 5.5 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Coulags Hydro | Grudie Bridge | 1.5 | 0 | 1.5 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Coulin Hydro | Grudie Bridge | 1.2 | 0 | 1.2 |  | Built | SHET | Hydro
SP Distribution plc | Craigannet Wind Turbine | Bonnybridge | 1.5 | 0 | 1.5 |  | Built | SPT | Wind Onshore
SP Distribution plc | Craigton and Spitalhill Wind Farm | Strathleven (SPD) | 0 | 21 | 21 | 30/09/2023 | Awaiting Consents | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Cruach Mhor Farm | Cruach Mhor Farm | 29 | 0 | 29 |  | Built | SPT | Wind Onshore
Crystal Rig Windfarm Limited | Crystal Rig Wind Farm | Dunbar | 62.5 | 0 | 62.5 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Cullerlie Estate PV | Kintore | 0 | 8.75 | 8.75 | 31/03/2021 | Scoping | SHET | PV Array
RWE Renewables UK Developments Limited | Deucheran Hill | Deucheran Hill | 15 | 0 | 15 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Deuchries Extension | Keith | 0 | 4.7 | 4.7 | 01/10/2021 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Deuchries Wind | Keith | 6 | 0 | 6 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Deuchries Wind | Keith | 6 | 1.05 | 7.05 | 01/08/2020 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Dornich Hydro Generating Station | Clachan | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Dounreay Tri Wind Farm | Dounreay 132/33kV GSP | 0 | 9.9 | 9.9 | 31/10/2020 | Scoping | SHET | Wind Offshore
SP Distribution plc | Doveryard Energy Centre | Kilmarnock South | 0 | 15 | 15 | 31/10/2023 | Consents Approved | SPT | Waste
SP Distribution plc | Drumcross ESS | Drumcross | 0 | 29.9 | 29.9 | 31/10/2021 | Awaiting Consents | SPT | Battery Storage
SSE Generation Ltd | Drumderg Wind Farm | Coupar Angus | 32 | 0 | 32 |  | Built | SHET | Wind Onshore
SP Distribution plc | Drumduff Wind Farm | Bathgate (SPD) | 6 | 0 | 6 |  | Built | SPT | Wind Onshore
Dummuies Windfarm Huntly Ltd | Dummuies Wind Farm | Keith | 12.25 | 0 | 12.25 |  | Built | SHET | Wind Onshore
Viridor Enviroscot Limited | Dunbar ERF | Dunbar | 36 | 0 | 36 |  | Built | SPT | Waste
SP Distribution plc | Duniface Farm (Leven Gas) | Leven | 0 | 19.9 | 19.9 | 30/04/2021 | Awaiting Consents | SPT | CCGT
Scottish Hydro Electric Power Distribution plc | Durran Mains Wind | Thurso South | 0 | 9.2 | 9.2 | 31/10/2024 | Scoping | SHET | Wind Onshore
Earlsburn Wind Energy Ltd | Earlsburn | Bonnybridge | 35 | 0 | 35 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | East Kinmonth PV | Fiddes | 0 | 8 | 8 | 31/10/2024 | Scoping | SHET | PV Array
SP Distribution plc | East Mains Generating Plant | Broxburn | 0 | 10 | 10 | 31/07/2020 | Consents Approved | SPT | CCGT
Scottish Hydro Electric Power Distribution plc | Easter Melrose Wind Generating Station | Macduff | 2.7 | 0 | 2.7 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Easter Tolmauds | Kintore | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore
Edintore Wind Farm Ltd | Edintore Wind Farm | Keith 132/33kV Substation | 20.4 | 0 | 20.4 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Edradynate Hydro Generating Station | Tummel Bridge | 0 | 1.3 | 1.3 | 31/10/2017 | Built | SHET | Hydro
SP Distribution plc | Energy Park Fife Wind Farm | Leven | 0 | 14 | 14 | 01/06/2018 | Scoping | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Errol PV Generating Station | Abernethy | 9.9 | 0 | 9.9 |  | Built | SHET | PV Array
SP Distribution plc | Erskine Gas Generation | Erskine | 0 | 19.9 | 19.9 | 30/09/2019 | Consents Approved | SPT | CCGT
Scottish Hydro Electric Power Distribution plc | Eskart Hydro | Fort Augustus | 1.99 | 0 | 1.99 |  | Built | SHET | Hydro
SP Distribution plc | Ewe Hill | Chapelcross | 12 | 0 | 12 |  | Built | SPT | Wind Onshore
SSE Generation Ltd | Fairburn Wind Farm | Orrin (Fairburn) | 40 | 0 | 40 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Fassfern Hydro Generating Station | Fort William | 2.5 | 0 | 2.5 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Feddal Estate | Braco West | 0 | 9.99 | 9.99 | 30/09/2019 | Scoping | SHET | Battery Storage
SP Distribution plc | Ferneylea Wind Farm | Dunbar | 1.6 | 0 | 1.6 |  | Built | SPT | Wind Onshore
Fetteresso Wind Limited | Fetteresso Wind Farm | Mid Hill 132/33kV | 0 | 37 | 37 | 30/04/2022 | Awaiting Consents | SHET | Wind Onshore
SP Distribution plc | Forrestfield Wind Farm | Bathgate (SPD) | 0 | 9 | 9 | 01/10/2023 | Awaiting Consents | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Forss BP Wind Turbine | Dounreay 132/33kV GSP | 0 | 9.8 | 9.8 | 31/08/2025 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Garbhaig Hydro Generating Station | Grudie Bridge | 2 | 0 | 2 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Gawnsmoss Wind Generating Station | Macduff | 0 | 2.4 | 2.4 | 31/10/2020 | Awaiting Consents | SHET | Wind Onshore
SP Distribution plc | Gevens Wind Farm | Glenniston | 6.9 | 0 | 6.9 |  | Built | SPT | Wind Onshore
SP Distribution plc | Girvan Mains AD Plant | Maybole | 0.25 | 0 | 0.25 |  | Built | SPT | Biomass
Scottish Hydro Electric Power Distribution plc | Glasa Hydro | Alness | 0 | 4.1 | 4.1 | 01/09/2020 | Awaiting Consents | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Glen Affric Generation Station | Fasnakyle | 4.28 | 0 | 4.28 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Glen Buck Hydro | Fort Augustus | 2.05 | 0 | 2.05 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Glen Etive Hydro | Kinlochleven | 0 | 1.05 | 1.05 | 31/05/2020 | Consents Approved | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Glen Etive Hydro | Kinlochleven | 0 | 1.36 | 2.41 | 31/07/2020 | Consents Approved | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Glen Etive Hydro | Kinlochleven | 0 | 1.05 | 3.46 | 31/10/2020 | Consents Approved | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Glen Etive Hydro | Kinlochleven | 0 | 1.36 | 4.82 | 31/12/2020 | Consents Approved | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Glen Noe Hydro Generating Station | Taynuilt | 0 | 2 | 2 | 31/10/2020 | Awaiting Consents | SHET | Hydro
RWE Renewables UK Developments Limited | Golticlay Wind Farm | Mybster 132/33kV GSP | 0 | 50.07 | 50.07 | 31/10/2022 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Gowanfold Wind Generating Station | Fraserburgh | 1.6 | 0 | 1.6 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Greenscares Wind | Braco West | 0 | 8 | 8 | 31/08/2020 | Under Construction/Commissioning | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Greenside | St Fergus Gas | 9.2 | 0 | 9.2 |  | Built | SHET | Wind Onshore
SP Distribution plc | Growforth Power Plant (Gas) | Inverkeithing | 0 | 20 | 20 | 20/09/2020 | Awaiting Consents | SPT | CHP
SSE Generation Ltd | Grudie Bridge | Grudie Bridge | 18.7 | 0 | 18.7 |  | Built | SHET | Hydro
SP Distribution plc | Halkshill Hydro | Saltcoats A, B (SPD) | 1.34 | 0 | 1.34 |  | Built | SPT | Hydro
SP Distribution plc | Harelaw Gas Generation | Devol Moor (SPD) | 0 | 20.94 | 20.94 | 30/09/2020 | Consents Approved | SPT | CCGT
SP Distribution plc | Hartwood Wind Farm | Newarthill | 0 | 18.7 | 18.7 | 31/05/2020 | Awaiting Consents | SPT | Wind Onshore
SP Distribution plc | Hazelside Wind farm | Linnmill | 1.5 | 0 | 1.5 |  | Built | SPT | Wind Onshore
SP Distribution plc | Highland Meats CHP | Saltcoats A, B (SPD) | 0 | 0.13 | 0.13 | 20/02/2020 | Under Construction/Commissioning | SPT | CHP
Scottish Hydro Electric Power Distribution plc | Hill of Easterton | Kintore | 2.3 | 0 | 2.3 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Hill of Lybster Wind Generating Station | Dounreay 132/33kV GSP | 0 | 1.5 | 1.5 | 30/09/2021 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Hillhead Of Auquhirrie Wind Generating station | Fiddes | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore
SP Distribution plc | Hoprigshiels | Dunbar | 7.5 | 0 | 7.5 |  | Built | SPT | Wind Onshore
Boulfruich Wind Farm Ltd | Houstry (Boulfruich) Wind Farm | Dunbeath | 14 | 0 | 14 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Howmuir PV | Lunanhead | 0 | 5 | 5 | 31/10/2019 | Scoping | SHET | PV Array
SP Distribution plc | Hunterston Offshore Wind Turbine Testing Facility | Hunterston Farm | 25 | 0 | 25 |  | Built | SPT | Wind Onshore
SSE Generation Ltd | Inverawe | Inverawe | 25 | 0 | 25 |  | Built | SHET | Hydro
SP Distribution plc | Inverclyde | Devol Moor (SPD) | 0 | 24 | 24 | 12/04/2018 | Scoping | SPT | Wind Onshore
SP Distribution plc | Inverkeithing Gas Generation | Inverkeithing | 0 | 20 | 20 | 01/01/2024 | Scoping | SPT | Gas Reciprocating
International Paper (UK) Ltd | Inverurie Paper Mills | Inverurie | 7.5 | 0 | 7.5 |  | Built | SHET | Thermal
Scottish Hydro Electric Power Distribution plc | Keith Energy Management | Keith | 0 | 9.9 | 9.9 | 31/10/2019 | Scoping | SHET | Battery Storage
Scottish Hydro Electric Power Distribution plc | Keltie Hydro | Braco West | 1 | 0 | 1 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Kempstone Hill Wind Generating Station | Keith | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Kiachnish Hydro | Fort William | 2 | 0 | 2 |  | Built | SHET | Hydro
South Kilbraur Wind Farm Limited | Kilbraur South Wind Farm | Brora | 0 | 27.2 | 27.2 | 15/04/2022 | Scoping | SHET | Wind Onshore
Kildrummy Wind Farm Limited | Kildrummy Wind Farm | Tarland 132/33kV Substation | 18.4 | 0 | 18.4 |  | Built | SHET | Wind Onshore
SP Distribution plc | Kinegar WF | Dunbar | 5 | 0 | 5 |  | Built | SPT | Wind Onshore
SIMEC Kinlochleven Power Ltd | Kinlochleven | Kinlochleven | 28.5 | -2.5 | 26 | 31/12/2020 | Built | SHET | Hydro
EEB19 Limited | Kirkton Solar PV | Peterhead Grange | 0 | 35 | 35 | 01/10/2023 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Kirkton Wind Farm | Kintore | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore
SSE Generation Ltd | Lairg - Achany Wind Farm | Lairg | 38 | 0 | 38 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Lairg Phase 2 | Lairg | 2.5 | 0 | 2.5 |  | Built | SHET | Wind Onshore
SSE Generation Ltd | Lerwick A | Lerwick A | 28 | 0 | 28 |  | Built | SHET | Thermal
SSE Generation Ltd | Lerwick B | Lerwick B | 37 | 0 | 37 |  | Built | SHET | Thermal
SP Distribution plc | Lesmahagow Wind Farm | Linnmill | 2.25 | 0 | 2.25 |  | Built | SPT | Wind Onshore
SP Distribution plc | Levenseat EfW | Drumcross | 0 | 20.7 | 20.7 | 01/06/2021 | Consents Approved | SPT | Waste
SP Distribution plc | Levenseat Quarry | Newarthill | 11 | 0 | 11 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Little Hilton | Keith | 2.3 | 0 | 2.3 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Loch A Bhraoin | Grudie Bridge | 0 | 2 | 2 | 01/07/2020 | Scoping | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Loch Eilde Mor | Kinlochleven | 5 | 0 | 5 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Loch Etive Hydro | Taynuilt | 0 | 6.8 | 6.8 | 30/11/2020 | Scoping | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Loch Leacann | Port Ann | 1.1 | 0 | 1.1 |  | Built | SHET | Hydro
Simec Lochaber Hydropower 2 Limited | Lochaber Smelter | Fort William 33kV substation | 28.1 | 0 | 28.1 |  | Built | SHET | Hydro
Simec Lochaber Hydropower 2 Limited | Lochaber Smelter | Fort William 33kV substation | 0 | 51.9 | 80 | 31/10/2019 | Under Construction/Commissioning | SHET | Hydro
SP Distribution plc | Lochcraigs Farm PV Farm | Saltcoats A, B (SPD) | 4.75 | 0 | 4.75 |  | Built | SPT | PV Array
Scottish Hydro Electric Power Distribution plc | Lochend Wind Farm | Thurso South | 0 | 9.2 | 9.2 | 31/10/2020 | Scoping | SHET | Wind Onshore
EnergieKontor UK Ltd | Longhill Burn Wind Farm | Drumcross | 0 | 36 | 36 | 01/12/2024 | Scoping | SPT | Wind Onshore
Longpark Windfarm Ltd | Longpark | Longpark | 38 | 0 | 38 |  | Built | SPT | Wind Onshore
Vento Ludens Limited | Lurg Hill | Keith GSP | 0 | 15 | 15 | 01/08/2023 | Consents Approved | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Lurghill Wind Generating Station | Keith | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore
Gigabox Developments Limited | Lyndhurst | Lyndhurst | 0 | 49.9 | 49.9 | 01/12/2021 | Awaiting Consents | SHET | CCGT
The European Marine Energy Centre Limited | Marine Energy Test Centre | Marine Energy Test Centre | 7 | 0 | 7 |  | Built | SHET | Wave
Scottish Hydro Electric Power Distribution plc | Meadaple Wind Farm | Rothienorman | 0 | 4.3 | 4.3 | 30/04/2021 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Meikleton of Ardonald Generating Station | Keith | 0 | 4.3 | 4.3 | 31/10/2022 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Mid Backhill Wind Farm | Strichen | 0 | 2.3 | 2.3 | 01/08/2020 | Under Construction/Commissioning | SHET | Wind Onshore
Mid Hill Wind Ltd | Mid Hill Wind | Mid Hill | 75 | 0 | 75 |  | Built | SHET | Wind Onshore
SP Distribution plc | Middle Balbeggie 2 | Redhouse | 3.75 | 0 | 3.75 |  | Built | SPT | PV Array
SP Distribution plc | Middle Balbegie Wind Farm | Redhouse | 6.4 | 0 | 6.4 |  | Built | SPT | Wind Onshore
Banks Renewables (Mill Rig Wind Farm) Limited | Mill Rig Wind Farm | Kilmarnock South | 0 | 36 | 36 | 31/07/2024 | Scoping | SPT | Wind Onshore
SP Distribution plc | Millerhill Energy from Waste Plant | Portobello (SPD) | 15 | 0 | 15 |  | Built | SPT | Waste
SP Distribution plc | Millour Hill Wind Farm | Saltcoats A, B (SPD) | 24 | 0 | 24 |  | Built | SPT | Wind Onshore
Milltown Airfield Solar PV Limited | Milltown Airfield Solar Farm | Elgin | 0 | 49.9 | 49.9 | 01/10/2022 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Milton of Fisherie Wind Generating Station | Macduff | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Monan Wind Generating Station | Harris | 1.5 | 0 | 1.5 |  | Built | SHET | Wind Onshore
SP Distribution plc | Moor House Wind Farm | Berwick | 0.5 | 0 | 0.5 |  | Built | SPT | Wind Onshore
SP Distribution plc | Mount Farm | Coylton | 0 | 2 | 2 | 30/09/2020 | Awaiting Consents | SPT | Wind Onshore
SP Distribution plc | Muirhall Extension II Wind Farm | Livingston East | 9.6 | 0 | 9.6 |  | Built | SPT | Wind Onshore
SP Distribution plc | Muirhall Wind Farm Extension | Livingston East | 7 | 0 | 7 |  | Built | SPT | Wind Onshore
SP Distribution plc | Nairn Road Alpha | Drumcross | 0 | 4 | 4 | 31/10/2021 | Consents Approved | SPT | CCGT
SP Distribution plc | Nairn Road Bravo | Drumcross | 0 | 4 | 4 | 31/10/2021 | Consents Approved | SPT | CCGT
SP Distribution plc | Nairn Road Generation | Drumcross | 0 | 20 | 20 | 31/01/2024 | Awaiting Consents | SPT | CCGT
Scottish Hydro Electric Power Distribution plc | Nathrach Hydro | Kinlochleven | 0 | 2 | 2 | 30/11/2018 | Built | SHET | Hydro
SP Distribution plc | Neilston Community Wind Farm | Crookston A, B | 10 | 0 | 10 |  | Built | SPT | Wind Onshore
Aberdeen City Council | NESS Energy Project | Redmoss | 0 | 16 | 16 | 01/04/2021 | Consents Approved | SHET | Waste
MeyGen Ltd | Ness of Quoys | Ness of Quoys 33kV Substation | 14.9 | 0 | 14.9 |  | Built | SHET | Tidal
SP Distribution plc | Netherton Gas Reserve Power Facility | Wishaw (SPD) | 0 | 19.9 | 19.9 | 31/01/2019 | Consents Approved | SPT | CCGT
Scottish Hydro Electric Power Distribution plc | Nevis Range Hydro | Fort William | 1.1 | 0 | 1.1 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | New Mains of Guynd PV | Arbroath | 9.5 | 0 | 9.5 |  | Built | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | New Mains of Kinblethmont PV | Arbroath | 5 | 0 | 5 |  | Built | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Newton of Fortrie Wind Generating Station | Keith | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore
Beaufort Wind Limited | Novar | Alness 132/33kV substation | 18.5 | 0 | 18.5 |  | Built | SHET | Wind Onshore
Innogy Renewables UK Ltd | Novar 2 Wind Farm | Alness GSP | 36.8 | 0 | 36.8 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Orchardbank Battery Storage | Lunanhead | 0 | 9.99 | 9.99 | 30/09/2019 | Scoping | SHET | Battery Storage
Scottish Hydro Electric Power Distribution plc | Orkney Finstown Embedded Generation | Finstown (Orkney) | 0 | 50 | 50 | 30/04/2023 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Orkney Finstown Embedded Generation | Finstown (Orkney) | 0 | 60 | 110 | 31/10/2024 | Scoping | SHET | Wind Onshore
SP Distribution plc | Overton Farm | Devonside | 0 | 1.5 | 1.5 | 31/03/2020 | Scoping | SPT | Wind Onshore
SP Distribution plc | Paisley Gas Generation Plant | Elderslie | 0 | 8 | 8 | 31/05/2020 | Consents Approved | SPT | CCGT
Scottish Hydro Electric Power Distribution plc | Parkhill Farm PV | Arbroath | 4.99 | 0 | 4.99 |  | Built | SHET | PV Array
Paul's Hill II Limited | Paul's Hill II Wind Farm | Glenfarclas 132/33kV Substation | 0 | 15.5 | 15.5 | 31/10/2021 | Scoping | SHET | Wind Onshore
Pauls Hill Wind Ltd | Paul's Hill Wind Farm | Glenfarclas | 70 | 0 | 70 |  | Built | SHET | Wind Onshore
SP Distribution plc | Pearie Law Wind Farm | Livingston East | 19.2 | 0 | 19.2 |  | Built | SPT | Wind Onshore
SP Distribution plc | Penmanshiel Wind Farm | Berwick | 28.7 | 0 | 28.7 |  | Built | SPT | Wind Onshore
Pentland Road Windfarm Ltd | Pentland Road | Stornoway | 13.8 | 0 | 13.8 |  | Built | SHET | Wind Onshore
Pentland Road Windfarm Ltd | Pentland Road | Stornoway | 0 | 4.2 | 18 | 31/10/2023 | Under Construction/Commissioning | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Pitscandly Farm PV | Lunanhead | 4.13 | 0 | 4.13 |  | Built | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Pressock Farm PV | Lunanhead | 5 | 0 | 5 |  | Built | SHET | PV Array
SP Distribution plc | Pundeavon Farm | Saltcoats A, B (SPD) | 0.9 | 0 | 0.9 |  | Built | SPT | Wind Onshore
SP Distribution plc | Quixwood Wind Farm | Berwick | 24 | 0 | 24 |  | Built | SPT | Wind Onshore
SSE Generation Ltd | Rannoch | Rannoch | 44 | 0 | 44 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Redbog | Strichen | 1.6 | 0 | 1.6 |  | Built | SHET | Wind Onshore
SP Distribution plc | Redhouse Electrical Energy Storage | Redhouse | 0 | 16 | 16 | 01/04/2019 | Scoping | SPT | Battery Storage
SP Distribution plc | Rhodders Wind Farm | Devonside | 12.3 | 0 | 12.3 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | River Muick Hydro | Tarland | 0 | 2 | 2 | 31/08/2019 | Scoping | SHET | Hydro
RWE Renewables UK Developments Limited | Rosehall | Shin | 24.7 | 0 | 24.7 |  | Built | SHET | Wind Onshore
Rothes Wind Ltd | Rothes (Cairn Uish) Wind Farm | Dallas | 50.6 | 0 | 50.6 |  | Built | SHET | Wind Onshore
Rothes II Ltd | Rothes II (Cairn Uish II) Wind Farm | Dallas | 41.4 | 0 | 41.4 |  | Built | SHET | Wind Onshore
Rothes III Limited | Rothes III Wind Farm | Dallas 275/33kV Substation | 0 | 23 | 23 | 30/06/2023 | Scoping | SHET | Wind Onshore
SP Distribution plc | Shaws Farm | Wishaw (SPD) | 0 | 5 | 5 | 01/10/2018 | Awaiting Consents | SPT | Battery Storage
SSE Generation Ltd | Shin | Shin 33kv | 18.6 | 0 | 18.6 |  | Built | SHET | Hydro
SP Distribution plc | Sorbie Windfarm | Saltcoats A, B (SPD) | 0 | 7.5 | 7.5 | 15/03/2017 | Scoping | SPT | Wind Onshore
Fortum Glasgow Limited | South Clyde | Braehead Park 132/33kV Substation | 0 | 35 | 35 | 01/04/2022 | Consents Approved | SPT | Waste
Scottish Hydro Electric Power Distribution plc | South Esk Solar Farm | Bridge of Dun | 0 | 9.9 | 9.9 | 31/10/2024 | Scoping | SHET | PV Array
Speyside Renewable Energy Partnership Ltd | Speyside CHP | Keith 132/33kV | 9.9 | 0 | 9.9 |  | Built | SHET | CHP
Speyside Renewable Energy Partnership Ltd | Speyside CHP | Keith 132/33kV | 0 | 5.1 | 15 | 31/10/2020 | Scoping | SHET | CHP
EEB11 Limited | Speyslaw Solar | Elgin | 0 | 20 | 20 | 01/10/2022 | Consents Approved | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Srondoire | Port Ann | 5.9 | 0 | 5.9 |  | Built | SHET | Wind Onshore
SSE Generation Ltd | St Fillans | St Fillans | 16.8 | 0 | 16.8 |  | Built | SHET | Hydro
E.ON UK Steven's Croft Ltd | Steven's Croft | Chapelcross | 45 | 0 | 45 |  | Built | SPT | Biomass
Arjo Wiggins Fine Paper Limited | Stoneywood Mills (Wiggins Teape Stoneywood) | Stoneywood Mills | 12 | 0 | 12 |  | Built | SHET | CHP
Scottish Hydro Electric Power Distribution plc | Stornoway (Battery Point) | Stornoway | 22.3 | 0 | 22.3 |  | Built | SHET | Thermal
SP Distribution plc | Strathaven South (PP) | Linnmill | 1.8 | 0 | 1.8 |  | Built | SPT | Wind Onshore
SP Distribution plc | Strathaven South (PP) | Linnmill | 0 | 3 | 4.8 | 30/10/2020 | Scoping | SPT | Wind Onshore
Stroupster Caithness Wind Farm Limited | Stroupster Wind Farm | Thurso | 30 | 0 | 30 |  | Built | SHET | Wind Onshore
SP Distribution plc | Swinabbey Fields | Bathgate (SPD) | 0 | 0.25 | 0.25 | 01/07/2016 | Scoping | SPT | Wind Onshore
SSE Generation Ltd | Tangy Wind Argyll | Tangy (1) Wind Argyll | 19 | 0 | 19 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Taodail Hydro | Grudie Bridge | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Three Lochs Hydro | Grudie Bridge | 0 | 2 | 2 | 30/11/2016 | Scoping | SHET | Hydro
SP Distribution plc | Tod Hill | Bonnybridge | 12 | 0 | 12 |  | Built | SPT | Wind Onshore
Nanclach Limited | Tom Nan Clach | Boat of Garton | 39.1 | 0 | 39.1 |  | Built | SHET | Wind Onshore
Drax Generation Enterprise Limited | Tongland | Tongland | 33 | 0 | 33 |  | Built | SPT | Hydro
Tormywheel Wind Farm Ltd | Tormywheel | Bathgate | 37.45 | 0 | 37.45 |  | Built | SPT | Wind Onshore
SP Distribution plc | Torrance Warm Wind Farm | Bathgate (SPD) | 9 | 0 | 9 |  | Built | SPT | Wind Onshore
SP Distribution plc | Torrance Wind Farm Extension | Bathgate (SPD) | 6 | 0 | 6 |  | Built | SPT | Wind Onshore
SSE Generation Ltd | Tummel Bridge | Tummel | 34 | 0 | 34 |  | Built | SHET | Hydro
SP Distribution plc | Wardpark Alpha Generating Station | Cumbernauld | 4 | 0 | 4 |  | Built | SPT | CCGT
SP Distribution plc | Wardpark Bravo Generating Station | Cumbernauld | 4 | 0 | 4 |  | Built | SPT | CCGT
Wathegar 2 Limited | Wathegar 2 Windfarm | Mybster 1 | 22.5 | 0 | 22.5 |  | Built | SHET | Wind Onshore
SP Distribution plc | Watson Autos Wind Turbine | Saltcoats A, B (SPD) | 0.5 | 0 | 0.5 |  | Built | SPT | Wind Onshore
SP Distribution plc | Watson Head Wind Farm | Wishaw (SPD) | 0 | 8.4 | 8.4 | 30/06/2020 | Awaiting Consents | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Welton of Creuchies Wind Generating Station | Coupar Angus | 9.2 | 0 | 9.2 |  | Built | SHET | Wind Onshore
EEB15 Limited | Wemyss PV Farm | Redhouse | 0 | 49.9 | 49.9 | 01/10/2023 | Scoping | SPT | PV Array
SP Distribution plc | West Benhar Wind Farm | Drumcross | 0 | 28.8 | 28.8 | 31/10/2021 | Consents Approved | SPT | Wind Onshore
SP Distribution plc | Westfield Wind Farm | Westfield | 12.5 | 0 | 12.5 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Wheedlemont | Keith | 1.7 | 0 | 1.7 |  | Built | SHET | Wind Onshore
SP Distribution plc | Woodbank Wind Farm | Leven | 1.5 | 0 | 1.5 |  | Built | SPT | Wind Onshore
SP Distribution plc | Wormit PV Park | Cupar | 4 | 0 | 4 |  | Built | SPT | PV Array
Scottish Hydro Electric Power Distribution plc | Wyvis Hydro Generating Station | Grudie Bridge | 3.9 | 0 | 3.9 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Yonderton Wind Generating Station | Keith | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore
SP Distribution plc | Zebec Biogas | Saltcoats A, B (SPD) | 2.5 | 0 | 2.5 |  | Built | SPT | Biomass