## TEC Register
TEC Register Report as on 28/05/2020
Connection Generation Type | Customer Name | Project Name | Connection Site | MW Connected | MW Increase / Decrease | MW Total | MW Effective Date | Project Status | HOST TO | Plant Type
Embedded | District Energy Ltd. | Abedare | Upperboat 132 kV | 10 | 0 | 10 |  | Built | NGET | CCGT
Directly Connected | Aberarder Wind Farm LLP | Aberarder Wind Farm | Aberarder Wind Farm 132/33kV Substation | 0 | 49.99 | 49.99 | 29/07/2021 | Consents Approved | SHET | Wind Onshore
Directly Connected | Aberdeen Offshore Wind Farm Limited | Aberdeen Offshore Wind Farm | Blackdog 132kV Substation | 95.5 | 0 | 95.5 |  | Built | SHET | Wind Offshore
Directly Connected | Abergelli Power Limited | Abergelli Power Limited | Swansea North 400kV | 0 | 299 | 299 | 30/09/2022 | Scoping | NGET | OCGT
Directly Connected | RWE Generation UK Plc | Aberthaw | Aberthaw 275kV | 1610 | 0 | 1610 |  | Built | NGET | Coal
Directly Connected | Enso Green Holdings Limited | Aberthaw (Tertiary) | Aberthaw 275/33kV Substation | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Directly Connected | A'Chruach Wind Farm Limited | A'Chruach Wind Farm | A'Chruach Wind Farm | 43 | 0 | 43 |  | Built | SHET | Wind Onshore
Directly Connected | Afton Wind Farm Limited | Afton Wind Farm | Afton | 50 | 0 | 50 |  | Built | SPT | Wind Onshore
Directly Connected | SSE Generation Ltd | Aigas (part of the Beauly Cascade) | Aigas | 20 | 0 | 20 |  | Built | SHET | Hydro
Directly Connected | Aikengall II Community Wind Company Limited | Aikengall II Windfarm | Westerdod 132kV | 63.8 | 0 | 63.8 |  | Built | SPT | Wind Onshore
Directly Connected | Aikengall IIa Community Wind Company Limited | Aikengall IIa Wind Farm | Westerdod 132kV | 76.2 | 0 | 76.2 |  | Built | SPT | Wind Onshore
Directly Connected | Aikengall IIa Community Wind Company Limited | Aikengall IIa Wind Farm | Westerdod 132kV | 0 | 5 | 81.2 | 30/10/2020 | Under Construction/Commissioning | SPT | Wind Onshore
Embedded | Airies WindFarm Limited | Airies Wind Farm | Newton Stewart 132/33kV | 35 | 0 | 35 |  | Built | SPT | Wind Onshore
Directly Connected | Pivoted Power LLP | Alverdiscott | Alverdiscott | 0 | 49.9 | 49.9 | 31/10/2023 | Scoping | NGET | Battery Storage
Directly Connected | An Suidhe Wind Farm Ltd | An Suidhe Wind Farm, Argyll (SRO) | Eredine Forest | 19.3 | 0 | 19.3 |  | Built | SHET | Wind Onshore
Embedded | Andershaw Wind Power Limited | Andershaw Wind Farm | Linnmill 132/33kV | 35 | 0 | 35 |  | Built | SPT | Wind Onshore
Embedded | ScottishPower Renewables (UK) Limited | Ardkinglas | Ardkinglas | 19.25 | 0 | 19.25 |  | Built | SHET | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Arecleoch | Arecleoch 132kV | 114 | 0 | 114 |  | Built | SPT | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Arecleoch Windfarm Extension | Arecleoch 132kV | 0 | 72.8 | 72.8 | 31/10/2025 | Scoping | SPT | Wind Onshore
Embedded | Artfield Forest Wind Farm Ltd | Artfield Forest Windfarm | Newton Stewart | 0 | 67.2 | 67.2 | 01/05/2025 | Scoping | SPT | Wind Onshore
Embedded | Falck Renewables Wind Ltd | Assel Valley Wind Farm | Maybole 132/33KV | 29.95 | 0 | 29.95 |  | Built | SPT | Wind Onshore
Embedded | Auchrobert Wind Energy Limited | Auchrobert Wind Farm | Linmill 132/33kV | 36 | 0 | 36 |  | Built | SPT | Wind Onshore
Directly Connected | Awel Y Mor Offshore Wind Farm Ltd | Awel Y Mor Extension | Gwynt y Mor 132/33kV Offshore Substation | 0 | 580 | 580 | 01/04/2027 | Scoping | OFFSHORE | Wind Offshore
Directly Connected | Pivoted Power LLP | Axminster | Axminster 400kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Battery Storage
Directly Connected | HB825AXM Ltd | Axminster Tertiary | Axminster Power Station | 0 | 49.9 | 49.9 | 01/10/2022 | Scoping | NGET | Battery Storage
Directly Connected | Innogy Renewables UK Ltd | Bad a Cheo Wind Farm | Mybster 3 33kV Substation | 26.65 | 0 | 26.65 |  | Built | SHET | Wind Onshore
Directly Connected | Baglan Generating Ltd & Baglan Operations Ltd | Baglan Bay | Baglan Bay | 552 | 0 | 552 |  | Built | NGET | CCGT
Directly Connected | Baglan Generating Ltd & Baglan Operations Ltd | Baglan Bay | Baglan Bay | 0 | 41 | 593 | 31/10/2022 | Under Construction/Commissioning | NGET | CCGT
Embedded | Baillie Wind Farm Ltd | Baillie Wind Farm | Dounreay | 52.5 | 0 | 52.5 |  | Built | SHET | Wind Onshore
Directly Connected | Barrow Offshore Wind Ltd | Barrow Offshore Wind Farm | Barrow 132/33kV Offshore Substation | 90 | 0 | 90 |  | Built | OFFSHORE | Wind Offshore
Embedded | Viridis 178 Ltd | Barton Hill | Abham GSP | 20.88 | 0 | 20.88 |  | Built | NGET | CHP
Directly Connected | Beatrice Offshore Windfarm Ltd | Beatrice Wind Farm | Beatrice 33/132kV Offshore Substations | 588 | 0 | 588 |  | Built | SHET | Wind Offshore
Directly Connected | Peel L&P Wind Farms (Yell) Limited | Beaw Field Wind Farm | Yell | 0 | 72 | 72 | 01/04/2024 | Consents Approved | SHET | Wind Onshore
Embedded | Citigen (London) Ltd | Beech Street/City Road | Beech Street/City Road | 30 | 0 | 30 |  | Built | NGET | CHP
Embedded | ScottishPower Renewables (UK) Limited | Beinn an Tuirc 2 | Carradale | 43.7 | 0 | 43.7 |  | Built | SHET | Wind Onshore
Embedded | ScottishPower Renewables (UK) Limited | Beinn an Tuirc 3 | Carradale 132/33kV Substation | 0 | 50 | 50 | 31/10/2020 | Consents Approved | SHET | Wind Onshore
Embedded | ScottishPower Renewables (UK) Limited | Beinn Tharsuinn | Alness GSP | 29 | 0 | 29 |  | Built | SHET | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Beinn Tharsuinn Extension | Beinn Tharsuinn Extension 132/33kV Substation | 0 | 44.8 | 44.8 | 01/10/2024 | Scoping | SHET | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Beinn Tharsuinn Extension | Beinn Tharsuinn Extension 132/33kV Substation | 0 | 39.2 | 84 | 01/10/2027 | Scoping | SHET | Wind Onshore
Directly Connected | Beinneun Wind Farm Ltd | Beinneun Wind Farm | Beinneun 132/33kV substation | 109 | 0 | 109 |  | Built | SHET | Wind Onshore
Directly Connected | RWE Renewables UK Developments Limited | Benbrack Wind Farm | Benbrack 33kV Substation | 0 | 72 | 72 | 30/05/2023 | Awaiting Consents | SPT | Wind Onshore
Embedded | Berry Burn Wind Farm Limited | Berry Burn Wind Farm | Berry Burn 275/33kV Substation | 67 | 0 | 67 |  | Built | SHET | Wind Onshore
Directly Connected | SSE Generation Ltd | Bhlaraidh Extension Wind Farm | Bhlaraidh Extension 132/33kV Substation | 0 | 100.8 | 100.8 | 31/10/2024 | Scoping | SHET | Wind Onshore
Directly Connected | SSE Generation Ltd | Bhlaraidh Wind Farm | Bhlaraidh 132/33kV Substation | 108 | 0 | 108 |  | Built | SHET | Wind Onshore
Embedded | GEA Bilbo Limited | Bilbo Farm | Strichen | 0 | 25 | 25 | 06/07/2020 | Scoping | SHET | PV Array
Directly Connected | Blackcraig Wind Farm (Scotland) Limited | Blackcraig Wind Farm | Black Craig | 52.9 | 0 | 52.9 |  | Built | SPT | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Blacklaw | Blacklaw Wind Farm | 118 | 0 | 118 |  | Built | SPT | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Blacklaw Extension | Blacklaw Extension | 60 | 0 | 60 |  | Built | SPT | Wind Onshore
Embedded | Blary Hill Energy Limited | Blary Hill Wind Farm | Carradale | 0 | 35 | 35 | 31/10/2020 | Consents Approved | SHET | Wind Onshore
Embedded | Arenko Desert Sensation Limited | Bloxwich | Bustleholm 132kV | 41 | 0 | 41 |  | Built | NGET | Battery Storage
Directly Connected | Pivoted Power LLP | Bolney | Bolney 400/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Battery Storage
Directly Connected | Enso Green Holdings Limited | Bolney (tertiary) | Bolney 400/33kV Substation | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Directly Connected | Norfolk Boreas Limited | Boreas | East Anglia Offshore Platforms 4 and 5 | 0 | 1800 | 1800 | 01/04/2027 | Scoping | NGET | Wind Offshore
Directly Connected | Bradwell Power Generation Company Limited | Bradwell B | Bradwell 400kV Substation | 0 | 1670 | 1670 | 31/12/2029 | Scoping | NGET | Nuclear
Embedded | Brookfield Renewable UK Ltd | Braelangwell Wind Farm | Shin 132/33kV GSP Substation | 0 | 68 | 68 | 31/12/2023 | Awaiting Consents | SHET | Wind Onshore
Embedded | Braes of Doune Wind Farm (Scotland) Ltd | Braes of Doune | Braco | 74 | 0 | 74 |  | Built | SHET | Wind Onshore
Directly Connected | Pivoted Power LLP | Braintree | Braintree 400/132kV Substation | 0 | 49.9 | 49.9 | 31/10/2024 | Awaiting Consents | NGET | Battery Storage
Directly Connected | CSE22 Ltd | Braintree (Tertiary) | Braintree | 0 | 0 | 49.9 | 30/07/2025 | Scoping | NGET | PV Array
Directly Connected | Pivoted Power LLP | Bramford (Tertiary) | Bramford 400/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2021 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Enso Green Holdings Limited | Bramford Tertiary | Bramford 400/33kV Substation | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Directly Connected | Enso Green Holdings Limited | Bramley (tertiary) | Bramley 400/33kV Substation | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Directly Connected | Pivoted Power LLP | Bredbury | Bredbury 275/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Battery Storage
Directly Connected | Enso Green Holdings Limited | Bridgwater (tertiary) | Bridgwater 400/33kV Substation | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Embedded | Centrica Brigg Ltd | Brigg | Keadby 400kV Substation | 99 | 0 | 99 |  | Built | NGET | CCGT
Directly Connected | Broken Cross Windfarm Ltd | Broken Cross Windfarm | Broken Cross Windfarm | 0 | 48 | 48 | 31/10/2026 | Awaiting Consents | SPT | Wind Onshore
Embedded | Brownieleys Renewables LLP | Brownieleys | Fiddes 132/33kV Substation | 7.5 | 0 | 7.5 |  | Built | SHET | Wind Onshore
Directly Connected | Burbo Extension Ltd | Burbo Bank Extension Offshore Wind Farm | BURBO BANK EXTENSION OFFSHORE SUBSTATION | 258 | 0 | 258 | 06/04/2020 | Built | NGET | Wind Offshore
Embedded | SSE Generation Ltd | Burghfield | Bramley GSP | 47 | 0 | 47 |  | Built | NGET | Thermal
Embedded | Eneco Burn Of Whilk Limited | Burn of Whilk Wind Farm | Mybster 1 | 22.5 | 0 | 22.5 |  | Built | SHET | Wind Onshore
Embedded | Energy Power Resources Ltd | Burwell | Burwell Main/Histon | 38 | 0 | 38 |  | Built | NGET | Biomass
Directly Connected | Pivoted Power LLP | Burwell (Tertiary) | Burwell 400kV Substation | 0 | 49.9 | 49.9 | 31/10/2021 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Pivoted Power LLP | Bustleholme | Bustleholme Substation | 0 | 49.9 | 49.9 | 22/10/2021 | Scoping | NGET | Battery Storage
Directly Connected | Renewable Energy Systems Limited | Cairn Duhie Wind Farm | Cairn Duhie 275kV Substation | 0 | 84 | 84 | 01/08/2026 | Scoping | SHET | Wind Onshore
Embedded | Renewable Energy Systems Limited | Cairnmore Hill Wind Farm | Thurso GSP | 0 | 36 | 36 | 31/10/2024 | Awaiting Consents | SHET | Wind Onshore
Embedded | UPM-KYMMENE (UK) Ltd | Caledonian Paper Mill (Meadowhead) | Meadowhead | 20 | 0 | 20 |  | Built | SPT | CCGT
Directly Connected | HD888CAP Ltd | Capenhurst Gas | Capenhurst 275/33kV Substation | 0 | 49.5 | 49.5 | 30/10/2022 | Scoping | NGET | CCGT
Directly Connected | Npower Renewables Ltd | Carnedd Wen Wind Farm | Mid-Wales West | 0 | 150 | 150 | 01/04/2026 | Scoping | NGET | Wind Onshore
Directly Connected | Shaw Energi LTD | Carnegie Road | Lister Drive | 0 | 50 | 50 | 2023-04-30 | Scoping | NGET | Battery Storage
Directly Connected | Green Power Limited | Carraig Gheal Wind Farm | Carraig Gheal 132/33kV Substation | 46 | 0 | 46 |  | Built | SHET | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Carrick Wind Farm | Carrick Wind Farm | 0 | 84 | 84 | 31/10/2026 | Scoping | SPT | Wind Onshore
Directly Connected | Pivoted Power LLP | Carrington | Carrington 275/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Carrington Power Ltd | Carrington Power Station | Carrington | 910 | 0 | 910 |  | Built | NGET | CCGT
Embedded | SSE Generation Ltd | Cashlie (Part of Killin Cascade Hydro Scheme) | Cashlie | 11 | 0 | 11 |  | Built | SHET | Hydro
Directly Connected | Uniper UK Limited | CDCL | Cottam 400kV Substation | 445 | 0 | 445 |  | Built | NGET | CCGT
Embedded | SSE Generation Ltd | Ceannacroc (part of the Moriston Cascade) | Ceannacroc | 20 | 0 | 20 |  | Built | SHET | Hydro
Embedded | Conrad (Chatterley) Limited | Chatterley | Cellarhead 132KV Substation | 20 | 0 | 20 | 21/04/2020 | Built | NGET | Gas Reciprocating
Embedded | RWE Generation UK Plc | Cheshire | Capenhurst | 67.25 | 0 | 67.25 |  | Built | NGET | OCGT
Embedded | RWE Generation UK Plc | Cheshire | Capenhurst | 0 | 22.75 | 90 | 01/08/2020 | Scoping | NGET | OCGT
Embedded | SSE Generation Ltd | Chickerell | Chickerell GSP | 47 | 0 | 47 | 11/11/2019 | Built | NGET | Thermal
Directly Connected | Chirmorie Wind Farm Limited | Chirmorie Wind Farm | Chirmorie 132/ 33KV SUBSTATION | 0 | 80 | 80 | 30/09/2022 | Consents Approved | SPT | Wind Onshore
Directly Connected | EDF Energy Renewables Limited | Clash Gour | Clash Gour Wind Farm 132kV Substation | 0 | 210 | 210 | 30/10/2024 | Awaiting Consents | SHET | Wind Onshore
Embedded | Vattenfall Wind Power Ltd | Clashindarroch | Clashindarroch | 37 | 0 | 37 |  | Built | SHET | Wind Onshore
Embedded | Vattenfall Wind Power Ltd | Clashindarroch 2 | Cairnford | 0 | 77 | 77 | 30/04/2024 | Scoping | SHET | Wind Onshore
Directly Connected | Christopher Moran Energy Limited | Clashindarroch Extension | Clashindarroch Windfarm Extension 132kV Substation | 0 | 37.5 | 37.5 | 31/10/2023 | Scoping | SHET | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Clauchrie Windfarm | Clauchrie 132/33kV Substation | 0 | 84 | 84 | 31/10/2025 | Scoping | SPT | Wind Onshore
Embedded | ARL O09 Limited | Clayhill Farm | Greenfield Road | 40 | 0 | 40 |  | Built | NGET | Battery Storage
Directly Connected | Cleve Hill Solar Park Limited | Cleve Hill Solar Park | Cleve Hill 400kV Substation | 0 | 350 | 350 | 01/04/2024 | Awaiting Consents | NGET | PV Array
Directly Connected | SSE Generation Ltd | Cloiche Wind Farm | Cloiche 132/33kV Substation | 0 | 200 | 200 | 31/10/2026 | Scoping | SHET | Wind Onshore
Directly Connected | SSE Generation Ltd | Clunie (part of the Clunie Cascade) | Clunie | 61.2 | 0 | 61.2 |  | Built | SHET | Hydro
Directly Connected | Clyde Wind Farm (Scotland) Ltd | Clyde North | Clyde North 275/33kV | 374.5 | 0 | 374.5 |  | Built | SPT | Wind Onshore
Directly Connected | Clyde Wind Farm (Scotland) Ltd | Clyde South | Clyde South 275/33kV | 128.8 | 0 | 128.8 |  | Built | SPT | Wind Onshore
Directly Connected | Codling Wind Park Ltd | Codling Park Wind Farm | Pentir Substation | 0 | 1000 | 1000 | 31/10/2024 | Scoping | NGET | Wind Offshore
Directly Connected | Coire Glas Hydro Pumped Storage Limited | Coire Glas Pumped Storage | Coire Glas 400kV Substation | 0 | 612 | 612 | 31/10/2025 | Consents Approved | SHET | Pump Storage
Embedded | RockbySea Ltd | Coire Na Cloiche | Alness GSP | 30 | 0 | 30 |  | Built | SHET | Wind Onshore
Directly Connected | Uniper UK Limited | Connahs Quay | Connah's Quay 400kV Substation | 1380 | 0 | 1380 |  | Built | NGET | CCGT
Directly Connected | HD001KIR Ltd | Coopers Lane Kirkby | Kirkby 275/33kV Substation | 0 | 49.5 | 49.5 | 30/10/2022 | Scoping | NGET | CCGT
Embedded | Corby Power Ltd | Corby | Corby 132kV substation | 401 | 0 | 401 |  | Built | NGET | CCGT
Directly Connected | Corriegarth Wind Energy Limited | Corriegarth | Corriegarth 132/33kV substation | 69 | 0 | 69 |  | Built | SHET | Wind Onshore
Directly Connected | Corriegarth 2 Wind Farm Limited | Corriegarth 2 Wind Farm | Corriegarth | 0 | 96 | 96 | 01/04/2024 | Scoping | SHET | Wind Onshore
Directly Connected | Corriemoillie Windfarm Limited | Corriemoillie Wind Farm | Corriemoillie 132/33kV Substation | 47.5 | 0 | 47.5 |  | Built | SHET | Wind Onshore
Directly Connected | Coryton Energy Company Ltd | Coryton | Coryton | 800 | 0 | 800 |  | Built | NGET | CCGT
Directly Connected | Costa Head Wind Farm Limited | Costa Head Wind Farm | Costa Head 132/33kV Substation | 0 | 20.4 | 20.4 | 30/04/2024 | Awaiting Consents | SHET | Wind Onshore
Directly Connected | EDF Energy (Thermal Generation) Limited | Cottam | Cottam 400kV Substation | 0 | 0 | 0 |  | Built | NGET | Coal
Embedded | Coronation Power Limited | Coupar | Coupar Angus 132/33kV GSP Substation | 0 | 40 | 40 | 01/12/2020 | Consents Approved | SHET | Battery Storage
Directly Connected | Cour Wind Farm (Scotland) Limited | Cour Wind Farm | Crossaig 132/33kV Substation | 20.5 | 0 | 20.5 |  | Built | SHET | Wind Onshore
Directly Connected | Pivoted Power LLP | Coventry | Coventry 275/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2021 | Awaiting Consents | NGET | Battery Storage
Embedded | RWE Generation UK Plc | Cowes | Fawley 400kV Substation | 140 | 0 | 140 |  | Built | NGET | OCGT
Directly Connected | Pivoted Power LLP | Cowley | Cowley 400/33kV Substation | 0 | 49.9 | 49.9 | 30/04/2020 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Enso Green Holdings Limited | Cowley (Tertiary) | Cowley 400/33kV Substation | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Directly Connected | ESB Asset Development UK Limited | CPG Power | Carrington 400kV Substation | 0 | 49.9 | 49.9 | 30/06/2022 | Scoping | NGET | Gas Reciprocating
Embedded | Craig Wind Farm Limited | Craig II Wind Farm | Chapelcross 132/33kV Substation | 4.7 | 0 | 4.7 |  | Built | SPT | Wind Onshore
Directly Connected | Creag Riabhach Wind Farm Ltd | Creag Riabhach Wind Farm | Creag Riabhach 132/33kV Substation | 0 | 79.2 | 79.2 | 30/04/2022 | Consents Approved | SHET | Wind Onshore
Directly Connected | Crookedstane Windfarm Limited | Crookedstane Windfarm | Clyde South | 0 | 25.4 | 25.4 | 30/04/2021 | Consents Approved | SPT | Wind Onshore
Directly Connected | Crossdykes Wind Farm Limited | Crossdykes | Crossdykes 33kV Substation | 0 | 46 | 46 | 31/08/2020 | Consents Approved | SPT | Wind Onshore
Directly Connected | Muirhall Energy Ltd | Crossdykes Extension | Ewe Hill | 0 | 40 | 40 | 30/11/2024 | Scoping | SPT | Wind Onshore
Directly Connected | Drax Generation Enterprise Limited | Cruachan | Dalmally | 440 | 0 | 440 |  | Built | SPT | Pump Storage
Directly Connected | Crystal Rig II Ltd | Crystal Rig II Wind Farm | Crystal Rig | 138 | 0 | 138 |  | Built | SPT | Wind Onshore
Directly Connected | Crystal Rig III Limited | Crystal Rig III Wind Farm | Crystal Rig 400/132kV Substation | 13.8 | 0 | 13.8 |  | Built | SPT | Wind Onshore
Directly Connected | Crystal Rig III Limited | Crystal Rig III Wind Farm | Crystal Rig 400/132kV Substation | 0 | 48.2 | 62 | 01/04/2020 | Consents Approved | SPT | Wind Onshore
Directly Connected | SSE Generation Ltd | Culligran (part of the Beauly Cascade) | Culligran | 19.1 | 0 | 19.1 |  | Built | SHET | Hydro
Directly Connected | Cumberhead Wind Energy Limited | Cumberhead | Cumberhead | 0 | 50 | 50 | 31/08/2022 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | Cumberhead West Wind Farm Ltd | Cumberhead West Wind Farm | Cumberhead West Wind Farm 33kV Substation | 0 | 100 | 100 | 01/11/2024 | Awaiting Consents | SPT | Wind Onshore
Embedded | RWE Generation UK Plc | Cwm Dyli | Trawfynydd | 10 | 0 | 10 |  | Built | NGET | Hydro
Embedded | Statkraft Energy Ltd | Cwm Rheidol | Swansea North | 50 | 0 | 50 |  | Built | NGET | Hydro
Directly Connected | Dalquhandy Wind Farm Limited | Dalquhandy Wind Farm | Dalquhandy 132/33kV Substation | 0 | 45 | 45 | 31/10/2022 | Consents Approved | SPT | Wind Onshore
Embedded | Dalswinton Wind Farm (Scotland) Ltd | Dalswinton | Dumfries | 30 | 0 | 30 |  | Built | SPT | Wind Onshore
Directly Connected | Drax Generation Enterprise Limited | Damhead Creek | Kingsnorth | 805 | 0 | 805 |  | Built | NGET | CCGT
Directly Connected | Drax Generation Enterprise Limited | Damhead Creek 2 | Kingsnorth 400kV Substation | 0 | 1800 | 1800 | 01/12/2021 | Consents Approved | NGET | CCGT
Directly Connected | SSE Generation Ltd | Deanie (part of the Beauly Cascade) | Deanie | 38 | 0 | 38 |  | Built | SHET | Hydro
Directly Connected | Deeside Power (UK) Ltd | Deeside Power Station | Deeside 400kV Substation | 1 | 0 | 1 |  | Built | NGET | CCGT
Directly Connected | Dell Wind Farm Limited | Dell Wind Farm | Dell 132/33 Substation | 0 | 49.8 | 49.8 | 30/04/2026 | Consents Approved | SHET | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Dersalloch Wind Farm | Dersalloch | 69 | 0 | 69 |  | Built | SPT | Wind Onshore
Embedded | Derwent Cogeneration Ltd | Derwent | Willington 132kV Substation | 0 | 162 | 162 | 30/10/2020 | Built | NGET | CHP
Embedded | RWE Generation UK Plc | Didcot A GTs | Didcot 400kV Substation | 99.9 | 0 | 99.9 |  | Built | NGET | OCGT
Directly Connected | RWE Generation UK Plc | Didcot B | Didcot 400kV Substation | 1450 | 0 | 1450 |  | Built | NGET | CCGT
Directly Connected | First Hydro Company | Dinorwig | Dinorwig 400kV Substation | 1644 | 0 | 1644 |  | Built | NGET | Pump Storage
Directly Connected | Dogger Bank Offshore Wind Farm Project 1 Holdco Limited | Dogger Bank Project 1 | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 600 | 01/04/2023 | Consents Approved | NGET | Wind Offshore
Directly Connected | Dogger Bank Offshore Wind Farm Project 1 Holdco Limited | Dogger Bank Project 1 | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 1200 | 01/04/2023 | Consents Approved | NGET | Wind Offshore
Directly Connected | Dogger Bank Offshore Wind Farm Project 3 Holdco Limited | Dogger Bank Project 2 | Dogger Bank 220/33kV Offshore Substations | 0 | 1500 | 1500 | 01/04/2024 | Awaiting Consents | NGET | Wind Offshore
Directly Connected | Dogger Bank Offshore Wind Farm Project 2 Holdco Limited | Dogger Bank Project 4 | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 600 | 01/04/2023 | Consents Approved | NGET | Wind Offshore
Directly Connected | Dogger Bank Offshore Wind Farm Project 2 Holdco Limited | Dogger Bank Project 4 | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 1200 | 01/04/2023 | Consents Approved | NGET | Wind Offshore
Embedded | RWE Generation UK Plc | Dolgarrog | Pentir | 39 | 0 | 39 |  | Built | NGET | Hydro
Directly Connected | Dorenell Windfarm Limited | Dorenell Windfarm | Dorenell 132/33kV | 177 | 0 | 177 |  | Built | SHET | Wind Onshore
Directly Connected | Douglas West Wind Farm Ltd | Douglas West | Coalburn132/33kV | 0 | 45 | 45 | 30/04/2021 | Consents Approved | SPT | Wind Onshore
Directly Connected | Douglas West Extension Limited | Douglas West Extension | Douglas West Extension Windfarm | 0 | 60 | 60 | 31/07/2024 | Awaiting Consents | SPT | Wind Onshore
Embedded | Viridis 178 Ltd | Dowlais | Upperboat 132 | 21 | 0 | 21 |  | Built | NGET | Thermal
Directly Connected | Enso Green Holdings Limited | Drakelow | Drakelow 400/33kV Substation | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Directly Connected | Drax Power Ltd | Drax (Biomass) | Drax | 1905 | 0 | 1905 |  | Built | NGET | Biomass
Directly Connected | Drax Power Ltd | Drax (CCGT) | Drax | 0 | 1190 | 1190 | 01/04/2023 | Scoping | NGET | CCGT
Directly Connected | Drax Power Ltd | Drax (Coal) | Drax | 2001 | -65 | 1936 | 01/04/2023 | Built | NGET | Coal
Embedded | Druim Leathann Windfarm Ltd | Druim Leathann Embedded | Stornoway 132/33kV Grid Supply Point | 0 | 49.7 | 49.7 | 01/04/2024 | Scoping | SHET | Wind Onshore
Directly Connected | Dudgeon Offshore Wind Ltd | Dudgeon Offshore Wind Farm | Necton 400kV Substation | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Directly Connected | EDF Energy Nuclear Generation Ltd | Dungeness B | Dungeness 275kV Substation | 1120 | 0 | 1120 |  | Built | NGET | Nuclear
Directly Connected | ScottishPower Renewables (UK) Limited | Dunlaw Extension | Dunlaw Extension | 29.75 | 0 | 29.75 |  | Built | SPT | Wind Onshore
Directly Connected | Dunmaglass Wind Farm Limited | Dunmaglass Wind Farm | Beauly/Foyers | 94 | 0 | 94 |  | Built | SHET | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | East Anglia 2 | Platform EA2A and Platform EA2B 220/33kV Offshore Substations | 0 | 860 | 860 | 01/04/2026 | Scoping | NGET | Wind Offshore
Directly Connected | East Anglia THREE Limited | East Anglia 3 | Platform EA3A and Platform EA3B 220/33kV Substations | 0 | 600 | 600 | 01/04/2023 | Consents Approved | NGET | Wind Offshore
Directly Connected | East Anglia THREE Limited | East Anglia 3 | Platform EA3A and Platform EA3B 220/33kV Substations | 0 | 600 | 1200 | 01/04/2023 | Consents Approved | NGET | Wind Offshore
Directly Connected | East Anglia One Limited | East Anglia One | Platform EA One 220/66kV Offshore Substation | 680 | 0 | 680 | 30/11/2019 | Built | NGET | Wind Offshore
Directly Connected | East Anglia One Limited | East Anglia One North | East Anglia One Offshore Platform | 0 | 860 | 860 | 01/04/2027 | Scoping | OFFSHORE | Wind Offshore
Directly Connected | Vattenfall Wind Power Ltd | Edinbane Wind, Skye | Edinbane | 41.4 | 0 | 41.4 |  | Built | SHET | Wind Onshore
Directly Connected | Eggborough Power Ltd | Eggborough | Eggborough 400kV Substation | 0 | 2450 | 2450 | 01/10/2024 | Awaiting Consents | NGET | HYBRID
Directly Connected | Eggborough Power Ltd | Eggborough (Coal) | Eggborough 400kV Substation | 0 | 0 | 0 |  | Built | NGET | Coal
Directly Connected | Elchies Wind Limited | Elchies Wind Farm | Elchies 132/33kV Substation | 0 | 99 | 99 | 30/06/2024 | Scoping | SHET | Wind Onshore
Directly Connected | Enso Green Holdings Limited | Elstree (tertiary) | Elstree 400/33kV Substation | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Directly Connected | Energy Isles Shetland Limited | Energy Isles | Energy Isles 132kV Substation | 0 | 120.3 | 120.3 | 01/04/2024 | Scoping | SHET | Wind Offshore
Directly Connected | Uniper UK Limited | Enfield | Brimsdown 132kV Substation | 415 | 0 | 415 |  | Built | NGET | CCGT
Directly Connected | Uniper UK Limited | Enfield | Brimsdown 132kV Substation | 0 | 27 | 442 | 01/04/2020 | Under Construction/Commissioning | NGET | CCGT
Directly Connected | RWE Renewables UK Developments Limited | Enoch Hill | Enoch Hill 132/33kV | 0 | 69 | 69 | 30/05/2023 | Scoping | SPT | Wind Onshore
Directly Connected | Equinor New Energy Ltd | Equinor | Sheringham Shoal and Dudgeon Offshore Windfarms | 0 | 719 | 719 | 01/09/2025 | Scoping | NGET | Wind Offshore
Directly Connected | SSE Generation Ltd | Errochty | Errochty | 75 | 0 | 75 |  | Built | SHET | Hydro
Directly Connected | ScottishPower Renewables (UK) Limited | Euchanhead Wind Farm | Euchanhead 132/33kV Substation | 0 | 112 | 112 | 30/10/2026 | Scoping | SPT | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Ewe Hill | Ewe Hill | 39 | 0 | 39 |  | Built | SPT | Wind Onshore
Directly Connected | Pivoted Power LLP | Exeter (Tertiary) | Exeter 400kV Substation | 0 | 49.9 | 49.9 | 31/10/2021 | Awaiting Consents | NGET | Battery Storage
Directly Connected | EDF Energy Renewables Limited | Fallago Rig 2 | Fallago 400kV Substation | 0 | 41.4 | 41.4 | 31/10/2021 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | Fallago Rig Wind Farm Ltd | Fallago Rig Wind Farm | Fallago 400kV Substation | 144 | 0 | 144 |  | Built | SPT | Wind Onshore
Directly Connected | Farr Wind Farm Limited | Farr Wind Farm, Tomatin | Beauly | 92 | 0 | 92 |  | Built | SHET | Wind Onshore
Directly Connected | SSE Generation Ltd | Fasnakyle G1 & G2 | Fasnakyle | 46 | 0 | 46 |  | Built | SHET | Hydro
Embedded | SSE Generation Ltd | Fasnakyle G3 & G4 | Fasnakyle | 30.5 | 0 | 30.5 |  | Built | SHET | Hydro
Directly Connected | ScottishPower Renewables (UK) Limited | Fasque Windfarm | Fasque Wind Farm 132/33kV Substation | 0 | 90 | 90 | 01/06/2025 | Scoping | SHET | Wind Onshore
Directly Connected | Community Windpower Ltd | Faw Side Community Wind Farm | Faw Side Community Wind Farm | 0 | 250 | 250 | 31/10/2025 | Awaiting Consents | SPT | Wind Onshore
Embedded | Esso Petroleum Company, Limited | Fawley CHP | Fawley 400kV Substation | 158 | 0 | 158 |  | Built | NGET | CHP
Directly Connected | Keadby Generation Ltd | Ferrybridge D | Ferrybridge | 0 | 1820 | 1820 | 01/09/2026 | Scoping | NGET | CCGT
Directly Connected | First Hydro Company | Ffestiniog | Ffestiniog 275kV Substation | 360 | 0 | 360 |  | Built | NGET | Pump Storage
Directly Connected | Keadby Generation Ltd | Fiddlers Ferry | Fiddlers Ferry | 0 | 0 | 0 |  | Built | NGET | Coal
Directly Connected | SSE Generation Ltd | Finlarig | Finlarig | 16.5 | 0 | 16.5 |  | Built | SHET | Hydro
Directly Connected | Seagreen Wind Energy Ltd | Firth of Forth Offshore Wind Farm 2A | Branxton 400kV | 0 | 700 | 700 | 01/04/2023 | Scoping | SPT | Wind Offshore
Directly Connected | Seagreen Wind Energy Ltd | Firth of Forth Offshore Wind Farm 2B | Branxton 400kV | 0 | 700 | 700 | 01/04/2024 | Scoping | SPT | Wind Offshore
Directly Connected | Seagreen Wind Energy Ltd | Firth of Forth Phase 1 | Tealing 275/33kv | 0 | 1075 | 1075 | 31/10/2021 | Consents Approved | SHET | Wind Offshore
Directly Connected | CSE23 Limited | Fleet | Fleet 400kV Substation | 0 | 49.9 | 49.9 | 2025-01-10 | Scoping | NGET | Solar
Embedded | Whitetower Energy Limited | Fort Dunlop | Dunlop 132kV substation | 99 | 0 | 99 |  | Built | NGET | OCGT
Directly Connected | SSE Generation Ltd | Foyers | Foyers | 300 | 0 | 300 |  | Built | SHET | Pump Storage
Directly Connected | RES UK & Ireland Limited | Freasdail | Crossaig 132kV Substation | 22.2 | 0 | 22.2 |  | Built | SHET | Wind Onshore
Directly Connected | Galawhistle Wind Farm Ltd | Galawhistle Wind Farm | Galawhistle 132/33kV | 55.2 | 0 | 55.2 |  | Built | SPT | Wind Onshore
Directly Connected | Innogy Renewables UK Ltd | Galloper Extension Offshore Wind Farm | Galloper North 33/132kV Offshore Substation | 0 | 348 | 348 | 01/04/2029 | Awaiting Consents | NGET | Wind Offshore
Directly Connected | Galloper Wind Farm Limited | Galloper Wind Farm | Galloper North 132/33kv | 348 | 0 | 348 |  | Built | NGET | Wind Offshore
Directly Connected | Gateway Energy Centre Limited | Gateway Energy Centre Power Station | Coryton South 400kV Substation | 0 | 619.99 | 619.99 | 30/09/2023 | Consents Approved | NGET | HYBRID
Directly Connected | Gateway Energy Centre Limited | Gateway Energy Centre Power Station | Coryton South 400kV Substation | 0 | 380.01 | 380.01 | 30/09/2024 | Consents Approved | NGET | HYBRID
Embedded | EPR Glanford Limited | Glanford | Keadby | 15 | 0 | 15 |  | Built | NGET | Biomass
Embedded | Renewable Energy Systems Limited | Gleann Eoghainn | Dunvegan 132/33kV GSP | 0 | 25 | 25 | 31/05/2027 | Awaiting Consents | SHET | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Glen App Windfarm | Glen App and Loch Ree 132/33kV Substation | 32.2 | 0 | 32.2 |  | Built | SPT | Wind Onshore
Directly Connected | Glen Kyllachy Wind Farm Limited | Glen Kyllachy Wind Farm | Glen Kyllachy Wind Farm | 0 | 48.5 | 48.5 | 30/04/2021 | Consents Approved | SHET | Wind Onshore
Directly Connected | Kilmac Energy (Glen Ullinish) Limited | Glen Ullinish Wind Farm | Glen Ullinish 132/33kV Substation | 0 | 49.9 | 49.9 | 31/12/2025 | Consents Approved | SHET | Wind Onshore
Embedded | SSE Renewables Developments (UK) Ltd | Glencassley Wind Farm | Shin 33kV | 0 | 65 | 65 | 30/04/2024 | Awaiting Consents | SHET | Wind Onshore
Embedded | RES UK & Ireland Limited | Glenchamber Wind Farm | Glenluce | 25.3 | 0 | 25.3 |  | Built | SPT | Wind Onshore
Embedded | RES UK & Ireland Limited | Glenchamber Wind Farm | Glenluce | 0 | 2.2 | 27.5 | 30/10/2022 | Consents Approved | SPT | Wind Onshore
Directly Connected | SSE Generation Ltd | Glendoe | Fort Augustus | 99.9 | 0 | 99.9 |  | Built | SHET | Hydro
Directly Connected | SSE Generation Ltd | Glenmoriston (part of the Moriston Cascade) | Glenmoriston | 40 | 0 | 40 |  | Built | SHET | Hydro
Directly Connected | Glenmuckloch Pumped Storage Hydro Limited | Glenmuckloch Pumped Storage | Glenmuckloch 132kV Substation | 0 | 210 | 210 | 30/04/2024 | Consents Approved | SPT | Pump Storage
Directly Connected | Glenmuckloch Renewable Energy Limited | Glenmuckloch Wind Farm | Glenmuckloch 33kV | 0 | 33.6 | 33.6 | 30/04/2024 | Awaiting Consents | SPT | Wind Onshore
Embedded | Glens of Foudland Wind Farm Ltd | Glens of Foudland Wind (SRO) | Keith | 26 | 0 | 26 |  | Built | SHET | Wind Onshore
Directly Connected | SIMEC Wind One Limited | Glenshero | Glenshero | 0 | 168 | 168 | 31/08/2024 | Scoping | SHET | Wind Onshore
Embedded | Innogy Renewables UK Ltd | Goole Fields Wind farm | Camblesforth 66kV Substation | 32 | 0 | 32 |  | Built | NGET | Wind Onshore
Directly Connected | SSE Generation Ltd | Gordonbush Wind Farm | Gordonbush | 70 | 0 | 70 |  | Built | SHET | Wind Onshore
Directly Connected | SSE Generation Ltd | Gordonbush Wind Farm | Gordonbush | 0 | 38 | 108 | 01/04/2023 | Awaiting Consents | SHET | Wind Onshore
Embedded | Gordonstown Hill Wind Farm Limited | Gordonstown Hill Wind Farm | Kintore 132/33kV Substation | 12.5 | 0 | 12.5 |  | Built | SHET | Wind Onshore
Directly Connected | Uniper UK Limited | Grain | Grain 400kV Substation | 1517 | 0 | 1517 |  | Built | NGET | CCGT
Embedded | Grangemouth CHP Ltd | Grangemouth CHP | Grangemouth | 120 | 0 | 120 |  | Built | SPT | CHP
Embedded | RWE Generation UK Plc | Great Yarmouth | Norwich Main 132kV Substation | 420 | 0 | 420 |  | Built | NGET | CCGT
Directly Connected | Greater Gabbard Offshore Winds Ltd | Greater Gabbard Offshore Wind Farm | Gabbard 33/132kV Offshore Substation | 500 | 0 | 500 |  | Built | OFFSHORE | Wind Offshore
Embedded | Viridis 178 Ltd | Green Frog @ Alcoa | swansea North | 0 | 40 | 40 | 18/12/2017 | Under Construction/Commissioning | NGET | OCGT
Embedded | Viridis 178 Ltd | Green Frog @ Down Barn Farm | Lovedean 400/132kV Substation | 0 | 20 | 20 | 13/12/2018 | Under Construction/Commissioning | NGET | CCGT
Embedded | Viridis 178 Ltd | Green Frog @ Goose House Lane | Rochdale 132kV Substation | 0 | 21 | 21 | 04/11/2018 | Under Construction/Commissioning | NGET | CCGT
Embedded | Viridis 178 Ltd | Green Frog @ Letchworth | Wymondley GSP | 15 | 0 | 15 |  | Built | NGET | OCGT
Embedded | Viridis 178 Ltd | Green Frog @ Moorfield Drive | Padiham 132kV Substation | 0 | 21 | 21 | 04/11/2018 | Under Construction/Commissioning | NGET | CCGT
Embedded | Viridis 178 Ltd | Green Frog @ Rake Lane | Kearsley 132kV Substation | 0 | 21 | 21 | 12/11/2018 | Under Construction/Commissioning | NGET | CCGT
Embedded | Viridis 178 Ltd | Green frog @ The Drove | Bridgwater | 6 | 0 | 6 |  | Built | NGET | OCGT
Embedded | Viridis 178 Ltd | Green Frog at Lester Way | Cowley GSP | 12 | 0 | 12 |  | Built | NGET | OCGT
Directly Connected | REG Greenburn Limited | Greenburn Mixed Technology | Greenburn Mixed Technology 132kV Substation | 0 | 90 | 90 | 31/10/2027 | Scoping | SPT | HYBRID
Embedded | Greengairs East Wind Farm Limited | Greengairs East Wind Farm | Cumbernauld 33kV GSP Substation | 0 | 42.64 | 42.64 | 25/11/2022 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | Greta I Limited | Greta II | Cottam 400kV | 0 | 500 | 500 | 01/10/2027 | Scoping | NGET | HYBRID
Directly Connected | SSE Generation Ltd | Griffin Wind Farm | Errochty / Burghmuir | 188.6 | 0 | 188.6 |  | Built | SHET | Wind Onshore
Directly Connected | Gunfleet Sands II Ltd | Gunfleet Sands II Offshore Wind Farm | Gunfleet Sands 33/132kV Offshore Substation | 64 | 0 | 64 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | Gunfleet Sands Ltd | Gunfleet Sands Offshore Wind Farm | Gunfleet Sands 33/132kV Offshore Substation | 99.9 | 0 | 99.9 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | Awel Y Mor Offshore Wind Farm Ltd | Gwynt Y Mor Offshore Wind Farm | Gwynt y Mor 132/33kV Offshore Substation | 574 | 0 | 574 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | SSE Generation Ltd | Hadyard Hill | Maybole | 99.9 | 0 | 99.9 |  | Built | SPT | Wind Onshore
Directly Connected | Hagshaw Hill Repowering Limited | Hagshaw Hill Phase 1 | Coalburn | 0 | 30 | 30 | 30/05/2024 | Scoping | SPT | Wind Onshore
Directly Connected | Hagshaw Hill Repowering Limited | Hagshaw Hill Phase 2 | Coalburn | 0 | 54 | 54 | 30/05/2024 | Scoping | SPT | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Halsary Wind Farm | Mybster 132/33kV Substation | 0 | 28.5 | 28.5 | 31/10/2020 | Consents Approved | SHET | Wind Onshore
Embedded | LDV Harburnhead Ltd | Harburnhead Wind Farm | Livingston East | 51.7 | 0 | 51.7 |  | Built | SPT | Wind Onshore
Embedded | ScottishPower Renewables (UK) Limited | Hare Hill Extension Wind Farm | Coylton | 29.75 | 0 | 29.75 |  | Built | SPT | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Harestanes | Harestanes | 125 | 0 | 125 |  | Built | SPT | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Harestanes | Harestanes | 0 | 38.3 | 163.3 | 01/11/2021 | Under Construction/Commissioning | SPT | Wind Onshore
Directly Connected | Pivoted Power LLP | Harker | Harker 400/132kV Substation | 0 | 49.9 | 49.9 | 31/10/2024 | Consents Approved | NGET | Battery Storage
Directly Connected | Banks Renewables (Harting Rig Wind Farm) Limited | Harting Rig Wind Farm | Harting Rig 132/33kv | 0 | 61.2 | 61.2 | 30/10/2024 | Consents Approved | SPT | Wind Onshore
Directly Connected | EDF Energy Nuclear Generation Ltd | Hartlepool | Hartlepool 275kV Substation | 1207 | 0 | 1207 |  | Built | NGET | Nuclear
Directly Connected | Hesta Head Wind Farm Limited | Hesta Head Wind Farm | Hesta Head 132/33kV Substation | 0 | 20.4 | 20.4 | 30/04/2024 | Awaiting Consents | SHET | Wind Onshore
Directly Connected | EDF Energy Nuclear Generation Ltd | Heysham Power Station | Heysham | 2388 | 0 | 2388 |  | Built | NGET | Nuclear
Directly Connected | High Constellation Windfarm Limited | High Constellation Windfarm | Crossaig 132/33kV | 0 | 50 | 50 | 31/10/2026 | Scoping | SHET | Wind Onshore
Embedded | Hill of Glaschyle Renewables LLP | Hill of Glaschyle | Berryburn 275/33kV Substation | 27.6 | 0 | 27.6 |  | Built | SHET | Wind Onshore
Embedded | Renewable Energy Systems Limited | Hill of Towie 2 Wind Farm | Keith 2 GSP | 0 | 36 | 36 | 27/06/2025 | Consents Approved | SHET | Wind Onshore
Embedded | Hill of Towie Limited | Hill of Towie/Drummuir | Drummuir Windfarm at Keith 33kV Grid Supply Point | 48.3 | 0 | 48.3 |  | Built | SHET | Wind Onshore
Directly Connected | EDF Energy Nuclear Generation Ltd | Hinkley Point B | Hinkley Point 400kV Substation | 1061 | 0 | 1061 |  | Built | NGET | Nuclear
Directly Connected | EDF Energy Nuclear Generation Ltd | Hinkley Point C | Hinkley 400kV Substation | 0 | 1670 | 1670 | 06/12/2024 | Consents Approved | NGET | Nuclear
Directly Connected | EDF Energy Nuclear Generation Ltd | Hinkley Point C | Hinkley 400kV Substation | 0 | 1670 | 3340 | 06/12/2025 | Consents Approved | NGET | Nuclear
Directly Connected | Hirwaun Power Ltd | Hirwaun Power Station | Rhigos | 0 | 299 | 299 | 10/07/2021 | Consents Approved | NGET | OCGT
Directly Connected | ScottishPower Renewables (UK) Limited | Hollandmey Windfarm | Hollandmey 132/33kV Substation | 0 | 49.5 | 49.5 | 31/08/2025 | Scoping | SHET | Wind Onshore
Embedded | Orthios Power (Anglesey) Ltd | Holyhead | Penhros | 0 | 150 | 150 | 31/10/2021 | Consents Approved | NGET | Biomass
Embedded | Orthios Power (Anglesey) Ltd | Holyhead | Penhros | 0 | 60 | 210 | 01/04/2023 | Consents Approved | NGET | Biomass
Directly Connected | Hopsrig Wind Farm Limited | Hopsrig Wind Farm | Hopsrig Wind Farm 132/33kV Substation | 0 | 48 | 48 | 31/10/2022 | Consents Approved | SPT | Wind Onshore
Directly Connected | Hornsea 1 Limited | Hornsea Power Station 1A | Hornsea Platform 1A Offshore Substation | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Directly Connected | Hornsea 1 Limited | Hornsea Power Station 1B | Hornsea Platform 1B Offshore Substation | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Directly Connected | Hornsea 1 Limited | Hornsea Power Station 1C | Hornsea Platform 1C Offshore Substation | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Directly Connected | Breesea Limited | Hornsea Power Station 2A | Hornsea Platform 2A Offshore Substation | 0 | 440 | 440 | 01/10/2020 | Consents Approved | NGET | Wind Offshore
Directly Connected | Soundmark Wind Limited | Hornsea Power Station 2B | Hornsea Platform 2B Offshore Substation | 0 | 440 | 440 | 01/04/2021 | Consents Approved | NGET | Wind Offshore
Directly Connected | Sonningmay Wind Limited | Hornsea Power Station 2C | Hornsea Power Station 2C Offshore platform | 0 | 440 | 440 | 01/10/2021 | Consents Approved | NGET | Wind Offshore
Directly Connected | Orsted Hornsea Project Three Uk Ltd | Hornsea Power Station 3A-1 (formerly 3A) | Hornsea Platform 3A Offshore Substation | 0 | 500 | 500 | 01/04/2023 | Scoping | NGET | Wind Offshore
Directly Connected | Orsted Hornsea Project Three Uk Ltd | Hornsea Power Station 3A-2 (formerly 3B) | Hornsea Platform 3B Offshore Substation | 0 | 500 | 500 | 01/10/2023 | Scoping | NGET | Wind Offshore
Directly Connected | Orsted Hornsea Project Four Limited | Hornsea Power Station 4 | Hornsea Offshore Substation Platform 4 | 0 | 1500 | 1500 | 01/04/2025 | Awaiting Consents | NGET | Wind Offshore
Directly Connected | Orsted Hornsea Project Four Limited | Hornsea Power Station 4 | Hornsea Offshore Substation Platform 4 | 0 | 1100 | 2600 | 31/10/2028 | Awaiting Consents | NGET | Wind Offshore
Directly Connected | Orsted Hornsea Project Three Uk Ltd | Hornsea Power Station Project 3B-1 (formerly 3C) | Hornsea Platform 3C Offshore Substation | 0 | 500 | 500 | 01/04/2024 | Scoping | NGET | Wind Offshore
Directly Connected | Orsted Hornsea Project Three Uk Ltd | Hornsea Power Station Project 3B-2 (formerly 3D) | Hornsea Platform 3D Offshore Substation | 0 | 500 | 500 | 01/10/2024 | Scoping | NGET | Wind Offshore
Directly Connected | RWE Renewables UK Humber Wind Ltd | Humber Gateway Offshore Wind Farm | Humber Gateway 33/132kV Offshore Substation | 220 | 0 | 220 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | EDF Energy Nuclear Generation Ltd | Hunterston | Hunterston 400kV Substation | 1000 | 0 | 1000 |  | Built | SPT | Nuclear
Embedded | District Energy Ltd. | Huntworth | Taunton | 10 | 0 | 10 |  | Built | NGET | CCGT
Directly Connected | Pivoted Power LLP | Hutton | Hutton | 0 | 49.9 | 49.9 | 31/10/2023 | Awaiting Consents | NGET | Battery Storage
Embedded | Hywind (Scotland) Ltd | Hywind Wind Farm | Peterhead Grange | 30 | 0 | 30 |  | Built | SHET | Wind Onshore
Directly Connected | VPI Immingham LLP | Immingham | Humber Refinery 400kV Substation | 1218 | 0 | 1218 |  | Built | NGET | CHP
Directly Connected | VPI Immingham LLP | Immingham | Humber Refinery 400kV Substation | 0 | 50 | 1268 | 01/10/2020 | Under Construction/Commissioning | NGET | CHP
Directly Connected | Inch Cape Offshore Ltd | Inch Cape Offshore Wind Farm Platform 1 | Cockenzie 275kV | 0 | 130 | 130 | 01/04/2023 | Consents Approved | SPT | Wind Offshore
Directly Connected | Inch Cape Offshore Ltd | Inch Cape Offshore Wind Farm Platform 1 | Cockenzie 275kV | 0 | 70 | 200 | 31/10/2023 | Consents Approved | SPT | Wind Offshore
Directly Connected | Inch Cape Offshore Ltd | Inch Cape Offshore Wind Farm Platform 2 | Cockenzie 275kV | 0 | 370 | 370 | 01/04/2023 | Consents Approved | SPT | Wind Offshore
Directly Connected | Indian Queens Power Limited | Indian Queens | Indian Queens 400kV Substation | 140 | 0 | 140 |  | Built | NGET | OCGT
Directly Connected | National Reserve Limited | Indian Queens | Indian Queens 400/33kV Substation | 0 | 49.9 | 49.9 | 30/10/2023 | Scoping | NGET | Battery Storage
Directly Connected | Pivoted Power LLP | Indian Queens | Indian Queens 400kV | 0 | 49.9 | 49.9 | 31/10/2023 | Awaiting Consents | NGET | Battery Storage
Directly Connected | SSE Generation Ltd | Invergarry (part of the Garry Cascade) | Invergarry | 20 | 0 | 20 |  | Built | SHET | Hydro
Directly Connected | Enso Green Holdings Limited | Iron Acton | Iron Acton | 0 | 120 | 120 | 30/11/2021 | Scoping | NGET | HYBRID
Directly Connected | Pivoted Power LLP | Iver | Iver 275kV Substation | 0 | 49.9 | 49.9 | 31/10/2023 | Scoping | NGET | Battery Storage
Directly Connected | J G Pears Grid Connection Limited | J G Pears | High Marnham | 13 | 0 | 13 |  | Built | NGET | CHP
Directly Connected | J G Pears Grid Connection Limited | J G Pears | High Marnham | 0 | 17 | 30 | 06/09/2019 | Under Construction/Commissioning | NGET | CHP
Embedded | Harmony JF Limited | Jamesfield Farm Battery Storage | Abernethy 132/33kV Substation | 0 | 30 | 30 | 31/10/2022 | Scoping | SHET | Battery Storage
Embedded | Harmony JF Limited | Jamesfield Farm Phase 2 Battery Storage | Abernethy 132/33kV Substation | 0 | 19 | 19 | 31/10/2022 | Scoping | SHET | Battery Storage
Directly Connected | Keadby Generation Ltd | Keadby | Keadby | 755 | 0 | 755 |  | Built | NGET | CCGT
Directly Connected | Keadby Generation Ltd | Keadby II | Keadby | 0 | 893 | 893 | 30/12/2020 | Consents Approved | NGET | CCGT
Directly Connected | Pivoted Power LLP | Kearsley | Kearsley 400/275kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Awaiting Consents | NGET | Battery Storage
Embedded | Renewable Energy Systems Limited | Keirs Hill Wind Farm | Coylton GSP | 0 | 40 | 40 | 01/04/2024 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | Diamond Wind Limited | Keith Hill Wind Farm | Keith Hill 33kV Substation | 4.5 | 0 | 4.5 |  | Built | SPT | Wind Onshore
Embedded | Grovehurst Energy | Kemsley | Kemsley | 35.8 | 0 | 35.8 |  | Built | NGET | CHP
Directly Connected | Pivoted Power LLP | Kemsley | Kemsley 400/132kV Substation | 0 | 49.9 | 49.9 | 31/10/2020 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Brookfield Renewable UK Ltd | Kennoxhead Wind Farm | Kennoxhead | 0 | 112 | 112 | 27/02/2024 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | Brookfield Renewable UK Ltd | Kennoxhead Wind Farm Extension | Middlemuir | 0 | 60 | 60 | 31/10/2021 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | Sunnica Limited | Kestrel Meadow Directly Connected | Burwell GSP | 0 | 500 | 500 | 01/04/2025 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Kilbraur Wind Energy Ltd | Kilbraur Wind Farm | Kilbraur Wind Farm | 67 | 0 | 67 |  | Built | SHET | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Kilgallioch | Kilgallioch 132/33kV Substation | 228 | 0 | 228 |  | Built | SPT | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Kilgallioch | Kilgallioch 132/33kV Substation | 0 | 46 | 274 | 31/10/2022 | Consents Approved | SPT | Wind Onshore
Directly Connected | Uniper UK Limited | Killingholme | Killingholme 400kV Substation | 600 | 0 | 600 |  | Built | NGET | OCGT
Directly Connected | Centrica KPS Limited | Killingholme 2 | Killingholme | 0 | 0 | 0 |  | Built | NGET | CCGT
Directly Connected | SSE Generation Ltd | Kilmorack (part of the Beauly Cascade) | Kilmorack | 20 | 0 | 20 |  | Built | SHET | Hydro
Embedded | Kincardine Offshore Windfarm Limited | Kincardine Offshore Wind Farm | Redmoss 132/33kV Grid Supply Point Substation | 2 | 0 | 2 |  | Built | SHET | Wind Offshore
Embedded | Kincardine Offshore Windfarm Limited | Kincardine Offshore Wind Farm | Redmoss 132/33kV Grid Supply Point Substation | 0 | 47.6 | 49.6 | 01/04/2020 | Under Construction/Commissioning | SHET | Wind Offshore
Embedded | Centrica KL Ltd | Kings Lynn A | Walpole 132KV Substation | 380 | 0 | 380 |  | Built | NGET | CCGT
Directly Connected | EP UK Power Development Limited | King's Lynn 'B' Power Station | King's Lynn 400kV Substation | 0 | 1700 | 1700 | 01/10/2024 | Consents Approved | NGET | CCGT
Embedded | Kirk Hill Wind Farm Limited | Kirk Hill | Maybole | 0 | 20 | 20 | 31/10/2022 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | Pivoted Power LLP | Kirkby (Tertiary) | Kirkby 275/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2021 | Scoping | NGET | Battery Storage
Directly Connected | REG Knockodhar Limited | Knockodhar Wind Farm | Markhill Substation | 0 | 120 | 120 | 30/10/2026 | Scoping | SPT | Wind Onshore
Directly Connected | Banks Renewables (Kype Muir Wind Farm) Limited | Kype Muir | Coalburn 132/33kV | 88.4 | 0 | 88.4 |  | Built | SPT | Wind Onshore
Directly Connected | Pivoted Power LLP | Laleham | Laleham 275/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Battery Storage
Directly Connected | Pivoted Power LLP | Landulph | Landulph 400kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Consents Approved | NGET | Battery Storage
Directly Connected | EP Langage Ltd | Langage | Langage 400kV Substation | 905 | 0 | 905 |  | Built | NGET | CCGT
Directly Connected | Laughton Solar Park Limited | Laughton Solar Park | West Burton 400kV Substation | 0 | 480 | 480 | 30/11/2028 | Scoping | NGET | HYBRID
Directly Connected | Banks Renewables (Lethans Wind Farm) Limited | Lethans Wind Farm | Lethans WF Substation | 0 | 132 | 132 | 26/07/2024 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | Limekiln Wind Limited | Limekiln | Limekilns 132/33kV substation | 0 | 84 | 84 | 01/10/2022 | Consents Approved | SHET | Wind Onshore
Directly Connected | Limekiln Wind Limited | Limekiln | Limekilns 132/33kV substation | 0 | 22 | 106 | 31/10/2027 | Awaiting Consents | SHET | Wind Onshore
Directly Connected | Lincs Wind Farm Ltd | Lincs Offshore Wind Farm | Lincs 33/132kV Offshore Substation | 256 | 0 | 256 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | LISTER BATTERY LTD | Lister Drive | Lister Drive 275/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2021 | Scoping | NGET | Battery Storage
Directly Connected | RWE Generation UK Plc | Little Barford | Eaton Socon 400kV Substation | 740 | 0 | 740 |  | Built | NGET | CCGT
Embedded | Daisy No 2 Limited | Little Raith | Glenniston 132kV Substation | 0 | 50 | 50 | 30/06/2020 | Consents Approved | SPT | Battery Storage
Embedded | SSE Generation Ltd | Livishie (part of the Moriston Cascade) | Glenmoriston | 18 | 0 | 18 |  | Built | SHET | Hydro
Directly Connected | Greenfields (T) Limited | Llanwern Phase 1 | Whitston 275/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2019 | Consents Approved | NGET | PV Array
Directly Connected | Greenfields (Q) Limited | Llanwern Phase 2 | Whitson Substation | 0 | 190 | 190 | 30/09/2023 | Awaiting Consents | NGET | HYBRID
Directly Connected | Bluebell Wind Farm Limited | Loch Luichart Extension II | Loch Luichart Extension II Substation | 0 | 36 | 36 | 31/10/2023 | Scoping | SHET | Wind Onshore
Directly Connected | SSE Generation Ltd | Lochay (Part of Killin Cascade Hydro Scheme) | Lochay | 47 | 0 | 47 |  | Built | SHET | Hydro
Directly Connected | Turbine Marketing SPV Limited T/A Turbine Solar Energy | Lochgoin Solar Farm | Whitelee Extension 275kV Substation | 0 | 89 | 89 | 25/08/2023 | Awaiting Consents | SPT | PV Array
Directly Connected | LZN Ltd | Lochluichart | Corriemoillie 132kV Substation | 69 | 0 | 69 |  | Built | SHET | Wind Onshore
Directly Connected | Loganhead Wind Farm Limited | Loganhead Windfarm | Hopsrig 33kV Collector Substation | 0 | 36 | 36 | 31/10/2026 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | London Array Ltd | London Array Offshore Wind Farm | London Array 33/150kV Offshore Substations | 630 | 0 | 630 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | RWE Renewables UK Developments Limited | Lorg Wind Farm | Lorg Wind Farm Substation | 0 | 49.5 | 49.5 | 30/04/2024 | Scoping | SPT | Wind Onshore
Directly Connected | Pivoted Power LLP | Lovedean | Lovedean 400/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Enso Green Holdings Limited | Lovedean (Tertiary) | Lovedean 400/33kV Substation | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Embedded | SSE Generation Ltd | Lubreoch Hydro (Part of Killin Cascade Hydro Scheme) | Killin | 4 | 0 | 4 |  | Built | SHET | Hydro
Directly Connected | SSE Generation Ltd | Luichart (part of the Conon Cascade) | Luichart | 34 | 0 | 34 |  | Built | SHET | Hydro
Embedded | Lynemouth Power Limited | Lynemouth Power Station | Blyth | 396 | 0 | 396 |  | Built | NGET | Biomass
Embedded | RWE Cogen UK (Hythe) Limited | Lynes Common | Fawley 400kV Substation | 49.9 | 0 | 49.9 |  | Built | NGET | OCGT
Embedded | Nuclear Decommissioning Authority | Maentwrog | Maentwrog | 30 | 0 | 30 |  | Built | NGET | Hydro
Directly Connected | Pivoted Power LLP | Mannington | Mannington | 0 | 49.9 | 49.9 | 30/04/2024 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Mannington Energy Center Limited | Mannington Tertiary | Mannington 400/33kV Substation | 0 | 49.9 | 49.9 | 02/04/2024 | Scoping | NGET | Battery Storage
Directly Connected | Marchwood Power Ltd | Marchwood | Marchwood 400kV Substation | 920 | 0 | 920 |  | Built | NGET | CCGT
Directly Connected | ScottishPower Renewables (UK) Limited | Mark Hill Wind Farm | Mark Hill | 53 | 0 | 53 |  | Built | SPT | Wind Onshore
Embedded | RWE Markinch Ltd | Markinch (Rothes) Biomass CHP Plant | Glenrothes | 55 | 0 | 55 |  | Built | SPT | Biomass
Directly Connected | Keadby Generation Ltd | Medway 2 | Grain 400KV | 0 | 910 | 910 | 30/10/2026 | Scoping | NGET | CCGT
Directly Connected | Medway Power Ltd | Medway Power Station | Grain | 735 | 0 | 735 |  | Built | NGET | CCGT
Embedded | Brookfield Renewable UK Ltd | Meikle Hill Wind Farm | Elgin 275/132kV Substation | 0 | 23 | 23 | 31/10/2022 | Consents Approved | SHET | Wind Onshore
Directly Connected | JBM Solar Projects Ltd | Melksham | Melksham | 0 | 49.99 | 49.99 | 30/10/2024 | Scoping | NGET | HYBRID
Directly Connected | Enso Green Holdings Limited | Melksham (Tertiary) | Melksham GSP | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Directly Connected | MeyGen Ltd | MeyGen Tidal | Gills Bay | 0 | 15 | 15 | 31/10/2024 | Consents Approved | SHET | Tidal
Directly Connected | MeyGen Ltd | MeyGen Tidal | Gills Bay | 0 | 56 | 71 | 31/10/2024 | Consents Approved | SHET | Tidal
Directly Connected | MeyGen Ltd | MeyGen Tidal | Gills Bay | 0 | 83 | 154 | 2025-10-31 | Awaiting Consents | SHET | Tidal
Directly Connected | MeyGen Ltd | MeyGen Tidal | Gills Bay | 0 | 83 | 237 | 2026-10-31 | Awaiting Consents | SHET | Tidal
Directly Connected | Banks Renewables (Middle Muir Wind Farm) Limited | Middle Muir Wind Farm | Middle Muir 132/33kV | 51 | 0 | 51 |  | Built | SPT | Wind Onshore
Embedded | Conrad (Middlewich) Limited | Middlewich Embedded | Carrington | 20 | 0 | 20 | 07/05/2020 | Built | NGET | Gas Reciprocating
Directly Connected | Egnedol Pembroke Eco-Power Ltd | Milford Haven | Pembroke 400kV Substation | 0 | 350 | 350 | 31/10/2022 | Awaiting Consents | NGET | Biomass
Directly Connected | Millbrook Power Limited | Millbrook Power | Millbrook 400kV | 0 | 299 | 299 | 15/07/2022 | Scoping | NGET | OCGT
Directly Connected | Falck Renewables Wind Ltd | Millennium South | Millennium South 132/33kV Substation | 0 | 25 | 25 | 31/10/2021 | Consents Approved | SHET | Wind Onshore
Directly Connected | Millennium Wind Energy Ltd | Millennium Wind | Millennium | 65 | 0 | 65 |  | Built | SHET | Wind Onshore
Directly Connected | JBM Solar Projects Ltd | Minety Tertiary(2) | Minety | 0 | 49.99 | 49.99 | 30/10/2024 | Scoping | NGET | Thermal
Directly Connected | Minnygap Energy Limited | Minnygap | Moffat132/33Kv | 25 | 0 | 25 |  | Built | SPT | Wind Onshore
Embedded | Minsca Wind Farm (Scotland) Ltd | Minsca | Chapelcross | 37.5 | 0 | 37.5 |  | Built | SPT | Wind Onshore
Directly Connected | RWE Renewables UK Developments Limited | Monquhill Wind Farm | Monquhill Wind Farm 33kV Substation | 0 | 10 | 10 | 30/04/2025 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | Moray Offshore Windfarm (East) Ltd | Moray East Offshore Wind Farm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 80 | 80 | 01/01/2021 | Consents Approved | SHET | Wind Offshore
Directly Connected | Moray Offshore Windfarm (East) Ltd | Moray East Offshore Wind Farm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 520 | 600 | 01/04/2021 | Consents Approved | SHET | Wind Offshore
Directly Connected | Moray Offshore Windfarm (East) Ltd | Moray East Offshore Wind Farm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 300 | 900 | 01/04/2021 | Consents Approved | SHET | Wind Offshore
Directly Connected | Moray Offshore Windfarm (West) Limited | Moray West Offshore Windfarm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 800 | 800 | 01/04/2024 | Consents Approved | SHET | Wind Offshore
Directly Connected | Moray Offshore Windfarm (West) Limited | Moray West Offshore Windfarm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 60 | 860 | 31/10/2026 | Consents Approved | SHET | Wind Offshore
Directly Connected | SSE Generation Ltd | Mossford (part of the Conon Cascade) | Mossford | 18.7 | 0 | 18.7 |  | Built | SHET | Hydro
Directly Connected | Peel L&P Wind Farms (No. 1) Limited | Mossy Hill Wind Farm | Mossy Hill 132/33kV Substation | 0 | 49.9 | 49.9 | 01/04/2024 | Consents Approved | SHET | Wind Onshore
Embedded | Eneco Moy Ltd | Moy Wind Farm | Inverness 132/33kV GSP | 60 | 0 | 60 |  | Built | SHET | Wind Onshore
Directly Connected | Uisenis Power Limited | Muaitheabhal Wind Farm | Muaitheabhal 132/33kV Substation | 0 | 150 | 150 | 01/04/2025 | Consents Approved | SHET | Wind Onshore
Directly Connected | SSE Generation Ltd | Nant | Nant | 15 | 0 | 15 |  | Built | SHET | Hydro
Directly Connected | Neart Na Gaoithe Offshore Wind Ltd | Neart Na Gaoithe Offshore Wind Farm | Neart Na Gaoithe 220/66KV Offshore Substation | 0 | 150 | 150 | 01/10/2021 | Consents Approved | SPT | Wind Offshore
Directly Connected | Neart Na Gaoithe Offshore Wind Ltd | Neart Na Gaoithe Offshore Wind Farm | Neart Na Gaoithe 220/66KV Offshore Substation | 0 | 298 | 448 | 01/04/2022 | Consents Approved | SPT | Wind Offshore
Directly Connected | Clearstone Services Limited | North Hyde | CST Seven (North Hyde) | 0 | 49.5 | 49.5 | 01/07/2023 | Scoping | NGET | CCGT
Directly Connected | C.GEN Killingholme Ltd | North Killingholme Power Project | C.Gen North Killingholme | 0 | 540 | 540 | 01/04/2021 | Consents Approved | NGET | CCGT
Directly Connected | North Kyle Wind Farm Limited | North Kyle New Cumnock | New Cumnock | 0 | 212 | 212 | 30/04/2024 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | NLEI Limited | North Lowther Energy Initiative | NLEI Substation | 0 | 151.2 | 151.2 | 31/10/2024 | Scoping | SPT | Wind Onshore
Directly Connected | Solar Century Holdings Limited | North Wales Hybrid | North Wales Hybrid | 0 | 53 | 53 | 02/09/2026 | Scoping | NGET | HYBRID
Directly Connected | CS12 Limited | Norwich | Norwich 400kV Substation | 0 | 49.5 | 49.5 | 01/07/2022 | Consents Approved | NGET | CCGT
Directly Connected | Pivoted Power LLP | Norwich | Norwich 400kV Substation | 0 | 49.9 | 49.9 | 31/10/2024 | Consents Approved | NGET | Battery Storage
Directly Connected | Nursling Energy Two Limited | Nursling Tertiary | Nursling 400/132kV Substation | 0 | 49.9 | 49.9 | 31/10/2019 | Consents Approved | NGET | Battery Storage
Directly Connected | Pivoted Power LLP | Oldbury (Tertiary) | Oldbury 275/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2021 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Ormonde Energy Ltd | Ormonde Offshore Wind Farm | Ormonde 33/132kV Offshore Substation | 150 | 0 | 150 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | SSE Generation Ltd | Orrin (part of the Conon Cascade) | Orrin | 18 | 0 | 18 |  | Built | SHET | Hydro
Embedded | Orsted ESS Mersey Limited | Orsted CRS | Lister Drive 132kV Substation | 20 | 0 | 20 | 05/11/2018 | Built | NGET | Battery Storage
Directly Connected | MONETS GARDEN BATTERY LTD | Osbaldwick | Osbaldwick 400/33kV Substation | 0 | 49.9 | 49.9 | 30/10/2021 | Consents Approved | NGET | Battery Storage
Directly Connected | Offshore Wind Power Limited | OWPL Windfarm |  | 0 | 750 | 750 | 31/10/2029 | Scoping | SHET | Wind Offshore
Directly Connected | Offshore Wind Power Limited | OWPL Windfarm |  | 0 | 1500 | 1500 | 31/10/2031 | Scoping | SHET | Wind Offshore
Embedded | Peak Gen Power 2 Limited | Peak Gen Embedded | Walpole | 20.5 | 0 | 20.5 |  | Built | NGET | Oil & AGT
Directly Connected | RWE Generation UK Plc | Pembroke Power Station | Pembroke 400kV Substation | 2199 | 0 | 2199 |  | Built | NGET | CCGT
Directly Connected | Pen Y Cymoedd Wind Farm Ltd | Pen Y Cymoedd Wind Farm | Rhigos 400kV | 228 | 0 | 228 |  | Built | NGET | Wind Onshore
Directly Connected | Pencloe Wind Energy Ltd | Pencloe Windfarm | Pencloe 132/33kV | 0 | 79.8 | 79.8 | 30/06/2022 | Consents Approved | SPT | Wind Onshore
Directly Connected | Pencloe Wind Energy Ltd | Pencloe Windfarm | Pencloe 132/33kV | 0 | 16.2 | 96 | 29/10/2024 | Awaiting Consents | SPT | Wind Onshore
Embedded | Centrica PB Ltd | Peterborough | Walpole 132KV Substation | 245 | 0 | 245 |  | Built | NGET | CCGT
Directly Connected | SSE Generation Ltd | Peterhead | Peterhead | 1180 | 0 | 1180 |  | Built | SHET | CCGT
Embedded | SSE Generation Ltd | Pitlochry (part of the Clunie Cascade) | Pitlochry | 15 | 0 | 15 |  | Built | SHET | Hydro
Embedded | Viridis 178 Ltd | Plymouth Main | Landulph | 0 | 25.52 | 25.52 |  | Under Construction/Commissioning | NGET | CHP
Embedded | Viridis 178 Ltd | Plymouth Rock | Landulph | 0 | 15.08 | 15.08 |  | Under Construction/Commissioning | NGET | CHP
Directly Connected | Pogbie Wind Farm (Grid) Limited | Pogbie Wind Farm | Pogbie 33kV Substation | 9.6 | 0 | 9.6 |  | Built | SPT | Wind Onshore
Directly Connected | Mostyn Sea Power Limited | Port of Mostyn | Connah's Quay 400kV Substation | 0 | 210 | 210 | 01/04/2024 | Scoping | NGET | Tidal
Directly Connected | Conservation Energy Limited | Porters Wood | Porters Wood 400kV Substation | 0 | 500 | 500 | 01/04/2025 | Scoping | NGET | HYBRID
Directly Connected | Powersite Ltd | Powersite @ Drakelow | Drakelow | 0 | 380 | 380 | 01/10/2020 | Under Construction/Commissioning | NGET | CCGT
Directly Connected | Priestgill Wind Farm Limited | Priestgill Wind Farm | Elvanfoot 33kV Substation | 0 | 41 | 41 | 30/11/2022 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | Progress Power Ltd | Progress Power Station | Yaxley 400kV Substation | 0 | 299 | 299 | 01/08/2022 | Consents Approved | NGET | OCGT
Embedded | SSE Generation Ltd | Quoich (part of the Garry Cascade) | Quoich | 18 | 0 | 18 |  | Built | SHET | Hydro
Directly Connected | Orsted Power (UK) Limited | Race Bank Extension | Racebank Extension 220/66kV Offshore Substation | 0 | 565 | 565 | 01/05/2029 | Scoping | NGET | Wind Offshore
Directly Connected | Race Bank Wind Farm Limited | Race Bank Wind Farm | Race Bank 132/33kV Substation | 565 | 0 | 565 |  | Built | NGET | Wind Offshore
Directly Connected | Rampion Offshore Wind Limited | Rampion Offshore Wind Farm | Rampion 33/132kV Offshore Substation | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Directly Connected | Uniper UK Limited | Ratcliffe on Soar | Ratcliffe 400kV Substation | 2021 | 0 | 2021 |  | Built | NGET | Coal
Embedded | Cinergy Global Power (UK) Ltd | Redditch | Feckenham | 29 | 0 | 29 |  | Built | NGET | CCGT
Embedded | Viridis 178 Ltd | Redfield Road A | Ratcliffe GSP | 20.88 | 0 | 20.88 |  | Built | NGET | CHP
Embedded | Viridis 178 Ltd | Redfield Road B | Ratcliffe GSP | 0 | 20.88 | 20.88 | 05/09/2016 | Under Construction/Commissioning | NGET | Thermal
Directly Connected | RWE Renewables UK Robin Rigg East Ltd | Robin Rigg East Offshore Wind Farm | Robin Rigg East 132/33kV Offshore Substation | 86 | 0 | 86 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | RWE Renewables UK Robin Rigg West Ltd | Robin Rigg West Offshore Wind Farm | Robin Rigg West 132/33kV Offshore Substation | 92 | 0 | 92 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | Pivoted Power LLP | Rochdale | Rochdale 275/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2023 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Rocksavage Power Company Ltd | Rocksavage | Rocksavage | 810 | 0 | 810 |  | Built | NGET | CCGT
Embedded | Centrica Brigg Ltd | Roosecote | Roosecote 132kV | 49 | 0 | 49 |  | Built | NGET | Battery Storage
Directly Connected | Drax Generation Enterprise Limited | Rye House | Rye House | 715 | 0 | 715 |  | Built | NGET | CCGT
Directly Connected | WKN Sallachy Ltd | Sallachy Wind Farm | Sallachy 132kV Substation | 0 | 50 | 50 | 30/04/2024 | Awaiting Consents | SHET | Wind Onshore
Directly Connected | Saltend Cogeneration Company Ltd | Saltend | Saltend South 400kV Substation | 1100 | 0 | 1100 |  | Built | NGET | CCGT
Directly Connected | Sandy Knowe Wind Farm Ltd | Sandy Knowe Wind Farm | Sandy Knowe Wind Farm 132/33kV Substation | 0 | 51 | 51 | 25/02/2022 | Consents Approved | SPT | Wind Onshore
Directly Connected | Sandy Knowe Wind Farm Ltd | Sandy Knowe Wind Farm | Sandy Knowe Wind Farm 132/33kV Substation | 0 | 39 | 90 | 02/04/2024 | Consents Approved | SPT | Wind Onshore
Directly Connected | Sanquhar II Community Wind Company Limited | Sanquhar II Wind Farm | Sanquhar II 132/33kV | 0 | 250 | 250 | 30/04/2024 | Scoping | SPT | Wind Onshore
Directly Connected | Sanquhar Community Wind Company Limited | Sanquhar Wind Farm | Ulzieside 132/33kV | 32.4 | -2.4 | 30 | 01/05/2020 | Built | SPT | Wind Onshore
Directly Connected | Community Windpower Ltd | Scoop Hill Wind Farm | Scoop Hill Wind Farm 132kV Substation | 0 | 500 | 500 | 28/08/2025 | Scoping | SPT | Wind Onshore
Directly Connected | Seabank Power Ltd | Seabank | Seabank 400kV Substation | 1234 | 0 | 1234 |  | Built | NGET | CCGT
Directly Connected | Pivoted Power LLP | Seabank (Tertiary) | Seabank 400/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2021 | Awaiting Consents | NGET | Battery Storage
Embedded | Nuclear Decommissioning Authority | Sellafield | Hutton 132kV Substation | 155 | 0 | 155 |  | Built | NGET | CHP
Directly Connected | Pivoted Power LLP | Sellindge (Tertiary) | Sellindge 400/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2021 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Severn Power Ltd | Severn Power | Uskmouth 275kV Substation | 850 | 0 | 850 |  | Built | NGET | CCGT
Embedded | District Energy Ltd. | Sevington | Sellindge 132kV Substation | 10 | 0 | 10 |  | Built | NGET | CCGT
Directly Connected | EP SHB Limited | SHBEC | South Humber Bank 400kV Substation | 0 | 83 | 83 | 01/01/2023 | Scoping | NGET | CCGT
Directly Connected | ScottishPower Renewables (UK) Limited | Sheirdrim Wind Farm | Sheirdrim 132/33kV Substation | 0 | 84 | 84 | 31/10/2024 | Scoping | SHET | Wind Onshore
Directly Connected | SETT Wind Development Limited | Shepherds Rig Wind Farm | Shepherds Rig Wind Farm 132/33kV Substation | 0 | 84.6 | 84.6 | 30/07/2024 | Scoping | SPT | Wind Onshore
Directly Connected | Scira Offshore Energy Ltd | Sheringham Shoal Offshore Wind Farm | Sheringham Shoal 33/132kV Offshore Substations | 315 | 0 | 315 |  | Built | OFFSHORE | Wind Offshore
Embedded | Drax Generation Enterprise Limited | Shoreham | Bolney | 420 | 0 | 420 |  | Built | NGET | CCGT
Directly Connected | EDF Energy Nuclear Generation Ltd | Sizewell B | Sizewell 132kV Substation | 1223 | 0 | 1223 |  | Built | NGET | Nuclear
Directly Connected | EDF Energy Nuclear Generation Ltd | Sizewell B | Sizewell 132kV Substation | 0 | 7 | 1230 | 01/01/2021 | Under Construction/Commissioning | NGET | Nuclear
Directly Connected | EDF Energy Nuclear Generation Ltd | Sizewell C | Sizewell North 400kV Substation | 0 | 1670 | 1670 | 31/10/2029 | Scoping | NGET | Nuclear
Directly Connected | EDF Energy Nuclear Generation Ltd | Sizewell C | Sizewell North 400kV Substation | 0 | 1670 | 3340 | 31/10/2030 | Scoping | NGET | Nuclear
Directly Connected | ScottishPower Renewables (UK) Limited | Skipness & Corranbuie Windfarm | Skipness & Corranbuie Windfarm | 0 | 105 | 105 | 31/10/2026 | Scoping | SHET | Wind Onshore
Embedded | SSE Generation Ltd | Sloy G1 and G4 | Sloy | 72.5 | 0 | 72.5 |  | Built | SHET | Hydro
Directly Connected | SSE Generation Ltd | Sloy G2 and G3 | Sloy | 80 | 0 | 80 |  | Built | SHET | Hydro
Embedded | Sneddon Law Community Wind Company Limited | Sneddon Law Wind | Kilmarnock Town 275/33kV | 0 | 30 | 30 | 31/10/2018 | Under Construction/Commissioning | SPT | Wind Onshore
Directly Connected | Sofia Offshore Wind Farm Limited | Sofia Offshore Wind Farm | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 600 | 01/04/2023 | Awaiting Consents | NGET | Wind Offshore
Directly Connected | Sofia Offshore Wind Farm Limited | Sofia Offshore Wind Farm | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 1200 | 01/04/2024 | Awaiting Consents | NGET | Wind Offshore
Embedded | District Energy Ltd. | Solutia | Uskmouth | 10 | 0 | 10 |  | Built | NGET | CCGT
Embedded | Solwaybank Energy Limited | Solwaybank | Chapelcross 132/33Kv Substation | 0 | 29.9 | 29.9 | 31/03/2019 | Consents Approved | SPT | Wind Onshore
Embedded | Islay Tidal Power Limited | Sound of Islay Tidal | Port Ann GSP | 0 | 10 | 10 | 30/11/2021 | Consents Approved | SHET | Tidal
Directly Connected | EP SHB Limited | South Humber Bank | South Humber Bank | 1365 | 0 | 1365 |  | Built | NGET | CCGT
Directly Connected | South Kyle Wind Farm Limited | South Kyle | New Cumnock | 0 | 235 | 235 | 01/04/2022 | Consents Approved | SPT | Wind Onshore
Directly Connected | South Kyle Wind Farm Limited | South Kyle | New Cumnock | 0 | -41 | 194 | 30/04/2022 | Consents Approved | SPT | Wind Onshore
Directly Connected | South Kyle Wind Farm Limited | South Kyle | New Cumnock | 0 | -29 | 165 | 30/08/2022 | Consents Approved | SPT | Wind Onshore
Directly Connected | South Kyle Wind Farm Limited | South Kyle | New Cumnock | 0 | 70 | 235 | 30/10/2022 | Consents Approved | SPT | Wind Onshore
Directly Connected | Spalding Energy Company Limited | Spalding | Spalding North 400kV Substation | 950 | 0 | 950 |  | Built | NGET | CCGT
Directly Connected | Spalding Energy Expansion Limited | Spalding Energy Expansion | Spalding | 299.99 | 0 | 299.99 |  | Built | NGET | HYBRID
Directly Connected | Spalding Energy Expansion Limited | Spalding Energy Expansion | Spalding | 0 | 550.01 | 850 | 30/09/2021 | Consents Approved | NGET | HYBRID
Directly Connected | Pivoted Power LLP | Spennymoor | Spennymoor 400/132kV Substation | 0 | 49.9 | 49.9 | 31/10/2023 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Statera Energy Limited | St Dennis Hendra PV | Indian Queens 400kV Substation | 0 | 49.9 | 49.9 | 30/06/2025 | Scoping | NGET | PV Array
Directly Connected | RWE Generation UK Plc | Staythorpe C | Staythorpe | 1752 | 0 | 1752 |  | Built | NGET | CCGT
Directly Connected | Stornoway Wind Farm Limited | Stornoway Wind Farm | Stornoway 132/33kV Substation | 0 | 180 | 180 | 01/04/2025 | Consents Approved | SHET | Wind Onshore
Directly Connected | EDF Energy Renewables Limited | Stranoch Wind Farm | Stranoch Wind 132/33KV | 0 | 102 | 102 | 30/09/2024 | Consents Approved | SPT | Wind Onshore
Directly Connected | SSE Generation Ltd | Strathy North and South Wind | Strathy North and Strathy South 132/33kV Substation | 67.65 | 0 | 67.65 |  | Built | SHET | Wind Onshore
Directly Connected | SSE Generation Ltd | Strathy North and South Wind | Strathy North and Strathy South 132/33kV Substation | 0 | 157.6 | 225.25 | 01/04/2024 | Consents Approved | SHET | Wind Onshore
Directly Connected | SSE Generation Ltd | Strathy North and South Wind | Strathy North and Strathy South 132/33kV Substation | 0 | 50 | 275.25 | 31/08/2025 | Scoping | SHET | Wind Onshore
Directly Connected | RWE Renewables UK Developments Limited | Strathy Wood | Strathy Wood | 0 | 54.4 | 54.4 | 01/05/2024 | Awaiting Consents | SHET | Wind Onshore
Directly Connected | Stronelairg Wind Farm Limited | Stronelairg | Stronelairg 132/33kV Substation | 227.8 | 0 | 227.8 |  | Built | SHET | Wind Onshore
Embedded | Viridis 178 Ltd | Sudmeadow | Port Ham 132kV Substation | 41.76 | 0 | 41.76 | 24/05/2017 | Built | NGET | Thermal
Directly Connected | CSE21 Limited | Sundon | Sundon 400kV Substation | 0 | 49.5 | 49.5 | 01/07/2022 | Scoping | NGET | CCGT
Directly Connected | Pivoted Power LLP | Sundon Pivoted Power | Sundon GSP | 0 | 49.9 | 49.9 | 31/10/2022 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Sutton Bridge Power Generation | Sutton Bridge | Walpole | 850 | 0 | 850 |  | Built | NGET | CCGT
Directly Connected | Tidal Lagoon (Swansea Bay) Plc | Swansea Bay | Baglan Bay 275kV Substation | 0 | 320 | 320 | 01/06/2023 | Consents Approved | NGET | Tidal
Directly Connected | Pivoted Power LLP | Swansea North | Swansea North 400/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2026 | Awaiting Consents | NGET | Battery Storage
Embedded | SSE Renewables Developments (UK) Ltd | Tangy III Wind Farm | Carradale | 0 | 39.1 | 39.1 | 01/04/2023 | Consents Approved | SHET | Wind Onshore
Embedded | Coronation Power Limited | Tarland | Tarland | 0 | 20 | 20 | 04/10/2020 | Awaiting Consents | SHET | Battery Storage
Directly Connected | Pivoted Power LLP | Taunton | Taunton | 0 | 49.9 | 49.9 | 31/10/2023 | Awaiting Consents | NGET | Battery Storage
Embedded | Uniper UK Limited | Taylors Lane | Willesden | 144 | 0 | 144 |  | Built | NGET | CCGT
Directly Connected | Sembcorp Utilities (UK) Ltd | Tees CCPP | Greystones | 0 | 850 | 850 | 30/09/2024 | Consents Approved | NGET | CCGT
Directly Connected | Sembcorp Utilities (UK) Ltd | Tees CCPP | Greystones | 0 | 850 | 850 | 30/09/2026 | Consents Approved | NGET | CCGT
Directly Connected | MGT Teesside Ltd | Tees Renewable Energy Plant | Lackenby | 285 | 0 | 285 |  | Built | NGET | Biomass
Directly Connected | Clearstone Services Limited | Templeborough | Templeborough | 0 | 49.5 | 49.5 | 01/07/2023 | Consents Approved | NGET | CCGT
Directly Connected | Vattenfall Wind Power Ltd | Thanet Extension Offshore Wind Farm | Richborough 400kV Substation | 0 | 340 | 340 | 30/04/2023 | Scoping | OFFSHORE | Wind Offshore
Directly Connected | Thanet Offshore Wind Ltd | Thanet Offshore Wind Farm | Thanet 33/132kV Offshore Substation | 300 | 0 | 300 |  | Built | OFFSHORE | Wind Offshore
Embedded | EPR Thetford Limited | Thetford | Bramford 400kV | 41 | 0 | 41 |  | Built | NGET | Biomass
Directly Connected | Thurrock Power Limited | Thurrock | Tilbury 275kV Substation | 0 | 600 | 600 | 21/12/2020 | Scoping | NGET | HYBRID
Embedded | ESB Independent Generation Trading Ltd | Tilbury | Tilbury 132kV Substation | 43 | 0 | 43 |  | Built | NGET | Biomass
Directly Connected | SSE Toddleburn Ltd | Toddleburn Wind Farm | Toddleburn Wind Farm | 27.6 | 0 | 27.6 |  | Built | SPT | Wind Onshore
Directly Connected | EDF Energy Nuclear Generation Ltd | Torness | Torness | 1250 | 0 | 1250 |  | Built | SPT | Nuclear
Embedded | SSE Generation Ltd | Torr Achilty (part of the Conon Cascade) | Torr Achilty | 15 | 0 | 15 |  | Built | SHET | Hydro
Directly Connected | Pivoted Power LLP | Tottenham | Tottenham 275kV Substation | 0 | 49.9 | 49.9 | 02/01/2023 | Scoping | NGET | Battery Storage
Embedded | Viridis 178 Ltd | Trafalgar Park | Willington | 14 | 0 | 14 |  | Built | NGET | Thermal
Directly Connected | Wainstones Energy Ltd | Trafford Power | Carrington 400kV | 0 | 2050 | 2050 | 15/07/2020 | Consents Approved | NGET | CCGT
Directly Connected | Tralorg Wind Farm Limited | Tralorg Wind Farm | Tralorg 33KV | 0 | 20 | 20 | 30/10/2019 | Consents Approved | SPT | Wind Onshore
Directly Connected | Triton Knoll Offshore Wind Farm Ltd | Triton Knoll Offshore Wind Farm | Triton Knoll Offshore Substation | 0 | 360 | 360 | 01/06/2020 | Under Construction/Commissioning | NGET | Wind Offshore
Directly Connected | Triton Knoll Offshore Wind Farm Ltd | Triton Knoll Offshore Wind Farm | Triton Knoll Offshore Substation | 0 | 540 | 900 | 01/04/2021 | Under Construction/Commissioning | NGET | Wind Offshore
Directly Connected | EDF Energy Renewables Limited | Troston Wind Farm | Troston Wind Farm 132kV Substation | 0 | 68 | 68 | 30/10/2025 | Awaiting Consents | SPT | Wind Onshore
Embedded | Tullo Wind Farm Ltd | Tullo Wind Farm | Bridge of Dun | 17 | 0 | 17 |  | Built | SHET | Wind Onshore
Embedded | Tullymurdoch Limited | Tullymurdoch Wind Farm | Coupar Angus | 17.5 | 0 | 17.5 |  | Built | SHET | Wind Onshore
Directly Connected | Twentyshilling Limited | Twentyshilling Wind Farm | Glenglass 33kV Substation | 0 | 37.8 | 37.8 | 30/04/2020 | Consents Approved | SPT | Wind Onshore
Embedded | Twinshiels Wind Farm Ltd | Twinshiels (Tullo 2) Wind Farm | Fiddes GSP | 25 | 0 | 25 |  | Built | SHET | Wind Onshore
Directly Connected | Upware Solar Limited | Upware Solar Farm | Burwell 400/33kV Substation | 0 | 49.99 | 49.99 | 30/08/2021 | Scoping | NGET | PV Array
Directly Connected | Uskmouth Power Company | Uskmouth | Uskmouth 132kV Substation | 230 | 0 | 230 |  | Built | NGET | Coal
Directly Connected | Norfolk Vanguard Limited | Vanguard | Platform EA6A and Platform EA6B and Platform EA6C 220/33kV Substations | 0 | 900 | 900 | 01/04/2024 | Scoping | NGET | Wind Offshore
Directly Connected | Norfolk Vanguard Limited | Vanguard | Platform EA6A and Platform EA6B and Platform EA6C 220/33kV Substations | 0 | 900 | 1800 | 01/04/2024 | Scoping | NGET | Wind Offshore
Directly Connected | Viking Energy Wind Farm LLP | Viking Wind Farm | Kergord | 0 | 457 | 457 | 01/04/2024 | Consents Approved | SHET | Wind Onshore
Directly Connected | Walney Extension Limited | Walney 3 Offshore Wind Farm | Walney 3 Offshore Substation | 330 | 0 | 330 |  | Built | NGET | Wind Offshore
Directly Connected | Walney Extension Limited | Walney 4 Offshore Wind Farm | Walney 4 Offshore Substation | 330 | 0 | 330 |  | Built | NGET | Wind Offshore
Directly Connected | Walney (UK) Offshore Windfarms Limited | Walney I Offshore Wind Farm | Walney 1 33/132kV Offshore Substation | 182 | 0 | 182 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | Walney (UK) Offshore Windfarms Ltd | Walney II Offshore Wind Farm | Walney 2 33/132kV Substation | 182 | 0 | 182 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | Pivoted Power LLP | Walpole | Walpole 400/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Awaiting Consents | NGET | Battery Storage
Directly Connected | Enso Green Holdings Limited | Walpole 1 (Tertiary) | Walpole 400/33kV Substation | 0 | 57 | 57 | 01/10/2024 | Scoping | NGET | HYBRID
Directly Connected | Enso Green Holdings Limited | Walpole 2 (tertiary) | Walpole 400kV Substation | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Directly Connected | Clearstone Services Limited | Warley | Warley 400kV Substation | 0 | 49.5 | 49.5 | 31/10/2022 | Scoping | NGET | CCGT
Directly Connected | Enso Green Holdings Limited | Warley (tertiary) | Warley 275/33kV Substation | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | HYBRID
Embedded | Viridis 178 Ltd | Water Lane | Exeter GSP | 20.88 | 0 | 20.88 |  | Built | NGET | CHP
Directly Connected | Waterbeach Solar Limited | Waterbeach Solar Farm | Burwell 400/33kV Substation | 0 | 49.99 | 49.99 | 30/06/2022 | Scoping | NGET | PV Array
Directly Connected | EDF Energy (Thermal Generation) Limited | West Burton A | West Burton 400kV Substation | 1975 | 0 | 1975 |  | Built | NGET | Coal
Directly Connected | EDF Energy (Thermal Generation) Limited | West Burton B | West Burton 400kV Substation | 1333 | 0 | 1333 |  | Built | NGET | CCGT
Directly Connected | EDF Energy (TSO) Limited | West Burton Energy Storage | West Burton 400kV Substation | 0 | 0 | 0 |  | Under Construction/Commissioning | NGET | Battery Storage
Directly Connected | Morecambe Wind Ltd | West of Duddon Sands Offshore Wind Farm | West of Duddon Sands 34/155kV Offshore Substation | 382 | 0 | 382 |  | Built | OFFSHORE | Wind Offshore
Directly Connected | Pivoted Power LLP | West Weybridge | West Weybridge 275/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2023 | Scoping | NGET | Battery Storage
Directly Connected | Westermost Rough Ltd | Westermost Rough Offshore Wind Farm | Hedon 275kV Substation | 206.5 | 0 | 206.5 |  | Built | OFFSHORE | Wind Offshore
Embedded | Hargreaves Services PLC | Westfield | Westfield | 0 | 23 | 23 | 30/06/2022 | Scoping | SPT | HYBRID
Embedded | Hargreaves Services PLC | Westfield | Westfield | 0 | 32 | 55 | 30/04/2023 | Scoping | SPT | HYBRID
Directly Connected | Whitelaw Brae Windfarm Limited | Whitelaw Brae Windfarm | Whitelaw Brae 'A' and 'B' 33kV Substations | 0 | 57 | 57 | 31/10/2022 | Scoping | SPT | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Whitelee | Whitelee | 305 | 0 | 305 |  | Built | SPT | Wind Onshore
Directly Connected | ScottishPower Renewables (UK) Limited | Whitelee Extension | Whitelee Extension | 206 | 0 | 206 |  | Built | SPT | Wind Onshore
Directly Connected | Whiteside Hill Windfarm (Scotland) Limited | Whiteside Hill Wind Farm | Glenglass 132/33kV Substation | 27 | 0 | 27 |  | Built | SPT | Wind Onshore
Directly Connected | Pivoted Power LLP | Whitson | Whitson 275kV Substation | 0 | 49.9 | 49.9 | 31/10/2026 | Scoping | NGET | Battery Storage
Directly Connected | Calon Energy Limited | Willington | Willington | 0 | 317 | 317 | 01/04/2021 | Consents Approved | NGET | HYBRID
Directly Connected | Calon Energy Limited | Willington | Willington | 0 | 828 | 1145 | 01/02/2022 | Consents Approved | NGET | HYBRID
Directly Connected | Calon Energy Limited | Willington | Willington | 0 | 828 | 1973 | 01/04/2022 | Consents Approved | NGET | HYBRID
Directly Connected | Pivoted Power LLP | Willington | Willington 400/33kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Battery Storage
Directly Connected | Sembcorp Utilities (UK) Ltd | Wilton | Wilton 66kV | 141 | 0 | 141 |  | Built | NGET | CCGT
Directly Connected | Windy Rig Wind Farm Limited | Windy Rig Wind Farm | Blackhill 132/33kV | 0 | 42.8 | 42.8 | 30/04/2020 | Scoping | SPT | Wind Onshore
Directly Connected | Brockloch Rig Windfarm Ltd | Windy Standard II (Brockloch Rig 1) Wind Farm | Dun Hill 132/33kV Substation | 61.5 | 0 | 61.5 |  | Built | SPT | Wind Onshore
Directly Connected | Brockloch Rig Windfarm Ltd | Windy Standard II (Brockloch Rig 1) Wind Farm | Dun Hill 132/33kV Substation | 0 | 13.5 | 75 | 30/04/2022 | Consents Approved | SPT | Wind Onshore
Directly Connected | Brockloch Rig III Limited | Windy Standard III Wind Farm | Dun Hill | 0 | 43.5 | 43.5 | 28/04/2023 | Awaiting Consents | SPT | Wind Onshore
Directly Connected | CS UK Holdings III Limited | Worset Solar Park | Hartmoor 275kV Substation | 0 | 38 | 38 | 30/09/2021 | Scoping | NGET | PV Array
Directly Connected | Nuclear Decommissioning Authority | Wylfa | Wylfa 400kV Substation | 0 | 0 | 0 |  | Built | NGET | Nuclear
Directly Connected | Enso Green Holdings Limited | Wylfa Substation | Wylfa 132kV Substation | 0 | 120 | 120 | 31/10/2024 | Scoping | NGET | HYBRID
Directly Connected | Pivoted Power LLP | Wymondley | Wymondley 400/132kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Awaiting Consents | NGET | Battery Storage