## Sheet 1
Question No. | Publication date | Question source | Topic | Question | Answer
1 | 2020-09-30 | Sli.do | Window time | Will the daily STOR window times change? | Not materially, but the start and finish hours may change in line with control room requirements. This is no change to the existing service, in that the SCT's allow us to review the availability window hours.
2 | 2020-09-30 | Sli.do | Weekend tender | Will there be a tender for the weekend or is the expectation to run tenders on Saturday/Sundays? | Our obligations under CEP article 6.9 are quite clear on procurement of contracts, and we will need to contract at least 30% day ahead, so we will need to award contracts each day (inclusive of weekends). As there is no obligation on when tenders can be launched, so we have some flexibility, and we're currently looking at what options are available. This may include opening tenders a number of days ahead, which could mean that providers can tender on week days only.
3 | 2020-09-30 | Sli.do | Reserve reform | Appreciate the need to re-establish a CEP-compliant STOR service but can ESO provide us with clarity when there will proper engagement on the reform of Reserve? | We have now started the the process of reserve reform work, and our project team is busy pulling together a plan and timetable for it, This will be communicated to the industry once agreed, which will include stakeholder engagement steps. This work will cover the requirements for Fast Reserve, STOR and TERRE along with new downward reserve products.
4 | 2020-09-30 | Sli.do | Procurement | Hi, why continue to procure STOR, when both non-BM and BM can be accessed via the Balancing mechanism? | There is a firm requirement for STOR. Where procuiring STOR at day ahead is economic compared with the alterantive of accessing the volume in scheduling timescales, the balancing capcity is valuable to the ESO.
5 | 2020-09-30 | Sli.do | Procurement | I assume anyone already participating in STOR will be automatically qualified to take part in the new Daily Auction | Yes. There will be now new requirement on pre-qualifed providers - We may need to work with providers to refresh or align to any changes to the contracting framework, but we would look to minimise this for existing pre-qualified providers. We will clarify this over the coming weeks. NBM providers will need to ensure their systems are able to communicate with our Platform for Ancillary Services (PAS) as part of the current pre-qualification.
6 | 2020-09-30 | Sli.do | Tender process | Do participants need to tender and be available for the whole day or could they tender for single windows only? | All windows on each day are part of day ahead tender.
7 | 2020-09-30 | Sli.do | Volume of long term contract | How many MWs of STOR are already contracted from 1 Apr 2021? | There is in the region of 400MW of long term STOR contacted. These will expire in March 2025. The aim is to procure the remaining requirement at day ahead.
8 | 2020-09-30 | Sli.do | Long term contract | Will the Capacity that is already procured using in Long Term contracts made available in advance?
9 | 2020-09-30 | Sli.do | Volume | How much of the 1700MW target would be procured at day-ahead?
10 | 2020-09-30 | Sli.do | Volume of long term contract | How many MWs are under long-term STOR contracts and when do these contracts expire?
11 | 2020-09-30 | Sli.do | System requirement | the 1700MW, how was this figure arrived at? Previously 2300MW was procured, albeit flex providers were diluted in the MW holding calc. | As mentioned in the webinar, STOR is required to cover demand forecast errors, generation losses, market imbalance etc. The primary driver for the STOR system requirement is the largest generation loss on the system, and historic despatch reliability is also taken into account. In the past additional STOR has been procured to offset other reserve making the STOR procurement volume closer to 2300MW. We will not be procuring this from the 1st April and instead leave this to scheduling timescales. The net requirement procured at day ahead is likely to be around 1300MW after allowing for around 400MW of long term STOR already procured until 2025.
12 | 2020-09-30 | Sli.do | Utilisation price | At tender time, NGESO will be unable to separate a slow plant at high U price from a fast plant at low U price. How will this be dealt with? | All STOR providers meet the minimun requirements for STOR. All providers are able to change their prices following the day ahead auction for balancing capacity. The control room will dispatch reserve when needed using both technical and economic factors.
13 | 2020-09-30 | Sli.do | Settlement | Is P354 for non-BM only ? | Think this is related to ABSVD for settlement, we could take it back if not confirmed the answer
14 | 2020-09-30 | Sli.do | CEP derogation | Ref the Pay as Bid derogation on Utilisation £/MWh: what date does the Ofgem derogation end please? | It has been requested such that it will last for 2 years from when it is approved. We are working with OFGEM to answer queries they have had on the information that has been submitted. Note that unlike EBGL regulation, there is no timeline for a decision to be published from an NRA.
15 | 2020-09-30 | Sli.do | Auction rules | Will the auction allow 'paradoxical bids' ? i.e ability to curtail a bid to a floor level? ( like weekly FFR ) | No these are currently not possible in STOR and will not be from April 2021 either.
16 | 2020-09-30 | Sli.do | Availability price assessment | Why is only availability pay as clear? What does EBGL say on this? | The Clean Energy Package states that the settlement of balancing energy shall be on a pay-as-clear basis unless TSOs can provide evidence that different pricing methods are more efficient. Our analysis shows that pay-as-bid is more efficient for STOR utilisation as the economic theory that suggests that pay-as-clear results in a more efficient outcomes does not hold (i.e. it is homogenous, there is sufficient levels of competition and there is perfect information available to the market). There is no requirement for availability to be a particular settlement method (regarding PAB or PAC) so we have selected the most efficient method.
17 | 2020-09-30 | Sli.do | CEP compliance | Post January 2021, will the ESO still need to adhere to the CEP? | We are still waiting for clarity on the final trade agreement. However we believe whatever the outcome, the requirements of CEP will still be in place in some format. The CEP regulation is looking to increase renewable generation and lower costs to consumers so it makes sense for it to still be applicable
18 | 2020-09-30 | Sli.do | Service requirement | The Current STOR Windows run out on 31 March 2020, so we would like clarification if the new one’s will be published OR if process is changing going forward. | We expect to share any changes to the existing windows over the coming months and share with providers at the earliest opportunity, and certainly but December 2020 as we have historically done.
19 | 2020-09-30 | Sli.do | API integration | Will the current declaration API work alongside the new salesforce tendering interface
20 | 2020-09-30 | Sli.do | Tender rules | Will it be possible to submit multiple bids for the same plant i.e. split a plant into smaller units (min 3MW)? | No, that would not align with the existing STOR service rules which stipulates that when providing STOR from a STOR site/unit the same unit/site cannot be providing other services at the same time. If the generation can be split into individual unit/sites with separate metering (MPAN, etc) and independently instructed and pre-qualified individually then this would be acceptable.
21 | 2020-09-30 | Sli.do | System requirement | Why continue to procure firm STOR if firm Fast Reserve has ceased? | Firm STOR is a different product from Firm Fast Reserve, and is procured to meet a separate requirement from the requirement for fast reserve. As we have described there is still an ongoing need for STOR for the reasons mentioned. Firm Fast Reserve has ceased primarily because the procurement method was not compliant with CEP. We are still reviewing the ongoing need for firm fast reserve as part of reserve reform, but currently our requirements for this service are being met by a combination of optional fast reserve and BM units with suitable dynamic parameters, depending on the most economic option at the time.
22 | 2020-09-30 | Sli.do | Utilistation price | Will the ESO consider the utilisation prices providers might submit as part of the auction assessment? | No all utilisation prices can be changed following the STOR day ahead auction so these parameters are not included in the auction at day ahead.
23 | 2020-09-30 | Sli.do | Service requirement | The 20min response time - why is this requirement maintained and are there any plans to review as we move towards 100% day-ahead? | We're looking to make the minimum changes to the existing service to accommodate day-ahead procurement. Any wider changes will be picked up through reserve reform.
24 | 2020-09-30 | Sli.do | System requirement | But is the STOR capacity still valuable if the utilisation price is not fixed? | Yes, there is a firm requirement for STOR, where procuiring STOR at day ahead is economic compared with the alterantive of accessing the volume in scheduling timescales the balancing capcity is valuable to the ESO.
25 | 2020-09-30 | Sli.do | Reserve Reform | Can we see a firm ESO commitment to publication date of the Timetable for Reserve Reform? Quite astonishing that a 'SNaPS-update' timetable is not available now | We are commited to publish the plan and roadmap for reserve reform in our forward plan, and our project team is working on it and will reach out to the market ASAP once it confirmed, we are working very hard to prioritise our resource and time to deliver this together with other work such as DC and the STOR work
26 | 2020-09-30 | Sli.do | System requirement | How will requirement be impacted by the fallout of the reserve from storage trial? | Battery storage is a different category of reserve service to STOR, with different timescales and parameters, and as such it should not affect the day ahead STOR requirements.
27 | 2020-09-30 | Sli.do | Assessment principles | how can you prevent gaming here? Bidding low on availability to get in, then ramping offer price for utilisation? | The ESO is committed to creating open, transparent and competitive markets. Competitive, transparent markets are facilitated by the price being set in real time to reflect scarcity. Both EBGL and the CEP therefore require that the price of energy is not locked into a capacity contract. The competition in the real time market for balancing energy will allow the prices for utilisation of reserve to be reflective. Balancing capacity is secured using the STOR auction at day ahead where this is cheaper than the alternative actions required by the ESO in scheduling timescales. Balancing energy is instructed in real time and considers both economic and technical parameters. When balancing energy is needed the control room will look at the options available to them, not just contracted STOR providers. A provider who submits a high offer price for utilisation will be higher in the stack and will be utilised less frequently than a provider with a lower offer price - assuming their technical parameters are the same. The real time market for balancing energy is made up of STOR providers, optional STOR providers and BMUs so to be utilised needs to be econimic compared with these options as well.
28 | 2020-09-30 | Sli.do | Pay as clear | But different providers have different technical parameters, so the capacity is not strictly homogeneous. If anything, surely the energy side is homogeneous? | Balancing capacity is secured using the STOR auction at day ahead. The only factors affecting this decision is volume and price so is considered to be homogeneous. Balancing energy is instructed in real time and considers both economic and technical parameters so is not considered to be homogeneous.
29 | 2020-09-30 | Sli.do | Procurement | STOR surely holds some value for 24/7, rather than 2 window? why not open to be whole day? | We're looking to make the minimum changes to the existing service to accommodate day-ahead procurement. Any wider changes will be picked up through reserve reform.
30 | 2020-09-30 | Sli.do | Procurement strategy | Will you always contract the full volume you require at day ahead? | The remaining STOR requirement not already filled with the long term contacts is aimed to be fulled at day ahead, where it is economic to do so. We are still pursing at derogation to allow some procurement ahead of time, if our systems are not ready for the April deadline.
31 | 2020-09-30 | Sli.do | Utilisation price | Thanks for clear answers. I think the proposal is great for providers, but I really can’t see what benefit the ESO gets if utilisation prices are not fixed | Thank you for this feedback. CEP Article 6(2) states that the price of balancing energy must not be pre-determined in balancing capacity contracts. This is not a case of being beneficial or not to NGESO, this is a case of complying with the regulation.
32 | 2020-09-30 | Sli.do | Weekend tender | no weekends ! :) | This will be considered as feedback rather than questions and we would like to understand the reasons behind it. We will consider this while desigining the detailed process later. Further feedback is welcomed through the Sli.do survey or via email to commercial.operation@nationalgrideso.com
33 | 2020-09-30 | Sli.do | Assessment principles | please clarify; - a 1Min and a 19min response time will be judged equally? | Yes, in the auction for balancing capacity these will be treated equally but in the dispatch of balancing energy these will not be treated the same.