## Interconnector Register
Interconnector Register as on 15/10/2020
Customer Name | Project Name | Connection Site | MW Import - Current | MW Export - Current | MW Import - Increase / Decrease | MW Export - Increase / Decrease | MW Import - Total | MW Export - Total | MW Effective From | Project Status | HOST TO
AMINTH ENERGY LTD | Aminth | Norwich Main 400kV | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 31/10/2028 | Scoping | NGET
AQUIND LIMITED | Aquind Interconnector | Lovedean 400kV | 0 | 0 | 2000 | 2000 | 2000 | 2000 | 30/06/2024 | Awaiting Consents | NGET
MOYLE INTERCONNECTOR LIMITED* | Auchencrosh (interconnector CCT) | Auchencrosh | 80 | 450 | 0 | 0 | 80 | 450 | 30/11/2020 | Built | SPT
MOYLE INTERCONNECTOR LIMITED* | Auchencrosh (interconnector CCT) | Auchencrosh | 80 | 450 | 170 | 0 | 250 | 450 | 01/12/2020 | Built | SPT
MOYLE INTERCONNECTOR LIMITED* | Auchencrosh (interconnector CCT) | Auchencrosh | 250 | 450 | -90 | 0 | 160 | 450 | 01/11/2021 | Built | SPT
MOYLE INTERCONNECTOR LIMITED* | Auchencrosh (interconnector CCT) | Auchencrosh | 160 | 450 | 340 | 0 | 500 | 450 | 01/04/2022 | Built | SPT
BRITNED DEVELOPMENT LIMITED | Britned | Grain 400kV | 1200 | 1200 | 0 | 0 | 1200 | 1200 |  | Built | NGET
NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | Continental Link | Creyke Beck 400kV | 0 | 0 | 1800 | 1800 | 1800 | 1800 | 01/09/2027 | Scoping | NGET
CRONOS ENERGY LTD | Cronos | Kemsley | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 31/10/2025 | Scoping | NGET
EirGrid Interconnector Limited | East West Interconnector | Deeside 400kV Substation | 505 | 500 | 0 | 0 | 505 | 500 |  | Built | NGET
ElecLink Ltd | ElecLink | Sellindge 400kV | 0 | 0 | 1000 | 1050 | 1000 | 1050 | 30/06/2019 | Under Construction/Commissioning | NGET
NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | EuroLink | Leiston 400kV | 0 | 0 | 1600 | 1600 | 1600 | 1600 | 30/10/2024 | Scoping | NGET
FAB LINK LIMITED | FAB Link Interconnector | Exeter Main 400kV | 0 | 0 | 1400 | 1460 | 1400 | 1460 | 01/04/2025 | Awaiting Consents | NGET
GREENLINK INTERCONNECTOR LIMITED | Greenlink | Pembroke 400kV | 0 | 0 | 504 | 524 | 504 | 524 | 01/02/2023 | Scoping | NGET
GRIDLINK INTERCONNECTOR LIMITED | Gridlink Interconnector | Kingsnorth | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 18/06/2024 | Scoping | NGET
NATIONAL GRID IFA 2 LIMITED | IFA2 Interconnector | Chilling 400kV | 0 | 0 | 1100 | 1150 | 1100 | 1150 | 31/10/2019 | Under Construction/Commissioning | NGET
NATIONAL GRID INTERCONNECTORS LIMITED | IFA Interconnector | Sellindge 400kV | 2000 | 2000 | 0 | 0 | 2000 | 2000 |  | Built | NGET
MANX UTILITIES | Isle of Man Interconnector | Bispham 132KV Substation | 74 | 74 | 0 | 0 | 74 | 74 |  | Built | NGET
KULIZUMBOO LIMITED | Kulizumboo Interconnector | Canterbury 400kV GIS Substation | 0 | 0 | 700 | 700 | 700 | 700 | 31/10/2027 | Scoping | NGET
OPIC ENERGY LIMITED | MARES | Bodelwyddan 400kV | 0 | 0 | 750 | 750 | 750 | 750 | 01/04/2025 | Awaiting Consents | NGET
NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | Nautilus | Leiston 400kV | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 30/09/2027 | Scoping | NGET
NEMO LINK LIMITED | Nemo Link | Richborough 400kV | 1020 | 1046 | 0 | 0 | 1020 | 1046 |  | Built | NGET
NEUCONNECT BRITAIN LTD | NeuConnect Interconnector | Grain West 400kV Substation | 0 | 0 | 1400 | 1470 | 1400 | 1470 | 31/12/2023 | Awaiting Consents | NGET
NORTHCONNECT LIMITED | NorthConnect | Peterhead | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 31/10/2024 | Scoping | SHET
NATIONAL GRID NORTH SEA LINK LIMITED | NS Link | Blyth | 0 | 0 | 1400 | 1480 | 1400 | 1480 | 30/09/2020 | Under Construction/Commissioning | NGET
FRONTIER POWER INTERNATIONAL LIMITED | SENECA | Mablethorpe 400kV | 0 | 0 | 1254 | 1200 | 1254 | 1200 | 30/11/2031 | Scoping | NGET
NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | Southernlink | Grain 400kV | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 01/09/2027 |  | NGET
Tarchon Energy Limited | Tarchon | Corringham 400kV | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 31/10/2026 | Scoping | NGET
ATLANTIC SUPERCONNECTION LLP | The Superconnection | Creyke Beck 400kV | 0 | 0 | 1000 | 1000 | 1000 | 1000 | 01/09/2027 | Scoping | NGET
NATIONAL GRID VIKING LINK LIMITED | Viking Link Denmark Interconnector | Bicker Fen 400kV | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 31/10/2022 | Consents Approved | NGET
*Note: The MW Total MW Import figures represent firm TEC. Moyle holds a total of 500MW TEC which is subject to operational restrictions.
CUSC Definition paragraph 9.4
9.4 EXPORT OF POWER FROM THE INTERCONNECTOR CONNECTION SITE
* MW Import | Subject to the other provisions of the CUSC, the relevant Bilateral Connection Agreement and the Grid Code and any Operating Agreement, The Company shall accept into the National Electricity Transmission System at the Connection Site of an Interconnector power up to the Transmission Entry Capacity and (if any) STTEC and\or LDTEC and\or any Temporary Received TEC less any Temporary Donated TEC for the relevant Period as specified in Appendix C to the relevant Bilateral Connection Agreement except to the extent (if any) that The Company is prevented from doing so by transmission constraints which could not be avoided by the exercise of Good Industry Practice.
CUSC Definition paragraph 9.5
9.5 IMPORT OF POWER TO THE INTERCONNECTOR CONNECTION SITE
* MW Export | Subject to the other provisions of the CUSC, the relevant Bilateral Connection Agreement, the Grid Code and any Operating Agreement, The Company shall transport a supply of power to a Connection Site of an Interconnector through the National Electricity Transmission System up to the amount specified in the Bilateral Connection Agreement except to the extent (if any) that The Company is prevented from doing so by transmission constraints which could not be avoided by the exercise of Good Industry Practice by The Company.