## Interconnector Reg 26-03-2024
Customer Name | Project Name | Connection Site | Stage | MW Import - Current | MW Export - Current | MW Import - Increase / Decrease | MW Export - Increase / Decrease | MW Import - Total | MW Export - Total | MW Effective From | Project Status | HOST TO | Project No
AMINTH ENERGY LTD | Aminth | Mablethorpe 400kV Substation |  | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 2031-11-30 | Scoping | NGET | PRO-000980
AQUIND LIMITED | Aquind Interconnector | Lovedean 400kV Substation |  | 0 | 0 | 2000 | 2075 | 2000 | 2075 | 2027-06-30 | Awaiting Consents | NGET | PRO-000285
MOYLE INTERCONNECTOR LIMITED* | Auchencrosh (interconnector CCT) | Auchencrosh 275kV Substation | 1 | 270 | 500 | 205 | 0 | 475 | 500 | 2022-04-01 | Built | SPT | PRO-001292-1
MOYLE INTERCONNECTOR LIMITED* | Auchencrosh (interconnector CCT) | Auchencrosh 275kV Substation | 2 | 475 | 500 | 25 | 0 | 500 | 500 | 2022-08-01 | Built | SPT | PRO-001292-2
BRITNED DEVELOPMENT LIMITED | Britned | Grain 400kV Substation |  | 1200 | 1200 | 0 | 0 | 1200 | 1200 |  | Built | NGET | PRO-000280
NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | Continental Link | Creyke Beck 400kV Substation |  | 0 | 0 | 1800 | 1800 | 1800 | 1800 | 2027-09-01 | Scoping | NGET | PRO-000977
CRONOS ENERGY LTD | Cronos | Kemsley 400kV Substation |  | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 2029-10-31 | Scoping | NGET | PRO-000984
EIRGRID INTERCONNECTOR DESIGNATED ACTIVITY COMPANY | East West Interconnector | Deeside 400kV Substation |  | 505 | 585 | 0 | 0 | 505 | 585 |  | Built | NGET | PRO-000284
ELECLINK LIMITED | ElecLink | Sellindge 400kV Substation |  | 1000 | 1050 | 0 | 0 | 1000 | 1050 |  | Built | NGET | PRO-000286
FAB LINK LIMITED | FAB Link Interconnector | Exeter 400kV Substation |  | 0 | 0 | 1250 | 1310 | 1250 | 1310 | 2027-10-01 | Awaiting Consents | NGET | PRO-000281
GREENLINK INTERCONNECTOR LIMITED | Greenlink | Pembroke 400kV Substation |  | 0 | 0 | 504 | 524 | 504 | 524 | 2024-06-01 | Consents Approved | NGET | PRO-000279
GRIDLINK INTERCONNECTOR LIMITED | Gridlink Interconnector | Kingsnorth 400kV Substation |  | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 2029-03-31 | Scoping | NGET | PRO-000287
NATIONAL GRID INTERCONNECTORS LIMITED | IFA Interconnector | Sellindge 400kV Substation |  | 1988 | 1988 | 0 | 0 | 1988 | 1988 |  | Built | NGET | PRO-000282
NATIONAL GRID IFA 2 LIMITED | IFA2 Interconnector | Chilling 400kV Substation |  | 1100 | 1150 | 0 | 0 | 1100 | 1150 |  | Built | NGET | PRO-000283
MANX UTILITIES | Isle of Man Interconnector | Bispham 132kV Substation |  | 74 | 74 | 0 | 0 | 74 | 74 |  | Built | NGET | PRO-001291
KULIZUMBOO LIMITED | Kulizumboo Interconnector | Canterbury North 400kV Substation |  | 0 | 0 | 700 | 700 | 700 | 700 | 2027-10-31 | Scoping | NGET | PRO-001290
TI LIRIC Limited | LIRIC Interconnector | Kilmarnock South GSP |  | 0 | 0 | 730 | 700 | 730 | 700 | 2028-10-01 | Scoping | SPT | PRO-001454
NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | Lion (EuroLink) | Friston 400kV Substation |  | 0 | 0 | 1600 | 1600 | 1600 | 1600 | 2024-10-30 | Scoping | NGET | PRO-000983
LOW CARBON SOLAR PARK 39 LIMITED | Low Carbon Link | Pembroke GSP |  | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 2037-10-31 | Scoping | NGET | PRO-004262
MARESCONNECT LIMITED | MARES | Bodelwyddan 400kV Substation |  | 0 | 0 | 750 | 750 | 750 | 750 | 2028-11-30 | Awaiting Consents | NGET | PRO-000978
NATIONAL GRID NORTH SEA LINK LIMITED | NS Link | Blyth GSP |  | 1400 | 1480 | 0 | 0 | 1400 | 1480 |  | Built | NGET | PRO-000975
NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | Nautilus | Leiston 400kV Substation |  | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 2027-09-30 | Scoping | NGET | PRO-000982
NEMO LINK LIMITED | Nemo Link | Richborough 400kV Substation |  | 1020 | 1046 | 0 | 0 | 1020 | 1046 |  | Built | NGET | PRO-000974
NEUCONNECT BRITAIN LTD | NeuConnect Interconnector | Grain West 400kV Substation |  | 0 | 0 | 1400 | 1470 | 1400 | 1470 | 2026-08-01 | Awaiting Consents | NGET | PRO-001288
NORTHCONNECT LIMITED | NorthConnect | Peterhead GSP |  | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 2027-06-30 | Scoping | SHET | PRO-001285
FRONTIER POWER INTERNATIONAL LIMITED | SENECA | Mablethorpe 400kV Substation |  | 0 | 0 | 1200 | 1254 | 1200 | 1254 | 2031-11-30 | Scoping | NGET | PRO-000981
NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | Southernlink | Grain 400kV Substation |  | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 2029-10-31 | Scoping | NGET | PRO-000976
TARCHON ENERGY LIMITED | Tarchon | East Anglia Connection Node 400kV Substation |  | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 2030-10-31 | Scoping | NGET | PRO-001289
ASC ENERGY LIMITED | The Superconnection | Creyke Beck 400kV Substation |  | 0 | 0 | 1000 | 1000 | 1000 | 1000 | 2027-09-01 | Scoping | NGET | PRO-001284
NATIONAL GRID VIKING LINK LIMITED | Viking Link Denmark Interconnector | Bicker Fen 400kV Substation |  | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 2023-09-30 | Consents Approved | NGET | PRO-000288
*Note: The MW Total MW Import figures represent firm TEC. Moyle holds a total of 500MW TEC which is subject to operational restrictions.
CUSC Definition paragraph 9.4
9.4 EXPORT OF POWER FROM THE INTERCONNECTOR CONNECTION SITE
* MW Import | Subject to the other provisions of the CUSC, the relevant Bilateral Connection Agreement and the Grid Code and any Operating Agreement, The Company shall accept into the National Electricity Transmission System at the Connection Site of an Interconnector power up to the Transmission Entry Capacity and (if any) STTEC and\or LDTEC and\or any Temporary Received TEC less any Temporary Donated TEC for the relevant Period as specified in Appendix C to the relevant Bilateral Connection Agreement except to the extent (if any) that The Company is prevented from doing so by transmission constraints which could not be avoided by the exercise of Good Industry Practice.
CUSC Definition paragraph 9.5
9.5 IMPORT OF POWER TO THE INTERCONNECTOR CONNECTION SITE
* MW Export | Subject to the other provisions of the CUSC, the relevant Bilateral Connection Agreement, the Grid Code and any Operating Agreement, The Company shall transport a supply of power to a Connection Site of an Interconnector through the National Electricity Transmission System up to the amount specified in the Bilateral Connection Agreement except to the extent (if any) that The Company is prevented from doing so by transmission constraints which could not be avoided by the exercise of Good Industry Practice by The Company.