## Sheet1
Q&As on Response Release 1 - ASDP
# | Question | Answer | Theme
1 | If for any reason we fail to send the heartbeat at the 5 min mark can we try sending it again until we are able to send it or do we need to wait 5 mins? Will the system accept the heartbeat in between the 5 min marks and make the contract available again ? | Yes. The heartbeat signal can be sent at any time and the ASDP system will accept it and keep the unit enabled on the Control Room UI | Heartbeat
2 | Does "operational day" mean the same as "EFA day" and mean that short and long days must be supported when clocks change to/from BST/GMT? | An Operational Day for ASR Response starts at 23:00 and is broken down into a number of EFA Blocks. The ASDP system runs in UTC all year, so the clock never moves between GMT and BST. Therefore all days during the year are the same length. Service Providers should use UTC when making their submissions to the system. | Clock Change
3 | The latest business logic document for ASDP mentions a requirement for all physical notification starts and ends to be whole integer megawatt values only. Does this mean PNs will be allowed to be rounded for non-BM assets, or does this mean all non-BM assets will suddenly have to operate only at integer megawatt power levels? This would be a big change to how service providers are allowed to operate their assets. | We will allow decimal values (up to 4 decimal places) as per the Web Service Specifications. The BLD will be updated to reflect this change. | PN/Baseline
4 | RE heartbeats - when we spoke in person we discussed sending the heartbeat at all times for simplicity (not just when contracted). We have since received some contradictory info via email saying it has to be only when contracted - please can you confirm ? | We request the Service Providers to send a heartbeat for only those units which are contracted. Where a Service Provider sends the hearbeat of units which are not contracted, the system will reject and send 'Invalid UnitID' message. | Heartbeat
5 | what are the actions that Control Room will take once they receive the NACK that 2 consecutive 5min periods of hartbeat signal were missed? (ie phone provider to make them aware of this?) Also, is there any impact on contract payment if there is an interruption in sending the heartbeat signal? | The heartbeat signal is meant to provide an awareness to the control room user to take actions related to sending Disarm / Rearm instructions. It has no bearing on the contract payment as long as the performance metering shows the unit as available. | Heartbeat
6 | Will there be a requirement to submit PNs 24/7 irrespective of whether an NBM is participating in DC, DM or DR? | The PNs can be submitted 24x7 for all units which are pre-qualified that are participating in either DM/DC/DR or in any combination. However it is mandatory for those that are contracted. If there are gaps in the declaration by the Service Providers this will be auto populated with zeros. | PN/Baseline
7 | The integer PN is a serious change to service specification. For small units, this makes it very difficult to deliver the service | Please See Question 3 | PN/Baseline
8 | Does the PN have to match up with the baselines provided across all other services? | Yes, the baseline should be representative of the units expected output. | PN/Baseline
9 | Will non-BM assets still be allowed to operate at non-integer power levels after the ASDP PN endpoints go live? Or will they now have to operate only at integer MW powers like BM assets | Please See Question 3 | PN/Baseline
10 | Can you clarify what will happen to my payment if I submit a PN of 0, but I charge at 0.25 MW. This could push me more than 0.03% in error on my service delivery | Please See Question 3. Also please be aware that the PNs submitted to ASDP are not used by NGESO Settlements in their calculations. | PN/Baseline
11 | Is the gate closure same as BMU 1 hour before delivery? | Yes. ASDP uses the same Gate Closure Logic as BM. | Gate Closure
12 | what happens if we need a change to baseline within gate closure | The Service Provider needs to redeclare their Availability (MW) in the event they wish to change baseline data during the Gate Closure. There is no method to update PN during Gate Closure. | PN/Baseline
13 | In ASR Freq Response Business Logic v1.4, Point 8 under Windows Rejectons in section 3.9 for Physical Notifications it states the following: In the case of an unspecified error, National Grid ESO will send window validation as INVALID with the WindowReason ‘AS_Error99’. Is AS_Error99 correct or should this be PN_Error99? as I thought AS prefix applies in availability service only. | We understand that this error scenario will never occur therfore this point will be updated, but also deprecated in the error code section of the BLD. Thank you for bringing this issue to our attention. | Business Logic Document
14 | Will ABSVD be calculated against PNs once that is expanded to NBMUs? | PN declared in ASDP will not be used by NGESO Settlements team in their calculations | PN/Baseline
15 | If I am not delivering DC, I understand that I still need to submit a PN. Is there any obligation on me to follow this PN? | A PN can be provided if any one of the response services is being provided by the Service Provider. However, it is only mandatory if the unit is contracted. If a PN is not submitted it will be auto populated with zeros. | PN/Baseline
16 | Who is the NG point of contact for follow up technical questions after this webinar? | .box.support.pas <box.support.pas@nationalgrid.com> Will be the point of contact for technical queries | Contact Point
17 | there are some specific rules for receiving BOA and MIL MEL for BMU. are there any specific rules for declaration of non BMU | We are not issuing BOAs, nor are we expecting MILs and MELs at this point from NBMUs. | Data Rules
18 | Sorry, my question was not fully answered... What PN data must be submitted for October 30th (date the clocks change)? Will it be rejected if it starts at 22:00GMT and ends at 22:00GMT? That EFA day will end at 23:00GMT, due to the clock change, so must the PN submitted be 25 hours long. Happy for response to be provided offline as very detailed question! | Please see Question 2 | PN/Baseline
19 | Generally speaking why build these new services on SOAP? It is a rather outdated technology vs HTTP API and seems to be a departure from the other services that NGESO is implementing | We agree and understand the problems with respect to SOAP services. However, this is a convention we have been following for all services under ASDP. We acknowledge this disparity and we are looking to address this at some point in the future. A change of this magnitude will be in consultation with all Service Providers. | Design Decisions
20 | The November 2022 date listed in the table circulated in your email (sent 26th Aug) is in fact the date you expect providers to be ready to start work on making the technical changes, as opposed to the deadline for the implementation of the changes? | We expect providers to have implemented the changes by November 2022. Following this, we have approximately 8 weeks of testing & onboarding. There is also some contingency taken into account for the Christmas holidays, any other unforeseen testing/connectivity issues and the outcome/feedback of the consultation with Ofgem. Hence, any providers who are unable to meet the November 2022 timeline will have up to January 2023 to complete implementation Further Update (Oct 2022) As per the technical webinar on 6th October the timeline is now as follows: 28th Nov 2022 - NGESO will be ready to begin testing with Service Providers who are also ready 26th Jan 2023 - Cut-off for Service Providers to begin testing with NGESO 20th Mar 2023 - Last date for Service Providers to complete testing with NGESO | Planned Dates
21 | You intend the business 'go-live' date to be March 2023? | Business go-live is expected to be in March 2023, dates are being finalized. Further Update (Oct 2022) Business go-live is currently scheduled for week commencing 31st March 2023 | Planned Dates
22 | You are accounting for less progress to be made in December due to the Christmas period? | This is correct. | Planned Dates
23 | Under the change, is there an obligation for batteries to submit PNs for periods in which they are not contracted for DC, DM and DR? To ask this differently, what is the expectation regarding PNs when a generator decides not to participate in DC, DM or DR? | There is NO obligation for the batteries to submit PN for the periods in which they are not contracted for DC, DM, DR. However, ideally the expectation is to receive a continuous PN data for future 5 days as per the business rules established in the BLD. In case there is no data for a specific duration, the Zero Level Defaulting rule for PN will be applied and no data will be reported for that duration to Control Room. Further Update (Oct 2022) Please see Question 6 | PN/Baseline
24 | What is the back-up system (generally and for submitting PNs), if ASDP is down | The batteries will be receiving a Bad Request Notification specifying that the ASDP application is down. The batteries need to re-send the same data when ASDP is up and running. This will be communicated by the BAU team (.box). | PN/Baseline
25 | On the basis of this information and as per our conversations on Friday, we just want to reiterate that the end of November 2022 is not an achievable date for us to implement all the changes listed. From our perspective, taking into account the resource we have here at <COMPANY NAME REDACTED>, we propose that the end of February 2023 is more realistic and is a deadline we can more reasonably build into our own roadmap. Given these circumstances, please could we ask that you consider some flexibility on the November 2022 deadline? | From an ESO standpoint, the sooner providers can start to implement the changes, the better. Hence, whilst early November will be ideal. we are open for the units to come for MPT until the 30th of January 2023. This is to enable us complete testing by mid-February 2023, in the worst case scenario. Further Update (Oct 2022) As per the technical webinar on 6th October the timeline is now as follows: 28th Nov 2022 - NGESO will be ready to begin testing with Service Providers who are also ready 26th Jan 2023 - Cut-off for Service Providers to begin testing with NGESO 20th Mar 2023 - Last date for Service Providers to complete testing with NGESO | Planned Dates
26 | Heartbeats: The latest business logic doc says 'Note- NG ESO expects Heartbeat signals from only those units which are pre-qualified and contracted'. Does this mean heartbeat messages should only be sent for a particular unit during the time periods that that unit is in a CURRENTLY ACTIVE frequency response service contract, and not sent the rest of the time? A lot more development effort and integrations with existing systems would be required for this | The Heartbeat messages should be sent for the complete duration of the operational data in which the unit is contracted. This is irrespective of a unit being active or not for a particular duration. For example, if a Unit ‘ABC’ is contracted from 23:00 on 14th Sep to 23:00 of 15th Sep, then the Heartbeat message would be expected for this entire duration. Further Update (Oct 2022) See Question 4. | Heartbeat
27 | Physical notifications: same question - should we only be sending PNs for a unit which cover the periods when that unit is in an active frequency response contract? The same doc says 'If the UnitID value differs to what has been set up in PAS application, or contract data does not exist in PAS application for the unit, National Grid ESO will send confirmation rejection with the FileReason ‘PN_Error1', which makes it seem that this might be the case, but it's not entirely clear | Physical notifications are expected for all the units that are Registered (Pre-Qualified) irrespective of the Contract Status. Therefore all the units that are ‘Registered (pre-qualified)’ will need send the PNs continuously up to 5 days in advance. Please note that there is a 60 min gate closure before the StartDateTime of a particular 30 min Settlement window Further Update (Oct 2022) Please see Question 6 | PN/Baseline
28 | Would it matter if we just sent hearbeat signals at all times for our non-BM units which participate in DC/DM/DR? This would shorten our implementation timeline significantly | 1. If a unit is participated in DM/DC/DR and contracted for any EFA block, NG ESO accepts the heartbeat signal for whole operational day else the signals will be rejected. 2. It is not also advisable to receive the unwanted heartbeat signal for all the times, since it will increase unnecessary traffic flow and hit the application performance. Further Update (Oct 2022) See Question 4. | Heartbeat
29 | Would we also receive failure responses if we sent heartbeats at times that assets are not contracted for DC/DM/DR? | If a unit is participated in DM/DC/DR and not contracted for an operational day (for any EFA block), NG ESO doesn’t expect and will reject the heartbeat signal with above synchronous error message as ‘Invalid UnitID’ in the response since unit is not recorded as active contract for an operational day in NG ESO. Further Update (Oct 2022) See Question 4. | Heartbeat
Date | 2022-10-18