## Report
Section | Written By
Titles & Contents | MO
1 Exec Summary | MO
2 Tariff Summary | MO
3 Introduction | MO
4 Updates to the charging model for 2016/17 | MO
5 Forecast generation tariffs for 2016/17 | MO
6 Forecast demand tariffs for 2016/17 | MO
7 Sensitivitied and Uncertainties | MO
8 Tools & Supporting Information | MO
Appendix A - Revenue Tables | MO
Appendix B - Generation changes | MO
Appendix C - Demand Changes | MO
Appendix D - Generation Zones | MO
Appendix E - Demand zones | MO

## Index
Index
Residuals
Averages
Table 1 - Generation Wider Tariffs
Table 2 - Local Substation Tariffs
Table 3 - Local Circuit Tariffs
Table 4 - Offshore Local Tariffs
Table 5 - Demand Tariffs
Table 6 - Contracted and Modelled TEC
Table 7 - Allowed Revenues
Table 8 - Charging Bases
Table 9 - Interconectors
Table 10 - Generation and Demand Revenue Proportions
Table 11 - Residual Calculation
Table 12 - Small Generator Discount
Table 13 - Generation Tariff Changes
Table 14 - Circuits subject to one-off charges
Table 15 - Change in HH Demand Tariffs
Table 16 - NHH Demand Tariff Changes
Table 17 - National Grid Revenue Forecast
Table 18 - SP Transmission Revenue Forecast
Table 19 - SHE Transmission Revenue Forecast
Table 20 - Offshore Revenues
Table 21 - Demand Profiles
Figure 1 - Variation on Generation Zonal Tariffs
Figure 2 - HH Demand Tariffs
Figure 3 - NHH Demand Tariffs

## Residuals
Residual | 2017/18 Initial | 2017/18 June | Change
Generation | -0.92008 | -2.0905 | -1.1704
Demand | 46.342 | 47.9549 | 1.6129
Average Tariff | 2017/18 Initial | 2017/18 June | Change
Generation (£/kW) | 6.689 | 5.8237 | -0.86526 | N.B. These generation average tariffs include local tariffs
HH Demand (£/kW) | 47.8909 | 49.4944 | 1.6035
NHH Demand (p/kWh) | 6.5024 | 6.4912 | -0.011194

## T1
Table 1 - Generation Wider Tariffs
|  | System Peak | Shared Year Round | Not Shared Year Round | Residual | Conventional 80% | Intermittent 40%
Zone | Zone Name | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW)
1 | North Scotland | -0.7218 | 12.4588 | 16.2384 | -2.0905 | 23.3932 | 19.1314
2 | East Aberdeenshire | 0.49823 | 6.0882 | 16.2384 | -2.0905 | 19.5167 | 16.5832
3 | Western Highlands | -0.7236 | 10.5704 | 16.1792 | -2.0905 | 21.8214 | 18.3168
4 | Skye and Lochalsh | -6.4352 | 10.5704 | 15.8868 | -2.0905 | 15.8174 | 18.0245
5 | Eastern Grampian and Tayside | -0.59852 | 10.0623 | 15.9723 | -2.0905 | 21.3331 | 17.9067
6 | Central Grampian | 1.6897 | 10.9711 | 16.5532 | -2.0905 | 24.9294 | 18.8512
7 | Argyll | 0.74866 | 8.5271 | 25.4712 | -2.0905 | 30.951 | 26.7915
8 | The Trossachs | 1.1618 | 8.5271 | 14.8799 | -2.0905 | 20.7728 | 16.2002
9 | Stirlingshire and Fife | -0.38029 | 3.5894 | 13.2242 | -2.0905 | 13.6249 | 12.5695
10 | South West Scotlands | 1.4723 | 7.1316 | 14.1653 | -2.0905 | 19.2524 | 14.9275
11 | Lothian and Borders | 2.6848 | 7.1316 | 8.5927 | -2.0905 | 14.8923 | 9.3549
12 | Solway and Cheviot | 0.48207 | 4.0678 | 7.609 | -2.0905 | 9.2549 | 7.1457
13 | North East England | 3.4067 | 2.5842 | 4.2632 | -2.0905 | 7.6467 | 3.2063
14 | North Lancashire and The Lakes | 1.4019 | 2.5842 | 2.7254 | -2.0905 | 4.1041 | 1.6686
15 | South Lancashire, Yorkshire and Humber | 4.2849 | 0.97572 | 0.0029523 | -2.0905 | 2.978 | -1.6973
16 | North Midlands and North Wales | 3.6454 | -0.59669 | 0 | -2.0905 | 1.0776 | -2.3292
17 | South Lincolnshire and North Norfolk | 1.7829 | -0.02629 | 0 | -2.0905 | -0.32866 | -2.101
18 | Mid Wales and The Midlands | 0.95804 | 0.20356 | 0 | -2.0905 | -0.96962 | -2.0091
19 | Anglesey and Snowdon | 3.4646 | -0.55025 | 0 | -2.0905 | 0.93388 | -2.3106
20 | Pembrokeshire | 8.5814 | -4.2876 | 0 | -2.0905 | 3.0608 | -3.8055
21 | South Wales & Gloucester | 5.8294 | -4.2344 | 0 | -2.0905 | 0.35139 | -3.7842
22 | Cotswold | 2.8862 | 1.8404 | -6.0492 | -2.0905 | -3.7812 | -7.4036
23 | Central London | -4.3336 | 1.8404 | -5.4315 | -2.0905 | -10.3832 | -6.7859
24 | Essex and Kent | -3.6644 | 1.8404 | 0 | -2.0905 | -4.2826 | -1.3543
25 | Oxfordshire, Surrey and Sussex | -1.311 | -2.8223 | 0 | -2.0905 | -5.6593 | -3.2194
26 | Somerset and Wessex | -1.3711 | -4.083 | 0 | -2.0905 | -6.728 | -3.7237
27 | West Devon and Cornwall | 0.052849 | -5.4503 | 0 | -2.0905 | -6.3979 | -4.2706
|  | Small Generation Discount (£/kW) |  |  | -11.4661

## T2
Table 2 - Local Substation Tariffs
Substation Rating | Connection Type | Local Substation Tariff (£/kW)
|  | 132kV | 275kV | 400kV
<1320 MW | No redundancy | 0.18426 | 0.10541 | 0.07595
<1320 MW | Redundancy | 0.40592 | 0.25114 | 0.18265
>=1320 MW | No redundancy |  | 0.33051 | 0.23902
>=1320 MW | Redundancy |  | 0.54261 | 0.39606

## T3
Table 3 - Local Circuit Tariffs
Substation Name | (£/kW) | Substation Name | (£/kW) | Substation Name | (£/kW)
Achruach | 3.9371 | Dinorwig | 2.2063 | Kilmorack | 0.18125
Aigas | 0.60024 | Dunlaw Extension | 5.4488 | Langage | 0.60348
An Suidhe | 2.8019 | Brochlock | 1.9674 | Lochay | 0.33585
Arecleoch | 1.9067 | Dumnaglass | 1.7039 | Luichart | 0.52678
Baglan Bay | 0.63942 | Edinbane | -6.2779 | Mark Hill | 0.80356
Beinneun Wind Farm | 1.3789 | Earlshaugh Wind Farm | 3.4537 | Margree | 3.3337
Bhlaraidh Wind Farm | 0.59255 | Ewe Hill | 1.2612 | Marchwood | 0.35115
Black Hill | 1.1851 | Farr Windfarm | 2.0387 | Millennium Wind | 1.6766
BlackCraig Wind Farm | 3.5856 | Fallago | 0.55155 | Moffat | 0.1514
Black Law | 1.6037 | Carraig Gheal | 4.0371 | Mossford | 2.643
BlackLaw Extension | 3.4008 | Ffestiniogg | 0.23258 | Nant | 2.3033
Bodelwyddan | 0.10198 | Finlarig | 0.29387 | Necton | -0.34559
Carrington | -0.031755 | Foyers | 0.69106 | Rhigos | 0.067012
Clyde (North) | 0.10065 | Galawhistle | 0.77673 | Rocksavage | 0.016196
Clyde (South) | 0.11639 | Glendoe | 1.6881 | Saltend | 0.31241
Corriegarth | 3.4591 | Ulziside | 9.6202 | South Humber Bank | 0.87598
Corriemoillie | 1.5274 | Gordonbush | 1.0802 | Spalding | 0.25276
Coryton | 0.051732 | Griffin Wind | -0.87351 | Kilbraur | 0.71736
Cruachan | 1.6802 | Hadyard Hill | 2.5403 | Stronelairg | 3.3459
Crystal Rig | 0.47154 | Harestanes | 2.2966 | Strathy Wind | 2.3982
Culligran | 1.5907 | Hartlepool | 0.55024 | West of Duddon | 0.78383
Deanie | 2.6132 | Hedon | 0.16613 | Whitelee | 0.097401
Dersalloch | 2.2107 | Invergarry | 1.3024 | Whitelee Extension | 0.27078
Didcot | 0.47484 | Kilgallioch | 0.9659

## T4
Table 4 - Offshore Local Tariffs
Offshore Generator | Tariff Component (£/kW)
| Substation | Circuit | ETUoS
Barrow | 7.4252 | 38.8487 | 0.96467
Greater Gabbard | 13.9214 | 31.99 | 0
Gunfleet | 16.0698 | 14.7533 | 2.7575
Gwynt Y Mor | 16.9541 | 16.7018 | 0
Lincs | 13.8765 | 54.3297 | 0
London Array | 9.4461 | 32.1729 | 0
Ormonde | 22.9548 | 42.7626 | 0.34078
Robin Rigg East | -0.42463 | 28.1283 | 8.7182
Robin Rigg West | -0.42463 | 28.1283 | 8.7182
Sheringham Shoal | 22.1783 | 26.01 | 0.56538
Thanet | 16.8896 | 31.4713 | 0.75763
Walney 1 | 19.8111 | 39.4537 | 0
Walney 2 | 19.667 | 39.8013 | 0
West of Duddon Sands | 7.6446 | 37.7211 | 0
Westermost Rough | 16.0969 | 27.229 | 0

## T5
Table 5 - Demand Tariffs
Zone | Zone Name | HH Demand Tariff (£/kW) | NHH Demand Tariff (p/kWh)
1 | Northern Scotland | 30.9536 | 5.2518
2 | Southern Scotland | 30.8797 | 4.939
3 | Northern | 39.4017 | 5.7937
4 | North West | 45.4716 | 6.2017
5 | Yorkshire | 45.3303 | 6.0846
6 | N Wales & Mersey | 47.1989 | 7.111
7 | East Midlands | 48.5752 | 6.7267
8 | Midlands | 50.0365 | 6.6665
9 | Eastern | 50.5028 | 7.1055
10 | South Wales | 47.166 | 6.2266
11 | South East | 53.4749 | 6.987
12 | London | 55.9535 | 7.1797
13 | Southern | 54.4544 | 7.04
14 | South Western | 53.0466 | 7.0591

## T6
Table 6 - Contracted and Modelled TEC
(GW) | 2016/17 | 2017/18 Initial forecast | 2017/18 June Forecast | 2017/18 Oct Forecast | 2017/18 Draft Tariffs | 2017/18 Final Tariffs
Contracted TEC | 69.865 | 73.4422 | 73.0928
Modelled Best ViewTEC | 69.865 | 71.0949 | 73.7969

## T7
Table 7 - Allowed Revenues
£m Nominal Value | 2016/17 TNUoS Revenue | 2017/18 TNUoS Revenue
| Jan 2016 Final | Feb 2016 Initial View | June 2016 Update | Oct 2016 Update | Dec 2016 Draft | Jan 2017 Final
National Grid
Price controlled revenue | 1828.2265 | 1806.4483 | 1811.2148
Less income from connections | 42.677 | 46.4971 | 46.4971
Income from TNUoS | 1785.5495 | 1759.9512 | 1764.7177
Scottish Power Transmission
Price controlled revenue | 306.44 | 347.0504 | 340.9657
Less income from connections | 11.816 | 13.9122 | 13.9714
Income from TNUoS | 294.624 | 333.1382 | 326.9944
SHE Transmission
Price controlled revenue | 326.217 | 328.513 | 327.2822
Less income from connections | 3.38 | 3.589 | 3.589
Income from TNUoS | 322.837 | 324.924 | 323.6932
Offshore | 260.7893 | 276.5029 | 279.2352
Network Innovation Competition | 44.8549 | 40.5 | 40.5
Total to Collect from TNUoS | 2708.6547 | 2735.0162 | 2735.1405

## T8
Table 8 - Charging Bases
Charging Base | 2016/17 | 2017/18 Initial | 2017/18 June
Generation (GW) | 62.8589 | 67.255 | 67.0119
Total Average Triad (GW) | 49.8 | 49.2977 | 49.1008
HH Demand Average Triad (GW) | 13.1005 | 16.2999 | 16.4072
NHH Demand (4pm-7pm TWh) | 26.1468 | 23.1382 | 23.6138

## T9
Table 9 - Interconectors
Interconnector | Site | Interconnected System | Generation Zone | Transport Model (Generation MW) Peak | Transport Model (Generation MW) Year Round | Charging Base (Generation MW)
IFA Interconnector | Sellindge 400kV | France | 24 | 0 | 2000 | 0
ElecLink | Sellindge 400kV | France | 24 | 0 | 1000 | 0
Britned | Grain 400kV | Netherlands | 24 | 0 | 1200 | 0
East - West | Deesside 400kV | Republic of Ireland | 16 | 0 | 505 | 0
Moyle | Auchencrosh 275kV | Northern Ireland | 10 | 0 | 80 | 0

## T10
Table 10 - Generation and Demand Revenue Proportions
|  | 2016/17 | 2017/18 Initial | 2017/18 June
CAPEC | Limit on generation tariff (€/MWh) | 2.5 | 2.5 | 2.5
y | Error Margin | 8.2% | 8.2% | 21%
ER | Exchange Rate (€/£) | 1.36 | 1.34 | 1.27
MAR | Total Revenue (£m) | 2708.6534 | 2735.0162 | 2735.1404
GO | Gerneration Output (TWh) | 268.6973 | 262.6667 | 250.95
G | % of revenue from generation | 16.74% | 16.45% | 14.27%
D | % of revenue from demand | 83.26% | 83.55% | 85.73%
G.R | Revenue recovered from generation (£m) | 453.4266 | 449.8658 | 390.2569
D.R | Revenue recovered from demand (£m) | 2255.2267 | 2285.1504 | 2344.8835

## T11
Table 11 - Residual Calculation
|  | 2016/17 | 2017/18 Initial | 2017/18 June
RG | Generator residual tariff (£/kW) | 0.50578 | 0.83481 | -2.0905
RD | Demand residual tariff (£/kW) | 45.3338 | 46.342 | 47.9549
G | Proportion of revenue recovered from generation (%) | 16.74% | 16.45% | 14.27%
D | Proportion of revenue recovered from demand (%) | 83.26% | 83.55% | 85.73%
R | Total TNUoS revenue (£m) | 2708.6547 | 2735.0162 | 2735.1405
ZG | Revenue recovered from the locational element of generator tariffs (£m) | 191.8864 | 148.2271 | 275.3015
ZD | Revenue recovered from the locational element of demand tariffs (£m) | -2.3978 | 0.59669 | -9.7407
O | Revenue recovered from offshore local tariffs (£m) | 200.5762 | 212.9072 | 223.3882
LG | Revenue recovered from onshore local substation tariffs (£m) | 15.9165 | 17.0326 | 17.6116
SG | Revenue recovered from onshore local circuit tariffs (£m) | 13.255 | 15.5535 | 14.0439
BG | Generator charging base (GW) | 62.8589 | 67.255 | 67.0119
BD | Demand charging base (GW) | 49.8 | 49.2977 | 49.1008

## T12
Table 12 - Small Generator Discount
Small Generator Discount Calculation
Generator Residual (£/kW) | G | -2.0905
Demand Residual (£/kW) | D | 47.9549
Small Generator Discount (£/kW) | T = (G + D)/4 | 11.4661
Forecast Small Generator Volume (kW) | V | 2641010
2017/18 SGD cost (£) | V x T | 30282076.838
Prior year reconcilation (£) | R | 0
Total SGD Cost (£) | C = (V x T) + R | 30282076.838
Total System Triad Demand (kW) | TD | 49100817.9959
Total HH Triad Demand (kW) | HHD | 16407205.1073
Total NHH Consumption (kWh) | NHHD | 23613824691.5988
Increase in HH Demand tariff (£/kW) | HHT = C/TD | 0.61673
Total Cost to HH Customers (£) | HHC = HHT * HHD | 10118858.8304
Increase in NHH Demand tariff (p/kWh) | NHHT = (C - HHC)/NHHD | 0.085387
Total Cost to NHH Customers (£) | NHHC = NHHT * NHHD | 20163218.0076

## T13 & Fig 1
Table 13 - Generation Tariff Changes | [8 empty] | Figure 1 - Variation on Generation Zonal Tariffs
Wider Generation Tariffs (£/kW)
|  | Conventional 80% |  |  | Intermittent 40% |  |  | Change in Residual (£/kW)
Zone | Zone Name | 2017/18 Initial Forecast (£/kW) | 2017/18 June Forecast (£/kW) | Change (£/kW) | 2017/18 Initial Forecast (£/kW) | 2017/18 June Forecast (£/kW) | Change (£/kW)
1 | North Scotland | 24.6204 | 23.3932 | -1.2273 | 20.6595 | 19.1314 | -1.5281 | -1.1704
2 | East Aberdeenshire | 20.3842 | 19.5167 | -0.86748 | 17.9619 | 16.5832 | -1.3787 | -1.1704
3 | Western Highlands | 22.5869 | 21.8214 | -0.7655 | 19.5796 | 18.3168 | -1.2628 | -1.1704
4 | Skye and Lochalsh | 19.9755 | 15.8174 | -4.1581 | 20.984 | 18.0245 | -2.9595 | -1.1704
5 | Eastern Grampian and Tayside | 21.1459 | 21.3331 | 0.18721 | 18.7491 | 17.9067 | -0.84238 | -1.1704
6 | Central Grampian | 24.1778 | 24.9294 | 0.75154 | 19.6581 | 18.8512 | -0.80689 | -1.1704
7 | Argyll | 29.6445 | 30.951 | 1.3066 | 27.3069 | 26.7915 | -0.51534 | -1.1704
8 | The Trossachs | 19.8419 | 20.7728 | 0.93089 | 16.8814 | 16.2002 | -0.68119 | -1.1704
9 | Stirlingshire and Fife | 13.9439 | 13.6249 | -0.319 | 13.3569 | 12.5695 | -0.78743 | -1.1704
10 | South West Scotlands | 18.5778 | 19.2524 | 0.67455 | 15.6559 | 14.9275 | -0.72846 | -1.1704
11 | Lothian and Borders | 15.2337 | 14.8923 | -0.34144 | 10.3415 | 9.3549 | -0.98662 | -1.1704
12 | Solway and Cheviot | 10.4525 | 9.2549 | -1.1977 | 8.339 | 7.1457 | -1.1934 | -1.1704
13 | North East England | 8.1301 | 7.6467 | -0.48342 | 4.3719 | 3.2063 | -1.1656 | -1.1704
14 | North Lancashire and The Lakes | 5.036 | 4.1041 | -0.93192 | 2.6798 | 1.6686 | -1.0112 | -1.1704
15 | South Lancashire, Yorkshire and Humber | 3.9538 | 2.978 | -0.97585 | -0.30687 | -1.6973 | -1.3904 | -1.1704
16 | North Midlands and North Wales | 2.0397 | 1.0776 | -0.96207 | -1.2083 | -2.3292 | -1.1209 | -1.1704
17 | South Lincolnshire and North Norfolk | 0.56997 | -0.32866 | -0.89863 | -0.65818 | -2.101 | -1.4428 | -1.1704
18 | Mid Wales and The Midlands | 0.13519 | -0.96962 | -1.1048 | -0.99465 | -2.0091 | -1.0144 | -1.1704
19 | Anglesey and Snowdon | 3.013 | 0.93388 | -2.0791 | -1.5567 | -2.3106 | -0.7539 | -1.1704
20 | Pembrokeshire | 4.3145 | 3.0608 | -1.2537 | -2.8106 | -3.8055 | -0.99497 | -1.1704
21 | South Wales & Gloucester | 1.6274 | 0.35139 | -1.276 | -2.7865 | -3.7842 | -0.99774 | -1.1704
22 | Cotswold | -2.5183 | -3.7812 | -1.2629 | -6.4232 | -7.4036 | -0.98032 | -1.1704
23 | Central London | -8.7933 | -10.3832 | -1.5899 | -6.6561 | -6.7859 | -0.12978 | -1.1704
24 | Essex and Kent | -3.1292 | -4.2826 | -1.1533 | -0.34817 | -1.3543 | -1.0062 | -1.1704
25 | Oxfordshire, Surrey and Sussex | -4.4583 | -5.6593 | -1.201 | -2.2275 | -3.2194 | -0.99189 | -1.1704
26 | Somerset and Wessex | -5.4894 | -6.728 | -1.2386 | -2.7346 | -3.7237 | -0.98912 | -1.1704
27 | West Devon and Cornwall | -5.1557 | -6.3979 | -1.2422 | -3.2822 | -4.2706 | -0.98841 | -1.1704

## T14
Table 14 - Circuits subject to one-off charges
Node 1 | Node 2 | Actual Parameters | Amendment in Transport Model | Generator
Wishaw 132kV | Blacklaw 132kV | 11.46km of Cable | 11.46km of OHL | Blacklaw
East Kilbride South 275kV | Whitelee 275kV | 6km of Cable | 6km of OHL | Whitelee
East Kilbride South 275kV | Whitelee Extension 275kV | 16.68km of Cable | 16.68km of OHL | Whitelee Extension
Elvanfoot 275kV | Clyde North 275kV | 6.2km of Cable | 6.2km of OHL | Clyde North
Elvanfoot 275kV | Clyde South 275kV | 7.17km of Cable | 7.17km of OHL | Clyde South
Crystal Rig 132kV | Western Dod 132kV | 3.9km of Cable | 3.9km of OHL | Aikengall II
Farigaig 132kV | Dunmaglass 132kV | 4km Cable | 4km OHL | Dunmaglass
Coalburn 132kV | Galawhistle 132kV | 9.7km cable | 9.7km OHL | Galawhistle II
Melgarve 132kV | Stronelairg 132kV | 10km cable | 10km OHL | Stronelairg
Moffat 132kV | Harestanes 132kV | 15.33km cable | 15.33km OHL | Harestanes

## T15 & Fig 2
Table 15 - Change in HH Demand Tariffs | [5 empty] | Figure 2 - HH Demand Tariffs
Zone | Zone Name | 2017/18 Initial (£/kW) | 2017/18 June (£/kW) | Change (£/kW) | Change in Residual (£/kW)
1 | Northern Scotland | 29.7323 | 30.9536 | 1.2213 | 1.6129
2 | Southern Scotland | 30.4458 | 30.8797 | 0.43387 | 1.6129
3 | Northern | 38.1612 | 39.4017 | 1.2405 | 1.6129
4 | North West | 43.5926 | 45.4716 | 1.879 | 1.6129
5 | Yorkshire | 44.1255 | 45.3303 | 1.2048 | 1.6129
6 | N Wales & Mersey | 45.4984 | 47.1989 | 1.7005 | 1.6129
7 | East Midlands | 47.0067 | 48.5752 | 1.5685 | 1.6129
8 | Midlands | 48.2594 | 50.0365 | 1.7772 | 1.6129
9 | Eastern | 49.0231 | 50.5028 | 1.4797 | 1.6129
10 | South Wales | 45.4374 | 47.166 | 1.7286 | 1.6129
11 | South East | 51.8299 | 53.4749 | 1.645 | 1.6129
12 | London | 54.3713 | 55.9535 | 1.5822 | 1.6129
13 | Southern | 52.8324 | 54.4544 | 1.6221 | 1.6129 | Table 14
14 | South Western | 51.4288 | 53.0466 | 1.6178 | 1.6129

## T16 & Fig 3
Table 16 - NHH Demand Tariff Changes |  |  |  |  | Figure 3 - NHH Demand Tariffs
Zone | Zone Name | 2017/18 Initial (p/kWh) | 2017/18 June (p/kWh) | Change (p/kWh)
1 | Northern Scotland | 4.3269 | 5.2518 | 0.92495 | 0
2 | Southern Scotland | 4.8655 | 4.939 | 0.073512
3 | Northern | 6.221 | 5.7937 | -0.42728
4 | North West | 5.8531 | 6.2017 | 0.34857
5 | Yorkshire | 6.9624 | 6.0846 | -0.87787
6 | N Wales & Mersey | 7.0878 | 7.111 | 0.023178
7 | East Midlands | 6.8117 | 6.7267 | -0.085049
8 | Midlands | 6.8055 | 6.6665 | -0.139
9 | Eastern | 6.7856 | 7.1055 | 0.31989
10 | South Wales | 6.9896 | 6.2266 | -0.76301
11 | South East | 7.0701 | 6.987 | -0.083134
12 | London | 6.7791 | 7.1797 | 0.40053
13 | Southern | 6.8664 | 7.04 | 0.17359
14 | South Western | 7.4053 | 7.0591 | -0.34624

## T17
Table 17 - National Grid Revenue Forecast
2016-06-01
Description |  | Licence Term | Yr t-1 | Yr t | Yr t+1 |  | Notes
Regulatory Year |  |  | 2014/15 | 2015/16 | 2016/17 | 2017/18
Actual RPI |  |  | 256.6667 |  |  |  | April to March average
RPI Actual |  | RPIAt | 1.19 |  |  |  | Office of National Statistics
Assumed Interest Rate |  | It | 0.5% | 0.7% | 95% | 1.575% | Bank of England Base Rate
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 1443.829 | 1475.593 | 1571.387 | 1554.942 | From Licence
Price Control Financial Model Iteration Adjustment | A2 | MODt | -5.5 | -114.4 | -185.4 | -210 | Determined by Ofgem/Licensee forecast
RPI True Up | A3 | TRUt | -0.52729 | 4.7019 | -19.9214 | -31.405 | Licensee Actual/Forecast
Prior Calendar Year RPI Forecast |  | GRPIFc-1 | 3.1% | 2.5% | 1% | 2.1% | HM Treasury Forecast then 2.8%
Current Calendar Year RPI Forecast |  | GRPIFc | 3.1% | 2.4% | 2.1% | 3% | HM Treasury Forecast then 2.8%
Next Calendar Year RPI forecast |  | GRPIFc+1 | 3% | 3.2% | 3% | 3.3% | HM Treasury Forecast then 2.8%
RPI Forecast | A4 | RPIFt | 1.2051 | 1.2267 | 1.233 | 1.268 | Using HM Treasury Forecast
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 1732.6948 | 1675.4788 | 1684.3588 | 1665.565
Pass-Through Business Rates | B1 | RBt |  | 1.2353 | 1.5001 | 2.6831 | Licensee Actual/Forecast
Temporary Physical Disconnection | B2 | TPDt | 0.14395 | 0.012338 | 0.090478 | 0 | Licensee Actual/Forecast
Licence Fee | B3 | LFt |  | 2.0207 | 2.6934 | 3.1802 | Licensee Actual/Forecast
Inter TSO Compensation | B4 | ITCt |  | 3.8222 | 2.6745 | 0.49745 | Licensee Actual/Forecast
Termination of Bilateral Connection Agreements | B5 | TERMt | 0 | 0 | 0 | 0 | Does not affect TNUoS
SP Transmission Pass-Through | B6 | TSPt | 312.1791 | 295.6646 | 294.6234 | 326.9944 | 14/15 & 15/16 & 16/17 Charge setting. Later from TSP Calculation.
SHE Transmission Pass-Through | B7 | TSHt | 213.9595 | 338.2073 | 322.8363 | 323.6932 | 14/15 & 15/16 & 16/17 Charge setting. Later from TSH Calculation.
Offshore Transmission Pass-Through | B8 | TOFTOt | 218.3804 | 248.357 | 260.7893 | 279.2352 | 14/15 & 15/16 & 16/17 Charge setting. Later from OFTO Calculation.
Embedded Offshore Pass-Through | B9 | OFETt | 0.43734 | 0.64942 | 0.6545 | 0.65735 | Licensee Actual/Forecast
Pass-Through Items [B=B1+B2+B3+B4+B5+B6+B7+B8+B9] | B | PTt | 745.1003 | 889.9689 | 885.862 | 936.9408
Reliability Incentive Adjustment | C1 | RIt |  | 2.3616 | 3.9206 | 4.0286 | Licensee Actual/Forecast/Budget
Stakeholder Satisfaction Adjustment | C2 | SSOt |  | 8.6931 | 10.1235 | 8.6279 | Licensee Actual/Forecast/Budget
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt |  | 2.8092 | 2.6617 | 3.0438 | Licensee Actual/Forecast/Budget
Awarded Environmental Discretionary Rewards | C4 | EDRt |  | 0 | 2.0216 | 0 | Only includes EDR awarded to licensee to date
Outputs Incentive Revenue [C=C1+C2+C3+C4] | C | OIPt | 0 | 13.8638 | 18.7274 | 15.7003
Network Innovation Allowance | D | NIAt | 10.916 | 10.5555 | 10.6115 | 10.4931 | Licensee Actual/Forecast/Budget
Network Innovation Competition | E | NICFt | 17.8492 | 18.7607 | 44.8549 | 40.5 | Sum of NICF awards determined by Ofgem/Forecast by National Grid
Future Environmental Discretionary Rewards | F | EDRt |  |  | 0 | 2 | Sum of future EDR awards forecast by National Grid
Transmission Investment for Renewable Generation | G | TIRGt | 15.9973 | 15.699 | 0 | 0 | Licensee Actual/Forecast
Scottish Site Specific Adjustment | H | DISt | 1.9849 | 0.791 | 2.8649 | 4.8957 | Licensee Actual/Forecast
Scottish Terminations Adjustment | I | TSt | -0.28187 | 0.10155 | 0.072929 | 0 | Licensee Actual/Forecast
Correction Factor | K | -Kt |  | 56.4238 | 103.978 | 105.5428 | Calculated by Licensee
Maximum Revenue [M= A+B+C+D+E+F+G+H+I+K] | M | TOt | 2524.2607 | 2681.6431 | 2751.3304 | 2781.6376
Termination Charges | B5 |  | 0 | 0 | 0 | 0
Pre-vesting connection charges | P |  | 46.9542 | 44.9552 | 42.677 | 46.4971 | Licensee Actual/Forecast
TNUoS Collected Revenue [T=M-B5-P] | T |  | 2477.3066 | 2636.6879 | 2708.6534 | 2735.1405
Final Collected Revenue | U | TNRt | 2375.8525 |  |  |  | Licensee Actual/Forecast
Forecast percentage change to Maximum Revenue M |  |  | 0% | 6.235% | 2.599% | 1.102%
Forecast percentage change to TNUoS Collected Revenue T |  |  | 0% | 6.434% | 2.729% | 0.9779%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments to all Transmission Owners are inlcuded in National Grid Maximum Revenue and are included here
2014/15 and 2015/16 pass through to other networks is based on forecast at time of tariff setting

## T18
Table 18 - SP Transmission Revenue Forecast
Scottish Power Transmission Revenue Forecast |  |  | Updated: | 2016-04-07
Description |  | Licence Term | Yr t-1 | Yr t | Yr t+1 |  | Notes
|  |  | 2014/15 | 2015/16 | 2016/17
Actual RPI |  |  | 256.667 |  | 0 |  | April to March average
RPI Actual |  | RPIAt | 1.19 |  | 0 |  | Office of National Statistics
Assumed Interest Rate |  | It | 0.5% | 0.625% | 1.125% | 1.675% | National Grid forecast
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 236.95 | 258.633 | 244.655 | 249.439
Price Control Financial Model Iteration Adjustment | A2 | MODt | 6.2 | -20.3 | -21.8 | -4.5
RPI True Up | A3 | TRUt | -0.1 | 0.847 | -3.85 | -5.08
RPI Forecast | A4 | RPIFt | 1.2051 | 1.2266 | 1.2327 | 1.2706 | National Grid forecast
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 292.8996 | 293.3782 | 269.9675 | 304.7648
Pass-Through Business Rates | B1 | RBt | 0 | -20.24 | -4.5 | -4.8
Temporary Physical Disconnection | B2 | TPDt | 0 | 0 | 0 | 0
Pass-Through Items [B=B1+B2] | B | PTt | 0 | -20.24 | -4.5 | -4.8
Reliability Incentive Adjustment | C1 | RIt | 0 | 2.555 | 3 | 1.2
Stakeholder Satisfaction Adjustment | C2 | SSOt | 0 | 1.6969 | 2.1 | 0.6
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt | 0 | -0.16303 | 0.1 | 0
Awarded Environmental Discretionary Rewards | C4 | EDRt | 0 | 0 | 0 | 0.7
Financial Incentive for Timely Connections Output | C5 | -CONADJt | 0 | -0.05531 | 0 | 0
Outputs Incentive Revenue [C=C1+C2+C3+C4+C5] | C | OIPt | 0 | 4.0336 | 5.2 | 2.5
Network Innovation Allowance | D | NIAt | 0.7 | 1 | 1 | 1
Transmission Investment for Renewable Generation | G | TIRGt | 32.1616 | 38.09 | 31.7 | 33
Correction Factor | K | -Kt | 0 | -4.94 | 3 | 5.2
Maximum Revenue (M= A+B+C+D+G+J+K] | M | TOt | 325.7611 | 311.3218 | 306.44 | 341.6648
Excluded Services | P | EXCt | 7.7 | 8 | 9.4 | 11.8 | Post BETTA Connection Charges
Site Specifc Charges | S | EXSt | 18.5 | 18.8 | 21.8 | 25.8 | Pre & Post BETTA Connection Charges
TNUoS Collected Revenue (T=M+P-S) | T | TSPt | 314.9611 | 300.5218 | 294.04 | 327.6648 | General System Charge
Final Collected Revenue | U | TNRt | 312.2 | 295.6 | 293.9675
Forecast percentage change to TNUoS Collected Revenue T |  |  | 0% | -4.584% | -2.157% | 11.44%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are not included as they do not form part of SPT Maximum Revenue
Commentary
All reasonable care has been taken in the preparation of these illustrative tables and the data therein. SPT offers this data without prejudice and cannot be held responsible for any loss that might be attributed to the use of this data. SPT does not accept or assume responsibility for the use of this information by any person or any person to whom this information is shown or any person to whom this information otherwise becomes available.
The base revenue forecasts for the RIIO-ET1 period (2014/15 to 2018/19, inclusive) reflect the figures authorised by Ofgem in the the RIIO-ET1 Final Proposals.
Within the bounds of commercial confidentiality, this forecast provides as much information as possible.
This forecast contains as much information as can be currently made available. Generally, allowances determined by Ofgem are shown; and we also include forecasts for anticipated future Ofgem determinations in respect of the Iteration adjustment reflecting our latest view of totex, changes to allowed totex and cost of debt.
This respects commercial confidentiality and disclosure considerations.
Note that actual revenues may vary from those currently forecast.
All £ figures are in money of the day
Information provided in £m to one decimal place
Assumptions
It is assumed that there will be one set of price changes per year effective on 1st April.

## T19
Table 19 - SHE Transmission Revenue Forecast
SHE Transmission Revenue Forecast |  |  | Updated: | 2016-02-29
Description |  | Licence Term | Yr t-1 | Yr t | Yr t+1 |  | Notes
|  |  | 2014/15 | 2015/16 | 2016/17 | 2017/18
Actual RPI |  |  | 256.6667 |  | 0 |  | April to March average
RPI Actual |  | RPIAt | 1.19 |  | 0 |  | Office of National Statistics
Assumed Interest Rate |  | It | 0.5% | 0.625% | 1.125% | 1.675% | National Grid forecast
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 111.515 | 124.139 | 123.635 | 119.597 | From Licence
Price Control Financial Model Iteration Adjustment | A2 | MODt | 8.7 | 85.2 | 87.612 | 84.8
RPI True Up | A3 | TRUt | -0.002 | 0.522 | -2.565 | -6.422
RPI Forecast | A4 | RPIFt | 1.2051 | 1.2266 | 1.2327 | 1.276 | 16/17 RPIF amended to reflect 16/17 Charge Setting, National Grid forecast from 17/18 onwards
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 144.8665 | 257.4258 | 257.2492 | 252.6161
Pass-Through Business Rates | B1 | RBt | 0 | -0.697 | -15.969 | -8.559
Temporary Physical Disconnection | B2 | TPDt | 0 | 0.555 | 0.132 | 0.135
Pass-Through Items [B=B1+B2] | B | PTt | 0 | -0.142 | -15.837 | -8.424
Reliability Incentive Adjustment | C1 | RIt |  | 1.178 | 0.189 | 0.69
Stakeholder Satisfaction Adjustment | C2 | SSOt |  | 1.605 | 2.285 | 3.226
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt |  | -0.271 | -0.172 | -0.182
Awarded Environmental Discretionary Rewards | C4 | EDRt |  | 0 | 0 | 0
Financial Incentive for Timely Connections Output | C5 | -CONADJt |  | 0 | 0 | 0
Outputs Incentive Revenue [C=C1+C2+C3+C4+C5] | C | OIPt | 0 | 2.512 | 2.302 | 3.734
Network Innovation Allowance | D | NIAt | 1.257 | 1.674 | 1.674 | 1.674
Transmission Investment for Renewable Generation | G | TIRGt | 72.198 | 81.261 | 79.887 | 79.747
Compensatory Payments Adjustment | J | SHCPt | 0 | 0.398 | 0 | 0
Correction Factor | K | -Kt |  | -1.668 | 0.942 | 0
Maximum Revenue (M= A+B+C+D+G+J+K] | M | TOt | 218.3215 | 341.4608 | 326.217 | 329.3471
Excluded Services | P | EXCt | 0 | 0 | 0 | 0 | Post BETTA Connection Charges
Site Specifc Charges | S | EXSt | 3.465 | 3.472 | 3.4892 | 3.6117 | Post-Vesting, Pre-BETTA Connection Charges
TNUoS Collected Revenue (T=M+P-S) | T | TSHt | 214.8565 | 337.9888 | 322.7278 | 325.7354 | General System Charge
Final Collected Revenue | U | TNRt | 217.425 | 0 | 0 | 0
Forecast percentage change to TNUoS Collected Revenue T |  |  | 0% | 57.31% | -4.515% | 0.9319%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are not included as they do not form part of SHET Maximum Revenue
Commentary
All reasonable care has been taken in the preparation of these illustrative tables and the data therein. SHET offers these data without prejudice and cannot be held responsible for any loss that might be attributed to the use of these data. SHET does not accept or assume responsibility for the use of this information by any person or any person to whom this information is shown or any person to whom this information otherwise becomes available.
The base revenue forecasts for the RIIO-ET1 period (2014/15 to 2018/19, inclusive) reflect the figures authorised by Ofgem in the RIIO-ET1 Final Proposals.
Within the bounds of commercial confidentiality, this forecast provides as much information as possible.
This forecast contains as much information as can be currently made available. Generally, allowances determined by Ofgem are shown; whilst those for which Ofgem determinations are expected are not.
This respects commercial confidentiality and disclosure considerations.
Note that actual revenues may vary from those currently forecast.
All £ figures are in money of the day
Information provided in £m to one decimal place
Assumptions
It is assumed that there will be one set of price changes per year effective on 1st April.

## T20
Table 20 - Offshore Revenues
Offshore Transmission Revenue Forecast | 2016-06-14
Description | Yr t-1 | Yr t | Yr t+1 | Yr t+2 | Notes
Regulatory Year | 2014/15 | 2015/16 | 2016/17 | 2017/18
Barrow | 5.4759 | 5.6051 | 5.6563 | 5.9301
Gunfleet | 6.8532 | 7.0145 | 7.0806 | 7.5061
Walney 1 | 12.4911 | 12.7864 | 12.9018 | 13.1122
Robin Rigg | 7.7095 | 7.8914 | 7.9933 | 8.5313
Walney 2 | 12.927 | 13.2322 | 12.5159 | 13.5683
Sheringham Shoal | 18.9241 | 19.4989 | 19.7277 | 19.9941
Ormonde | 11.5705 | 11.8431 | 11.9522 | 12.294
Greater Gabbard | 25.9995 | 26.6193 | 26.8714 | 27.2889
London Array | 37.573 | 39.2121 | 39.4987 | 38.4413
Thanet | 78.8567 | 17.5171 | 15.6998 | 17.8769
Lincs |  | 25.5634 | 26.687 | 27.4202
Gwynt y mor |  | 26.2836 | 23.6461 | 26.0313
West of Duddon Sands |  | 35.29 | 21.2739 | 21.9396
Humber Gateway | 0 |  | 29.2845 | 15.6864 | National Grid Forecast
Westermost Rough | 0 |  |  | 12.5082
Forecast to asset transfer to OFTO in 2017/18 |  |  |  | 11.1063 | National Grid Forecast
Offshore Transmission Pass-Through (B7) | 218.3804 | 248.357 | 260.7893 | 279.2352
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders

## T21
Table 21 - Demand Profiles
|  | 2017/18 Initial |  |  |  | 2017/18 June
Zone | Zone Name | Locational Model Demand (MW) | Tariff model Peak Demand (MW) | Tariff Model HH Demand (MW) | Tariff model NHH Demand (TWh) | Locational Model Demand (MW) | Tariff model Peak Demand (MW) | Tariff Model HH Demand (MW) | Tariff model NHH Demand (TWh)
1 | Northern Scotland | 607.3849 | 551.4741 | -379.5402 | 0.63948 | 679 | 674.9237 | -501.281 | 0.69066
2 | Southern Scotland | 3214.9352 | 3113.9293 | 643.4354 | 1.5425 | 2967.9371 | 3339.4674 | 713.9992 | 1.637
3 | Northern | 2590.2003 | 2152.0985 | 331.6392 | 1.1145 | 2604 | 2271.5759 | 616.8198 | 1.1243
4 | North West | 4032.1228 | 3664.1974 | 1182.7727 | 1.8497 | 3503 | 4029.5466 | 1421.969 | 1.9123
5 | Yorkshire | 4582.854 | 3838.6049 | 1172.9672 | 1.6871 | 4650 | 3687.6621 | 1334.0789 | 1.7542
6 | N Wales & Mersey | 1887.1401 | 2988.151 | 1170.2446 | 1.1656 | 2687 | 2457.4444 | 623.3851 | 1.216
7 | East Midlands | 5077.25 | 4745.4039 | 1717.841 | 2.0888 | 5138 | 4574.1376 | 1596.8763 | 2.15
8 | Midlands | 4422.22 | 4192.5958 | 1559.5064 | 1.8674 | 4500 | 4313.6685 | 1754.3134 | 1.9219
9 | Eastern | 5650.4794 | 6015.5885 | 1852.8929 | 3.0085 | 5848 | 6093.1532 | 1818.4413 | 3.0377
10 | South Wales | 1921.3849 | 2221.061 | 1012.8997 | 0.78462 | 1967 | 1724.6417 | 653.0043 | 0.81228
11 | South East | 3618.4328 | 3599.3992 | 1070.9677 | 1.8546 | 3627 | 3486.957 | 1107.5683 | 1.8223
12 | London | 4863.5032 | 4406.2028 | 2060.8959 | 1.8841 | 5210 | 4778.7764 | 2470.2807 | 1.8007
13 | Southern | 5905.4746 | 5547.4609 | 2323.6148 | 2.4833 | 5938.4255 | 5334.7701 | 2094.656 | 2.5083
14 | South Western | 2711.3801 | 2261.5708 | 579.7323 | 1.1679 | 2604 | 2334.0933 | 703.0938 | 1.2262
Total |  | 51084.7622 | 49297.7381 | 16299.8695 | 23.1382 | 51923.3626 | 49100.818 | 16407.2051 | 23.6138

## T27
Zone | Zone Name | Peak Security Tariff | Year Round Tariff | Residual | Small Generators Discount | HH Demand Tariff (£/kW)
1 | Northern Scotland | 2.4065 | -20.0245 | 47.9549 | 0.61673 | 30.9536
2 | Southern Scotland | 0.12967 | -17.8216 | 47.9549 | 0.61673 | 30.8797
3 | Northern | -2.9255 | -6.2444 | 47.9549 | 0.61673 | 39.4017
4 | North West | -1.1682 | -1.9319 | 47.9549 | 0.61673 | 45.4716
5 | Yorkshire | -3.0708 | -0.17054 | 47.9549 | 0.61673 | 45.3303
6 | N Wales & Mersey | -1.5483 | 0.17557 | 47.9549 | 0.61673 | 47.1989
7 | East Midlands | -2.1137 | 2.1172 | 47.9549 | 0.61673 | 48.5752
8 | Midlands | -1.4669 | 2.9318 | 47.9549 | 0.61673 | 50.0365
9 | Eastern | 1.2587 | 0.6724 | 47.9549 | 0.61673 | 50.5028
10 | South Wales | -5.6911 | 4.2855 | 47.9549 | 0.61673 | 47.166
11 | South East | 3.8794 | 1.0239 | 47.9549 | 0.61673 | 53.4749
12 | London | 5.1109 | 2.2709 | 47.9549 | 0.61673 | 55.9535
13 | Southern | 1.8042 | 4.0786 | 47.9549 | 0.61673 | 54.4544
14 | South Western | -0.76312 | 5.2381 | 47.9549 | 0.61673 | 53.0466

## TEC changes
Power Station | Node | MW Change | Zone
Aberthaw | ABTH20 | -10 | 21
A'Chruach Wind Farm | ACHR1R | -6.9 | 7
Afton | BLAC10 | -18 | 10
Beatrice Wind Farm | BLHI40 | -20 | 1
Blacklaw Extension | BLKX10 | -9 | 11
Clyde North | CLYN2Q | -36.7 | 11
Clyde South | CLYS2R | 54 | 11
Crystal Rig 2 | CRYR40 | -62 | 11
Crystal Rig 3 | CRYR40 | 62 | 11
Drax | DRAX40 | -3906 | 15
Drax (Biomass) | DRAX40 | 1905 | 15
Drax (Coal) | DRAX40 | 2001 | 15
Harestanes | HARE10 | -17.3 | 12
Keith Hill Wind Farm | DUNE10 | 0.5 | 11
Lynemouth Power Station | BLYT20 | 376 | 13
Medway Power Station | GRAI40 | 35 | 24
Peterborough | WALP40_EME | 245 | 17
Rugeley | RUGE40 | -980 | 18
Taylors Lane | WISD20_LPN | -144 | 23

## Sensitivities
Sensitivities
£50m increase in revenue recovered from TNUoS |  | Change in Demand |  | Change in Tariff
Change in Generation Tariffs (£/kW) | 0 | Peak Demand (MW) | 982
Change in HH Demand Tariffs (£/kW) | 1.02 | HH Demand (MW) | 328 | HH Tariff (£/kW) | -0.94
Change in NHH Demand Tariffs (p/kWh) | 0.14 | NHH Demand (TWh) | 0 | NHH Tariff (£/kWh) | 0